PRS Items for TAC

August 6, 2003 Meeting

# PRS Recommended Urgent Timelines:

- PRR442 – Profile Development Cost Recovery

Recommended Timeline for PRR442

Comments due:	08/11/03

PRS Review:	08/21/03

Comments on PRS Recommendation:	09/03/03

TAC Consideration:	09/04/03

Board Consideration:	09/16/03

- PRR443 – Competitive Metering

Recommended Timeline for PRR443

Comments due:	08/13/03

PRS Review:	08/21/03

Comments on PRS Recommendation:	09/03/03

TAC Consideration:	09/04/03

Board Consideration:	09/16/03

# PRS recommends approval of the following:

- PRR410 – Resource Obligations During BLT; approved as revised.

  - Impact Analysis:  No impact to ERCOT computer systems.

  - Benefit:  Specifically address a Generation Entity’s right to decide availability based on concerns of jurisdiction, tariffs, or increased risk of assets when the transmission area the Resource is connected to is tied to a non-ERCOT system other than through a DC Tie.

  - Recommended Priority & Rank:  N/A

  - Recommended Effective Date:  September 1, 2003.

- PRR413 – Optimization for the Whole Operating Day in RPRS Procurement Process; approved as revised.

  - Impact Analysis:  Impacts ERCOT computer systems.

  - Benefit:  This PRR will modify the RPRS procurement process so that the RPRS procurement process is an optimum solution for the whole Operating Day.  Reason for revision is to change ERCOT software system to produce an optimum solution for the whole Operating Day in RPRS procurement process.

  - Recommended Priority & Rank:  1.1

  - Recommended Effective Date:   Upon implementation of the functionality in the ERCOT computer system.

- PRR422 – OOM Zonal Dispatch Instructions; approved as revised.

  - Impact Analysis:  Impacts ERCOT computer system and staffing; can be initially partially supported with a manual workaround.

  - Benefit:  Provides details on deployment and settlement of Zonal OOME Dispatch Instructions in command and control conditions.  Allows ERCOT to deploy energy from a QSE fleet of Resources when all other methods for resolving Congestion have failed.

  - [Note:  PRS suggested that ERCOT continue to do this manually; however, the change to §6.7.7.1(3) cannot be supported manually and requires a system change.]

  - Recommended Priority & Rank:  Pending from PRS.

  - Recommended Effective Date:  September 1, 2003, for manual workaround portion ; balance upon implementation of functionality in ERCOT computer system.

- PRR431 – Collateral Requirements for RBS and EAL; approved as revised.

  - Impact Analysis:  No ERCOT System impact.

  - Benefit:  Provides more flexibility in matching risk with collateral.

  - Recommended Priority & Rank:  N/A

  - Recommended Effective Date:   September 1, 2003.

- PRR439 – Clarification on Defining OOME as Instructed Deviation; approved as revised.

  - Impact Analysis:  Impacts ERCOT computer systems.

  - Benefit:  This Protocol revision will clarify two exceptions on defining OOME as Instructed Deviation.  Before the Balancing Energy Service market clearing, the manual OOME instruction will not be defined as Instructed Deviation under the following two conditions:

    - A Resource is instructed to operate at or above the instructed output level and the planned output level of that Resource is above the instructed output level; or,

    - A Resource is instructed to operate at or below an instructed output level and the planned output level of that Resource is below the instructed output level.

This is to clarify two exceptions on defining OOME as instructed deviation for the implementation of 373PRR.

  - Recommended Priority & Rank:  Same priority as PRR373 (included in EMMS Release 3.2).

  - Recommended Effective Date:   Upon implementation in the ERCOT computer system.

# PRS recommends rejection of the following:

- PRR435 – Confidentiality of LSE Transaction Data; recommends rejection of this PRR.

# Other PRS recommendations:

- PRR384 – Preamble and Code of Conduct; PRS recommends that TAC recommend to the Board of Directors that PRR384 be tabled until after the final PUCT Subst. Rule is issued.

# Withdrawn PRRs:

- PRR399 – Requirements for Replacing an IDR with a Non-IDR Meter; withdrawn by submitter on 07/02/03.

- PRR430 – Historical Usage; withdrawn by the submitter on 07/02/03.

- PRR432 – Liability for LSE Default; withdrawn by submitter on 07/24/03.

# PRRs approved for future TAC review:

- PRR421 – Conformance with New PUCT Subst. Rule 25.362; approved as revised.  Pending comment period on PRS Recommendation.  TAC review on 9/4/03.  Recommended Effective Date:  October 1, 2003.

- PRR433 – Change Percent Deficit Banking of Renewable Energy Credits; approved as submitted.  Pending comment period on PRS Recommendation.  TAC review on 9/4/03.  Recommended Effective Date:  October 1, 2003.

- PRR437 – 867_03 Timeline Change; approved as revised.  Pending comment period on PRS Recommendation.  TAC review on 9/4/03.  Recommended Effective Date:  October 1, 2003.

# Status on Urgent PRR:

- PRR440 – Interim Removal of Market Solution;  declared urgent by PRS in accordance with Protocol §21.5; passed to TAC Chair on 07/17/03; approved by TAC on 07/23/03; expedited Board Review due by 08/01/03.

# Status of pending PRRs:

- PRR281 – Aggregate Site Instructions (previously, Change ERCOT Deployment Instructions to Settlement Meter Specific).  A revised version was submitted on 5/24/02; this PRR is on a normal timeline, PRS referred to the QSE Project Managers Working Group for comment and has deferred consideration.

- PRR293 – Uncontrollable Renewable Resources; pending ongoing review by WMS working groups.  The PRR language is being revised.

- PRR320 – Load Participation in AS Market.

- PRR340 – Define OOME as an Instructed Deviation; pending redrafting of the proposed language to keep the market solution language, integrate generic costs and remove references to aggregate site deployments and OOME being an Instructed Deviation.

- PRR356 – SCE Performance Requirement; on hold pending review by PRS task force.

- PRR358 – Negative Impact SCE; on hold pending review by PRS task force.

- PRR381 – Update QSE Designation; on hold pending review by PRS task force.

- PRR404 – Energy Procured from ERCOT; remanded by PRS on 5/22/03 to Credit Work Group to consider credit issues; and WMS to include in Day Ahead Energy Market discussions.

- PRR409 – Voltage Support Service; remanded to WMS on 5/22/03.

- PRR425 – Section 8 Outage Coordination; Remanded to a PRS work group to be led by ERCOT Staff.

- PRR426 – Uninstructed Resource Charge for Uncontrollable Resources; this PRR is on a normal timeline; Deferred on 07/24/03 by PRS to the 08/21/03 PRS meeting.

- PRR427 – RMR General Clarifications; this PRR is on a normal timeline; Deferred on 07/24/03 by PRS to the 08/21/03 PRS meeting.

- PRR428 – RMR Scheduling Clarifications; this PRR is on a normal timeline; Deferred on 07/24/03 by PRS to the 08/21/03 PRS meeting.

- PRR434 – Adjustment to Allocation of REC Purchase Requirements; Deferred on 07/24/03 by PRS to the 08/21/03 PRS meeting.

- PRR436 – Enhance LaaR/BUL Ability to Participate in Balancing Energy Up Service; Remanded to WMS (and the Demand Side Working Group).

- PRR438 – REC Timelines; Deferred on 07/24/03 by PRS to the 08/21/03 PRS meeting.

- PRR441 – Protocol Revision Implementation; this PRR is on a normal timeline; PRS review on 08/21/03.

- PRR442 – Profile Development Cost Recovery; urgent status approved at 07/24/03 PRS meeting. PRS review on 08/21/03.

- PRR443 – Competitive Metering; urgent status approved at 07/24/03 PRS meeting. PRS review on 08/21/03.

# Projects prioritized on 7/24/03:

- PRR423 – Dispatch of Generation Units Below Minimum Generation Levels; Priority 1.2

- PRR413 – Optimization for the Whole Operating Day in RPRS Procurement Process; Priority 1.1

- SCR730 – Market Operations Test Environment for Wholesale Market Participants; Not yet approved by WMS; Priority 1.1