## Spring
SSWG Planning Ratings | [18 empty] | Operational Ratings
I | J | CKT | R | X | B | RATE A | RATE B | RATE C | GI | BI | GJ | BJ | ST | LEN | O1 | F1 | O2 | F2 | Continuous Rating MVA | Emergency 2 Hr Rating MVA | 15 Minute Rating MVA | Ambient Temp
6533 | -6546 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6535 | -6536 | '1 ' |  |  |  | 488 | 577 | 488 | [10 empty] | 488 | 577 | 577 | 40C
6536 | -6562 | '1 ' |  |  |  | 149 | 173 | 149 | [10 empty] | 149 | 173 | 173 | 40C
6536 | -6595 | '1 ' |  |  |  | 147 | 170 | 147 | [10 empty] | 147 | 170 | 175 | 40C
6538 | 6541 | '1 ' |  |  |  | 30 | 30 | 30 | [10 empty] | 30 | 30 | 30 | 40C
6538 | 6555 | '1 ' |  |  |  | 30 | 30 | 30 | [10 empty] | 30 | 30 | 30 | 40C
6539 | -6540 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6540 | -6544 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6540 | 6545 | '1 ' |  |  |  | 24 | 24 | 24 | [10 empty] | 24 | 24 | 24 | 40C
6598 | -6641 | '1 ' |  |  |  | 59 | 59 | 59 | [10 empty] | 59 | 59 | 59 | 40C
6598 | -38420 | '1 ' |  |  |  | 71 | 79 | 71 | [10 empty] | 71 | 79 | 79 | 40C
6600 | -6605 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6600 | -6606 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6600 | -6609 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6601 | -6615 | '1 ' |  |  |  | 164 | 164 | 164 | [10 empty] | 164 | 164 | 170 | 40C
6601 | -6632 | '1 ' |  |  |  | 147 | 170 | 147 | [10 empty] | 147 | 170 | 170 | 40C
6601 | 38330 | '1 ' |  |  |  | 139 | 154 | 154 | [10 empty] | 139 | 154 | 154 | 40C
6601 | -60014 | '2 ' |  |  |  | 404 | 470 | 404 | [10 empty] | 404 | 470 | 470 | 40C
6603 | 6608 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
Note
The information in this table is preliminary and has not been verified. The data should not be used in operational models of the ERCOT system.
The table is provided for illustrative purposes to show how the requested data will be stored on the ERCOT Web.

## Summer
SSWG Planning Ratings | [18 empty] | Operational Ratings
I | J | CKT | R | X | B | RATE A | RATE B | RATE C | GI | BI | GJ | BJ | ST | LEN | O1 | F1 | O2 | F2 | Continuous Rating MVA | Emergency 2 Hr Rating MVA | 15 Minute Rating MVA | Ambient Temp
6533 | -6546 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6535 | -6536 | '1 ' |  |  |  | 488 | 577 | 488 | [10 empty] | 488 | 577 | 577 | 40C
6536 | -6562 | '1 ' |  |  |  | 149 | 173 | 149 | [10 empty] | 149 | 173 | 173 | 40C
6536 | -6595 | '1 ' |  |  |  | 147 | 170 | 147 | [10 empty] | 147 | 170 | 175 | 40C
6538 | 6541 | '1 ' |  |  |  | 30 | 30 | 30 | [10 empty] | 30 | 30 | 30 | 40C
6538 | 6555 | '1 ' |  |  |  | 30 | 30 | 30 | [10 empty] | 30 | 30 | 30 | 40C
6539 | -6540 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6540 | -6544 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6540 | 6545 | '1 ' |  |  |  | 24 | 24 | 24 | [10 empty] | 24 | 24 | 24 | 40C
6598 | -6641 | '1 ' |  |  |  | 59 | 59 | 59 | [10 empty] | 59 | 59 | 59 | 40C
6598 | -38420 | '1 ' |  |  |  | 71 | 79 | 71 | [10 empty] | 71 | 79 | 79 | 40C
6600 | -6605 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6600 | -6606 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6600 | -6609 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6601 | -6615 | '1 ' |  |  |  | 164 | 164 | 164 | [10 empty] | 164 | 164 | 170 | 40C
6601 | -6632 | '1 ' |  |  |  | 147 | 170 | 147 | [10 empty] | 147 | 170 | 170 | 40C
6601 | 38330 | '1 ' |  |  |  | 139 | 154 | 154 | [10 empty] | 139 | 154 | 154 | 40C
6601 | -60014 | '2 ' |  |  |  | 404 | 470 | 404 | [10 empty] | 404 | 470 | 470 | 40C
6603 | 6608 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
Note
The information in this table is preliminary and has not been verified. The data should not be used in operational models of the ERCOT system.
The table is provided for illustrative purposes to show how the requested data will be stored on the ERCOT Web.

## Fall
SSWG Planning Ratings | [18 empty] | Operational Ratings
I | J | CKT | R | X | B | RATE A | RATE B | RATE C | GI | BI | GJ | BJ | ST | LEN | O1 | F1 | O2 | F2 | Continuous Rating MVA | Emergency 2 Hr Rating MVA | 15 Minute Rating MVA | Ambient Temp
6533 | -6546 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6535 | -6536 | '1 ' |  |  |  | 488 | 577 | 488 | [10 empty] | 488 | 577 | 577 | 40C
6536 | -6562 | '1 ' |  |  |  | 149 | 173 | 149 | [10 empty] | 149 | 173 | 173 | 40C
6536 | -6595 | '1 ' |  |  |  | 147 | 170 | 147 | [10 empty] | 147 | 170 | 175 | 40C
6538 | 6541 | '1 ' |  |  |  | 30 | 30 | 30 | [10 empty] | 30 | 30 | 30 | 40C
6538 | 6555 | '1 ' |  |  |  | 30 | 30 | 30 | [10 empty] | 30 | 30 | 30 | 40C
6539 | -6540 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6540 | -6544 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6540 | 6545 | '1 ' |  |  |  | 24 | 24 | 24 | [10 empty] | 24 | 24 | 24 | 40C
6598 | -6641 | '1 ' |  |  |  | 59 | 59 | 59 | [10 empty] | 59 | 59 | 59 | 40C
6598 | -38420 | '1 ' |  |  |  | 71 | 79 | 71 | [10 empty] | 71 | 79 | 79 | 40C
6600 | -6605 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6600 | -6606 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6600 | -6609 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6601 | -6615 | '1 ' |  |  |  | 164 | 164 | 164 | [10 empty] | 164 | 164 | 170 | 40C
6601 | -6632 | '1 ' |  |  |  | 147 | 170 | 147 | [10 empty] | 147 | 170 | 170 | 40C
6601 | 38330 | '1 ' |  |  |  | 139 | 154 | 154 | [10 empty] | 139 | 154 | 154 | 40C
6601 | -60014 | '2 ' |  |  |  | 404 | 470 | 404 | [10 empty] | 404 | 470 | 470 | 40C
6603 | 6608 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
Note
The information in this table is preliminary and has not been verified. The data should not be used in operational models of the ERCOT system.
The table is provided for illustrative purposes to show how the requested data will be stored on the ERCOT Web.

## Winter
SSWG Planning Ratings | [18 empty] | Operational Ratings
I | J | CKT | R | X | B | RATE A | RATE B | RATE C | GI | BI | GJ | BJ | ST | LEN | O1 | F1 | O2 | F2 | Continuous Rating MVA | Emergency 2 Hr Rating MVA | 15 Minute Rating MVA | Ambient Temp
6533 | -6546 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6535 | -6536 | '1 ' |  |  |  | 488 | 577 | 488 | [10 empty] | 488 | 577 | 577 | 40C
6536 | -6562 | '1 ' |  |  |  | 149 | 173 | 149 | [10 empty] | 149 | 173 | 173 | 40C
6536 | -6595 | '1 ' |  |  |  | 147 | 170 | 147 | [10 empty] | 172 | 192 | 197 | 20C
6538 | 6541 | '1 ' |  |  |  | 30 | 30 | 30 | [10 empty] | 30 | 30 | 30 | 40C
6538 | 6555 | '1 ' |  |  |  | 30 | 30 | 30 | [10 empty] | 30 | 30 | 30 | 40C
6539 | -6540 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6540 | -6544 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6540 | 6545 | '1 ' |  |  |  | 24 | 24 | 24 | [10 empty] | 24 | 24 | 24 | 40C
6598 | -6641 | '1 ' |  |  |  | 59 | 59 | 59 | [10 empty] | 59 | 59 | 59 | 40C
6598 | -38420 | '1 ' |  |  |  | 71 | 79 | 71 | [10 empty] | 71 | 79 | 79 | 40C
6600 | -6605 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6600 | -6606 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6600 | -6609 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
6601 | -6615 | '1 ' |  |  |  | 164 | 164 | 164 | [10 empty] | 190 | 190 | 196 | 20C
6601 | -6632 | '1 ' |  |  |  | 147 | 170 | 147 | [10 empty] | 147 | 170 | 170 | 40C
6601 | 38330 | '1 ' |  |  |  | 139 | 154 | 154 | [10 empty] | 139 | 154 | 154 | 40C
6601 | -60014 | '2 ' |  |  |  | 404 | 470 | 404 | [10 empty] | 404 | 470 | 470 | 40C
6603 | 6608 | '1 ' |  |  |  | 39 | 39 | 39 | [10 empty] | 39 | 39 | 39 | 40C
Note
The information in this table is preliminary and has not been verified. The data should not be used in operational models of the ERCOT system.
The table is provided for illustrative purposes to show how the requested data will be stored on the ERCOT Web.