# ROS report for TAC meeting on September 4th 2003

……………………..OGRR’s………………………

| OGRR NUMBER | 132OGRR | OGRR Title | Transmission Operator Clarification |
| --- | --- | --- | --- |

Clarifies the responsibilities for Transmission Operators.

| OGRR Number | 133OGRR | OGRR Title | Section 1 Corrections and Clarifications |
| --- | --- | --- | --- |

Implements Protocol and Operating Guides Reference Corrections, Section title corrections, punctuation corrections, corrections to pre deregulation language.

………….….ROS Activities - Highlights…………………

Dynamics Working Group (DWG)

The DWG held a conference call on August 4th to discuss implementation and related training on the application of wind generation dynamics models developed by Electrotek and PTI for ERCOT.  A seminar is planned for the week of September 15th.

The DWG continues to work on an ERCOT Transient Voltage Security Criteria that will include Transient Voltage Dip and Transient Voltage Stability requirements.

Operations Working Group (OWG)

The OWG met on July 23rd and discussed changes to the NERC Certification Testing.  The new tests are reported to be more difficult then the original test of 5 years ago.  Many Operators in ERCOT need to renew their certification because their original certification period is about to expire.  There will be significant discussion of this issue at the next OWG Meeting.  The OWG discussed the possibility of a TO/QSE Operator requirement for NERC Certification in early 2004.

The Operating Guides Revision Task Force (OGRTF) met on July 22nd and discussed the status of several OGRRs.  The OGRTF is also reviewing the Operating Guides to ensure that language is clarified so that all affected parties are notified of RAPs and SPSs.  An OGRR is being drafted to resolve differences between the Guides and the ERCOT staff document on RAP/SPS requirements.  The next OGRTF Meeting is scheduled for August 20th.

The Black Start Task Force (BSTF) met on August 12th.  A draft PRR and OGRR were discussed concerning back up voice communication requirements for TOs and Black Start Resources.

Network Data Support Working Group (NDSWG)

The NDSWG met on July 16th.  The new Transmission Service Request Procedure was reviewed.  Comments have been received and are under review.  Project 30129 (Remote Access to ESCA Software) remains on the inactive list however a timeline for starting this project has not been provided.

The ROS discussed the data that is being collected, particularly from generators, for planning purposes and the need to ensure that this data is also used in real time operations.  A comparison of the data being used by System Operations and System Planning is being made by ERCOT.  There are several sources of some data and there is a question of which data to use.  The data received from these various sources is not always consistent.  A single format for providing generating unit data needs to be developed by ERCOT to ensure that up-to-date and consistent data is being received by ERCOT and used in the models.  Ken Donohoo will discuss which data is being used, where it is being used, and the format of this data with the ROS at its next meeting.

The next NDSWG Meeting has not been scheduled but is expected to be held in September.

Steady State Working Group (SSWG)

The SSWG met on July 17th.  At the June 11th ROS Meeting, the SSWG was directed to arrive at a method of keeping track of the Continuous, Emergency, and 15-Minute Ratings for Market use in the public cases (Case A) and keep track of the continuous line and transformer ratings for planning use.  The SSWG was also instructed to make Rate A and Rate B as consistent with operations and OGRR 134 as possible. The SSWG procedure manual definitions of Rate A, B, and C used in the load flow case were revised as directed by ROS.

A possible methodology was discussed by the SSWG to keep track of Operational Ratings in the Data Set A load flow cases and the use of seasonal ratings as an interim step working toward implementation of dynamic ratings.  An Excel workbook could be posted on the ERCOT Web Site that will contain both the planning ratings and the operational ratings as defined in OGRR 134.  A separate worksheet (4 total) could be created for each season to account for topographical changes in the system. These suggestions will be used as input to the Dynamic Ratings Task Force for their consideration.

## Performance Disturbance Compliance Working Group (PDCWG)

The PDCWG will provide comments to ERCOT Compliance on the NERC Balancing Standard by August 29th.  The PDCWG is continuing to work with ERCOT Staff on a Voltage Regulator performance monitoring procedure.  Data is to be collected during system disturbances in order to verify AVR performance.  A procedure has been proposed by the PDCWG however ERCOT has not yet responded to the proposed procedure.

Draft PRRs and/or OGRRs related to the Frequency Response Standard are being developed for ROS review and action at its September meeting.  This will allow ERCOT Compliance to enforce these standards.

The next PDCWG Meeting will be scheduled to be held by the end of August.

System Protection Working Group (SSWG)

The SPWG is reviewing the May 15th loss of generation/load event.  Reviews of the transmission line protective relay performance and the under-frequency relay performance are estimated to be completed by August 22nd.  As directed by the ROS, the SPWG has started gathering the types and accuracies of the under-frequency relays in service in ERCOT. Allen discussed a partial list of the relays used in under-frequency load shedding applications in ERCOT. The list includes pickup point accuracy and time delay accuracy.  More research will be conducted to determine how much load is tripped by each type of relay and where this load is located.  It was noted that the ERCOT Operating Guides do not adequately define under-frequency relay performance requirements.  The SPWG will be revising the applicable sections in the Operating Guides.  The revisions are estimated to be completed by November and applicable OGRRs will be submitted to the OGRTF.

Regarding  the Bryan-College Station Event report by SPWG, particularly how recommendations  will be carried out by applicable entities, there is apparently no follow-up to determine that any of the recommendations are implemented by any entity.  There is a concern by some Market Participants that perhaps less maintenance is being performed on protective relays since deregulation began because there are no incentives for doing maintenance.  SPWG was asked to bring a recommendation to the ROS on whether ERCOT Operating Guides Revisions are needed to implement any of the Bryan-College Station Report recommendations.

Dynamics Ratings Task Force (DRTF)

The DRTF is reviewing the methodologies for transmission facility ratings that vary with temperature so that a staged plan for implementing dynamic ratings can be developed.  The ROS has endorsed the concept of dynamic ratings for transmission facilities based on TSP recommended ratings that vary with temperature.  The DRTF has reviewed information from the SSWG and surveyed TSPs related to their use of dynamic ratings.  ERCOT Operations and Planning expectations are being considered.  The DRTF is currently discussing the possibility of creating a matrix (seasonal or monthly) that would show the rating of various transmission facilities at different temperatures.  Concern has been expressed about creating such a matrix as it has not been decided how such data would be used.  The DRTF is also performing the following:

- Analyzing information that shows where congestion has been and may be occurring.

- Reviewing available technology that could be used to increase transmission facility ratings.

- Reviewing historical weather data (temperature and wind) to help identify areas where improving transmission facility ratings would be beneficial.

The DRTF is still on target to complete their charge within the 180 day timeframe given by the ROS.

The next DRTF Meeting is scheduled for September 3rd.