July 23, 2003 OWG Meeting Minutes

Attendance:

Rick Keetch		Reliant Energy / Chair			QSE	713-497-2526

Wayne Kemper		CenterPoint Energy / Chair OGRTF 	TO	713-207-2192

Greg White		AEN					TO	512-322-6625

Tip Tipton		Brazos					TO	254-750-6267

David Darnell		CPS / Chair ROS				TO	210-353-2208

Ralph Poston		ERCOT						512-248-3129

Jeff Healy		ERCOT						512-248-3079

Tom Peterson		TXUPM					QSE	214-875-9299

Dennis Kunkel		AEP					TO	361-289-4003

Stan Morris		TNMP					TO	281-337-6589

James Hinson		ERCOT						512-248-3997

Julian Ramirez		BPUB					TO	956-983-6304

Jack Thormahlen		LCRA					QSE	512-473-3200 ext2635

Ron Wheeler		Dynegy					QSE	713-767-0441

Steven Knapp		Constellation				QSE	410-468-3606

Henry Zamora		AEN					QSE	512-322-6167

Shawn McCreary		GPL					TO	972-485-6500

John Jonte		CenterPoint Energy			TO	713-207-2252

Wayne Bolton		Brazos					QSE	254-750-6270

Sydney Niemeyer		Texas Genco				QSE	713-207-5051

James Jackson		CPS					QSE	210-353-2248

Lee Bucklelew		CPS					QSE	210-353-3400

### NOTE: Action Items Shown in Bold

- The OWG approved the 6-18-03 OWG meeting minutes without change. Keetch volunteered to initiate process for posting minutes beginning with the 6-18-03 minutes.

- ROS / TAC report by Keetch.

- PRS did not review OGRR129, OGRR130, OGRR131 or OGRR134 at the last meeting.

- Operating Guides Revision TF Report by Kemper.

- The OGRTF met on July 22, 2003.

- The OGRTF agreed to send OGRR132 (Transmission Operator clarification) to the OWG with a recommendation for approval. This OGRR has been posted for the required time without receiving any comments. The OWG reviewed OGRR132 and agreed to forward to the ROS with a recommendation for approval.

- The OGRTF agreed to send OGRR133 (Section 1 clarification) to the OWG with a recommendation for approval. This OGRR has been posted for the required time without receiving any comments. The OWG reviewed OGRR133 and agreed to forward to the ROS with a recommendation for approval.

- The OGRTF reviewed a draft OGRR to incorporate PRR415 (Increase of LaaR percentage of RR) and agreed to submit for posting.

- The OWG reviewed a draft OGRR written by Tom Peterson and reviewed by the OGRTF. This draft OGRR eliminates the requirement for providing a reactive design curve to ERCOT each time a reactive test is reported.  Tom plans on submitting this OGRR for posting.

- ERCOT Seminar report by James Hinson

- James reviewed the draft 2004 ERCOT Seminar Agenda. The OWG members provided several suggestions on topics.

- The OGRTF provided the following suggestions for an Operating Guide segment. The LaaR topic was emphasized as timely and appropriate.

- Emergency Operations

- OG revision process

- Security Alerts

- Changes from previous year

- How LaaRs participate in market, qualifying, use. If interrupted—when to restore.

- NERC Certification by James Hinson

- Tests are more difficult than 5 years ago as evidenced by reports of lower test scores. The OWG discussed that a requirement for certifications for both TOs and QSEs may be passed by January 2004. John Jonte agreed to request Richard Sikes, who is on the NERC Certification Subcommittee, to attend the next OWG meeting to discuss NERC certification.

- Hinson reported that an ERCOT Operations audit will be conducted by ERCOT Compliance October 6 through October 17, 2003.

- Jeff Healy presented information on the following topics.

- The ERCOT June Operations Report that was sent with the meeting agenda.

- Provided a comparison of frequency deviation for one day in June day with congestion and another day in June without congestion. Discussed possible tie between verbal fleet dispatch instructions for the North to Houston congestion and frequency deviation worsening.

- ERCOT has obtained confidence in state estimator results. On July 18, 2003, ERCOT began running real time security analysis every five minutes. Dispatcher manually makes adjustments to generation as necessary. North to Houston transfer is being monitored closely. ERCOT will check with TDSPs to confirm results of security analysis before implementing generation adjustments.

- Awarding of Black Start Service is on schedule.

- Communications TF update by Keetch.

- The Communications TF currently has two assignments.

- Update Telephone Contact List

- Develop an OGRR dealing with ERCOT handling of significant events.

- Jack Thormahlen has agreed to assume leadership of the Communications TF.

- Update on Outage Scheduling Issues by Ralph Poston

- Training program for the Outage Scheduler program is available on the web site.

- PRR425 Protocol 8 Revision on approval of short term generation outage scheduling has gone through comments.

- Some comments suggest removing approval requirements.

- Ralph reviewed reasons for needing generation outage approval process.

- Kevin Widner from ERCOT answered questions on digital certificates.

- Why can’t a TO get one certificate for all the assets that it controls? ERCOT will investigate this question.

- How do you handle a back up control system? You can have a profile on the backup computer.

- Can you change the duration for logging out from 10 minutes to a longer period? Supposed to have been lengthened to 6 hours. ERCOT will check on this.

- Does ERCOT send out notification prior to expiration of digital certificates? Yes, thirty days prior to expiration. The notification addresses may be incorrect—recommend change to generic email address.

- Future meeting dates and locations.

- August 21, .2003 ERCOT Austin 206B

- September 24, 2003 - ERCOT Austin 206B

- October 23, 2003 - ERCOT Austin 206B

- November 19, 2003 - Comfort Suites

- December 2003 - Will schedule if needed.