ROS Steady State Working Group (SSWG) Request to Eliminate Winter Case from Data Set B Load Flow Cases

Each year the Steady State Working Group (SSWG) prepares two sets of load flow cases:

- The Data Set A Cases contain Peak and Off Peak Cases representing the configuration and loading of the ERCOT System for each season in the upcoming year.  This year the SSWG prepared peak and off peak cases for 2004 spring, 2004 summer, 2004 fall, and 2005 winter.

- The Data Set B Cases model the ERCOT System an additional 5 years into the future.  The cases that will be prepared this year include: 2005 summer, 2006 summer, 2007 winter, 2007 minimum, 2007 summer, 2008 summer, and 2009 summer.

Transmission Planners in the SSWG use the future looking summer peak cases to design future improvements.  The minimum case is used to study voltage problems associated with low load levels.  No one in the SSWG uses the Data Set B Winter Case (2007 winter) and the SSWG does not think it is used by any other Market Participants.

The SSWG would like to eliminate the forward looking winter case (2007 winter) from the Data Set B Cases prepared each year.