| PRR Number |  | PRR Title | Balancing Energy Down Requirement Revision |
| --- | --- | --- | --- |
| ###### Status |  | Urgent |  |
| Protocol Section Requiring Revision |  | 6.5.2 |  |
| Requested Resolution |  | ## Approve |  |
| Revision Description |  | PRR will change the Balancing Energy Down Requirement to apply to MWh capability above the QSEs Low Operating Limit for the units in operation in their portfolio. |  |
| ###### Reason for Revision |  | Current protocol language requires inefficient operation of units above their Low Operating Limit to meet the % bidding requirement. |  |
| ## Timeline |  |  |  |
| Date Received |  |  |  |
| Date Posted |  |  |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |

Proposed Protocol Language Revision

### 6.5.2		Balancing Energy Service

(2)	QSEs shall provide Balancing Energy Down Service bids prior to the close of the Adjustment Period for all capability above the Low Operating Limits for all units of the QSE that are on-line except for nuclear units and Qualifying Facilities.

[new section]

(23)	Should the bid stack for Balancing Energy Down Service be exhausted, ERCOT may select units to OOME off-line.

| ## Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.greer@constellation.com |
| Company | Constellation Power Source |
| Company Address | 8768 Polo Drive, Fort Worth, TX 76123 |
| Phone Number |  |
| Fax Number |  |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |