The following sets of CSCs and resulting zones were considered by the group and will be presented at the WMS meeting.

Choice 1:  3 CSC’s 4 Zones (Just like today) (Jeff Brown)

CSC’s

- Sandow-Temple double circuit

- STP-DOW double circuit

- Graham-Parker and Graham-Benbrook double circuit (same tower from Graham to Parker)

Choice 2:  4 CSC’s 4 Zones (Just like today but with North to Houston

CSC (Jerry Ward)

CSC’s

- Sandow-Temple double circuit

- STP-DOW double circuit

- Graham-Parker and Graham-Benbrook double circuit (same tower from Graham to Parker)

- Gibbons Creek-Obrien and Jewett-TH Wharton (same tower south of Gibbons Creek)

Choice 3:  5 CSC’s 5 Zones (adds N to H  CSC and Farmersville CSC

which adds NE zone) (Brad Belk)

CSC’s

- Sandow-Temple double circuit

- STP-DOW double circuit

- Graham-Parker and Graham-Benbrook  (same tower from Graham to Parker)

- Gibbons Creek-Obrien and Jewett-Wharton (same tower south of Gibbons Creek)

- Farmersville-Royse City double circuit

Choice 4:  11 CSC’s 7 Zones  (Trent Carlson)

CSC’s

- Sandow-Temple double circuit

- STP-DOW double circuit

- Gibbons Creek-Obrien and Jewett-TH Wharton (same tower south of Gibbons Creek)

- Graham-Parker and Graham-Benbrook (same tower from Graham to Parker)

- Farmersville-Royse City double circuit

- Monticello-Allen and Monticello-Sulphur Springs Royse City Allen (same tower from Royse City to Allen)

- Venus-Cedar Hill and Venus-Webb (same tower from Venus to Cedar Hill)

- Watermill-West Levee and Sargent Road-West Levee (Same tower from Sargent Road to West Levee)

- Forney-Centerville and Forney-Duckcreek 138kv (same tower from Forney to Duck Creek)

- Parker-Eagle Mountain and Parker-Roanoke (same tower from Parker to Eagle Mountain)

- Marion-Skyline and Marion- Hill Country (same tower from Marion to Skyline)