Proposed Protocol Language Revision

### 18.6.1 Interval Data Recorder (IDR) Installation and Use in Settlement

- IDR Requirement:  IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVa), or

  - Service provided at transmission voltage (above 60 kV).

- A Competitive Retailer may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Requirement.  Except as stated in item (4) or (7) of this subsection, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given premise shall continue to be settled with its interval data, except as stated in item (7) of this subsection.

- All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Requirement.  These loads shall be settled using Load Profiles.

- For premises not subject to the IDR Requirement in item (1) of this subsection, IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for load research, rate/tariff design calculation, coincident demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes.

- For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

- TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT regions shall install IDR metering capable of measuring the load served during the period the Load transfer is implemented.

- Requirements for Replacing IDR with Non-IDR For A New Customer Move-In.

For a premise move-in where an IDR meter already exists, but where the peak

demand identified in item (1a) of this section is no longer valid, the following criteria

must be satisfied to replace the IDR with a Non-IDR meter:

a.	The premise must have a peak demand of 1000 kW (or 1000 kVa) or less for the first four (4) months of occupancy, or the customer’s peak demand at its last premise never exceeded 1000 kW (or 1000 kVa) in the most recent twelve (12) month period.

b.	The premise must not be expected to meet items (1a) or (1b).

c.	The replacement of the IDR meter with non-IDR shall be the customer’s choice.

- The replacement of the IDR meter with non-IDR will affect both billing and settlement.

- Upon satisfying criterion (a), the request for the removal of the IDR must be made within 30 days, and the customer move-in and installation completed before any subsequent move-out is effective.

### 18.6.6 Peak Demand Determination for Non-IDR Premises

For the purpose of determining the peak demand level for the IDR Requirement in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, the demand will be determined in accordance with PUCT rulemaking or through a consensus process with ERCOT and Market Participants.  In the absence of a clear definition of peak demand in the “price to beat” rulemaking, the following application shall be used in determining the peak demand level for IDR Requirement in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement:

A Premise (ESI ID) has a peak demand greater than 1000 kW when a demand greater than 1000 kW has been measured in any two (2) billing months of the most recent twelve (12) month period.  If a move-in occurs to a premise where an IDR meter has been installed, and for that premise (ESI ID), the peak demand is found to be 1000 kW (or 1000 kVa) or less for a period of four (4) consecutive months, or if the customer’s peak demand at its last premise never exceeded 1000 kW (or 1000 kVa) in the most recent twelve (12) month period, the IDR installation may be replaced with a Non-IDR meter at the retail customer’s request.  Competitive Retailers may dispute an IDR assignment through the ERCOT settlement dispute process, described in Section 9.5 Settlement and Billing Dispute Process.

ERCOT shall be responsible for receiving and storing demand information necessary for determining mandatory IDR installations.

| ## Sponsor |  |
| --- | --- |
| Name | Kenan Ögelman |
| E-mail Address | ogelman@opc.state.tx.us |
| Company | Office of Public Utility Counsel |
| Company Address | 1701 N. Congress, Suite 9-180, Austin, TX 78701 |
| Phone Number | 512.936.7500 |
| Fax Number | 512.936.7520 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |