| PRR Number | 452PRR | PRR Title | Unavailable Units and RMR Agreements |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 8.1.4.1, Changes to a Resource Outage Plan |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | Adds requirement for ERCOT to follow the RMR evaluation and notice requirement for units unavailable for an extended period due to non-Outage reasons. Adds requirement for Resources to remain available during RMR Agreement negotiations. |  |
| ###### Reason for Revision |  | Currently, the ERCOT Protocols do not have any notice provisions when a Resource Owner decides to shut down its unit(s) for business reasons. Under this scenario, the Owner is not interested in requesting RMR status while the unit(s) may be necessary to maintain reliable service. ERCOT also wishes to ensure that the unit stays available for OOM purposes during the negotiations. |  |
| ## Timeline |  |  |  |
| Date Received |  | 8/15/03 |  |
| Date Posted |  | 8/18/03 |  |
| Comments Due |  | 9/8/03 |  |
| PRS Review Date |  | 9/25/03 |  |

Proposed Protocol Language Revision

#### 8.1.4.1	Changes to a Resource Outage Plan

All Resource Entities shall notify ERCOT of any changes to a Resource Outage plan that affects activities scheduled to occur within the next 30 days.

ERCOT shall accept all changes to Resource Outage plans as submitted without comment except as otherwise provided in this Section and in accordance with the applicable Agreements.

Except for the occurrence of a Forced Outage, a Generation Entity may not suspend operation of a Generation Resource for a period of greater than one hundred eighty (180) days without notice to and the approval of ERCOT.   On receiving such notice, ERCOT shall treat such notice as an application for RMR status and follow the RMR evaluation and notice requirements described in Section 6.5.9.1, Application and Approval of RMR Agreements.  If ERCOT determines that RMR status is required, the Generation Entity and ERCOT shall enter into good faith negotiations for an RMR Agreement.  During the evaluation and negotiations, the Resource Entity must maintain such Resource(s) available for OOM Dispatch Instructions under Section 6, Ancillary Services.  If ERCOT determines that RMR status is not required, ERCOT shall approve the suspension of operation as proposed.

| ## Sponsor |  |
| --- | --- |
| Name | William Bojorquez |
| E-mail Address | bbojorquez@ercot.com |
| Company | ERCOT |
| Company Address | 2705 W Lake Dr, Taylor, TX 76574 |
| Phone Number | (512) 248-3036 |
| Fax Number |  |