| PRR Number | 381PRR | PRR Title | Update QSE Designation |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Protocol Section Requiring Revision |  | 16.2.4.2, Qualified Scheduling Entity Service Termination [new] 16.2.13, Emergency Qualified Scheduling Entity 16.3.1.2, Designation of a QSE 16.3.2, Requirements for Reporting and for Changing the Terms of a LSE Registration 16.5.3, Requirements for Reporting and for Changing the Terms of a Resource Registration |  |
| Proposed Effective Date |  | November 1, 2003 |  |
| Priority & Rank Assigned |  | N/A |  |
| Summary of Impact Analysis |  | Infrequent occurrence; however, any occurrence will require intense manual workaround. |  |
| Revision Description |  | Outlines the steps necessary for an LSE or Resource Entity to designate a new QSE when its existing QSE terminates its commercial relationship with the Entity. |  |
| ###### Benefit |  | The Protocols do not specify the process or timeline to be followed when a QSE desires to terminate service to a LSE or Resource Entity. |  |
| ###### Known Benefit for Revision |  | Clarifies the process and timeline for a QSE to terminate its designation for an LSE or Resource Entity. |  |
| PRS Recommendation |  | PRS recommends approval of PRR381 as amended by 381 Task Force Comments, ERCOT Comments, and PRS. |  |

Proposed Protocol Language Revision

### 16.2.4	Remaining Steps for QSE Qualification

#### New Section:

#### 16.2.4.2	Qualified Scheduling Entity Service Termination

- If a QSE intends to terminate representation of an LSE or Resource, the QSE will provide, no less than five (5) Business Days prior to the specified effective termination date notice to ERCOT and the LSE or Resource.

- Effective at 2400 on the termination date specified by the QSE, the QSE will no longer schedule for or represent the terminated LSE or Resource; provided, however the QSE shall be responsible for settlement obligations the QSE has incurred on behalf of the terminated LSE or Resource prior to the termination.

- Within three (3) days of notice of a QSE’s intent to terminate representation of an LSE, ERCOT shall notify the LSE of the level of credit required by the LSE should it become an Emergency QSE as well as the date such credit must be posted.

### New Section:

### 16.2.13	Emergency Qualified Scheduling Entity

#### 16.2.13.1	Designation as an Emergency QSE

If a QSE has terminated its relationship with an LSE and that LSE has failed to designate a new QSE prior to the termination date, the LSE may be designated as an Emergency QSE and may be issued digital certificates and given access to the scheduling capabilities of the portal.

16.2.13.2	Scheduling by an Emergency QSE

An Emergency QSE may only represent itself and may only submit schedules representing QSE-QSE trades and its Obligations.  An Emergency QSE shall not be required to submit schedules if it does not have the capability and will not face punitive action beyond the standard credit posting requirements for failure to comply with any scheduling requirements.  In these cases ERCOT will supply the Obligation through Ancillary Services.

16.2.13.3	Requirement to Obtain New QSE or QSE Certification

An Emergency QSE must satisfy all necessary creditworthiness requirements for QSEs as described in this section within three (3) Operating Days of receiving designation as an Emergency QSE.  Within seven (7) Business Days of receiving designation as an Emergency QSE, an Emergency QSE must designate a QSE that will represent the LSE for purposes of scheduling and settlement with ERCOT or fulfill all QSE registration and qualification requirements.  After completion of the latter requirements, the Emergency QSE may be redesignated as a QSE.  Failure to meet either of these requirements may result in action taken by the PUCT up to and including Mass Drop.

#### 16.3.1.2	Designation of a QSE

Each applicant shall designate in its application the QSE that will represent the applicant for purposes of scheduling and settlement with ERCOT.  Each applicant shall acknowledge in its application that it bears sole responsibility for selecting and maintaining a commercial relationship with a QSE.  The applicant shall include in its application, a written statement from the designated QSE acknowledging that the QSE accepts responsibility for the applicant’s scheduling and settlement transactions pursuant to these Protocols.

A LSE may be required to designate a backup QSE as demonstrated in this section.

If a LSE fails to maintain a commercial relationship with a QSE, the LSE may be designated as an Emergency QSE as provided in this section.

### 16.3.2	Requirements for Reporting and for Changing the Terms of a LSE Registration

In order to maintain its registration status, the LSE must keep the registration information up to date, pursuant to the following requirements:

- A LSE may change its designation of QSE no more than once in any given three (3) day period.  The LSE shall include a written statement from the designated QSE acknowledging that the QSE accepts responsibility for the LSE’s scheduling and settlement transactions pursuant to these Protocols.

- Each LSE shall notify ERCOT within seven (7) Business Days of any material changes in the information included on its application.

- If a LSE’s representation by a QSE will terminate or the LSE intends to be represented by a different QSE, the LSE shall submit updated QSE representation information to ERCOT no less than six (6) days prior to the effective date.  Within two (2) days of receiving notice, ERCOT will notify all affected parties, including the LSE’s current QSE, of the effective date of the change.

### 16.5.3	Requirements for Reporting and for Changing the Terms of a Resource Registration

In order to maintain its registration status, the Resource must keep the registration information up to date, pursuant to the following requirements:

- A Resource may change its designation of QSE no more than once in any given three (3) day period.

- The Resource shall include a written statement from the designated QSE acknowledging that the QSE accepts responsibility for the Resource’s Scheduling and Settlement transactions pursuant to these Protocols.

- If a Resource’s representation by a QSE will terminate or the Resource intends to be represented by a different QSE, the Resource shall submit updated QSE representation information to ERCOT. Within two (2) days of receiving notice, ERCOT will notify all affected parties, including the Resource’s current QSE, of the effective date of the change.

- If a Resource receives notification from its QSE or from ERCOT that its current QSE intends to terminate representation, then the Resource must  submit updated QSE representation information to ERCOT in accordance with this section.  ERCOT’s systems will reflect the relationship between the resource and its new QSE upon successful completion of all necessary testing e.g., telemetry, SCADA and RTU points.  ERCOT will notify all affected parties (Current QSE, new QSE, and affected Resource) of the effective date.

- Each Resource shall notify ERCOT within seven (7) Business Days of any material changes in the information included on its application.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| AEP 012003 | Revised language |
| Tenaska 020303 | Revised language |
| First Choice Power 020403 | Request for details and clarification |
| Tenaska 042803 | Revised language |
| 381 Task Force 071503 | Revised language |
| ERCOT 081303 | Revised language |

| ## Sponsor |  |  |
| --- | --- | --- |
| Name |  | Cheryl Moseley |
| E-mail Address |  | cmoseley@ercot.com |
| Company |  | ERCOT |
| Company Address |  | 7620 Metro Center Drive, Austin, TX 78744 |
| Phone Number |  | 512/225-7057 |
| Fax Number |  | 512/225-7020 |
| Sponsor's Revision Description | Outlines the steps necessary for an LSE or Resource Entity to designate a new QSE when their existing QSE terminates its commercial relationship with the Entity. |  |
| ###### Sponsor's Reason for Revision | The Protocols do not specify the process or timeline to be followed when a QSE desires to terminate service to a LSE or Resource Entity. |  |