| OGRR Number | 132OGRR | OGRR Title | Transmission Operator Clarification |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Operating Guide Section Requiring Revision |  | 1.7.3 Transmission Operator |  |
| Protocol Section Requiring Revision, if any. |  | ## None |  |
| Requested Resolution |  | ## __X__ Normal ____ Urgent |  |
| Revision Description |  | Clarifies the responsibilities for Transmission Operators. |  |
| ###### Reason for Revision |  | Clarifies the responsibilities for Transmission Operators. |  |
| ###### OWG Recommendation |  | Approve as modified by OGRTF. |  |
| ###### ROS Recommendation |  | ROS recommends approval of 132OGRR as modified by ROS. |  |

Proposed Operating Guide Language Revision

### 1.7.3	Transmission Operator (TO)

Transmission Operators (TOs) are the subset of Transmission Service Providers (TSPs) or Transmission and/or Distribution Service Providers (TDSPs) that are charged with continuous communication (7x24 basis) with the ERCOT Control Area Authority (CAA) and carry out Dispatch Instructions directly or on behalf of represented TDSPs.  Each TSP or TDSP will designate either itself or another TSP or TDSP to perform the functions of a TO. TOs must meet all requirements identified in the ERCOT Protocols for TDSPs and TSPs and those stated below for all Transmission Facilities represented:

- Operate and manage the electric Transmission Facilities between energy sources and the point of delivery,

- Coordinate emergency communications between the TDSP or TSP and ERCOT CAA;

- Monitor the loading of the transmission system(s),

- Notify the ERCOT CAA of changes to the status of all Transmission Facilities,

- Act as Single Point of Contact for Transmission Outages,

- Maintain operational metering, and

- Implement Black Start.

Transmission Operators shall provide the ERCOT CAA its written backup control plan to continue operation in the event the Transmission Operator’s control center becomes inoperable.

Each backup control plan shall be reviewed and updated annually and shall meet the following minimum requirements:

- Description of actions to be taken by TO personnel to avoid placing a prolonged burden on ERCOT and other Market Participants.

- Description of specific functions and responsibilities to be performed to continue operations from an alternate location.

- Includes procedures and responsibilities for maintaining basic voice communications capabilities with ERCOT.

- Includes procedures for backup control function testing and the training of personnel.

As an option, the backup plan may include arrangements made with another entity to provide the minimum backup control functions in the event the TO’s primary functions are interrupted.

| ## Sponsor |  |
| --- | --- |
| Name | Wayne Kemper for the Operating Guides Revision Task Force |
| E-mail Address | Wayne.kemper@CenterPointEnergy.com |
| Company | CenterPoint Energy |
| Company Address | PO Box 1700, Houston Tx 77251 |
| Phone Number | 713-207-2192 |
| Fax Number | 713-207-2444 |