Purpose

This document explains the steps that market participants (MPs) will follow when processing safety-net move-in or priority requests.    This document is not intended to override or in any way contradict P.U.C. Subst. R. 25.487, Obligations Related to Move-In Transactions.    This document represents minimum standards; currently many MPs exceed those standards.

EFFECTIVE DATE: With RMS approval, all market participants will begin using the spreadsheet on or before November 1, 2003, and shall complete the spreadsheet to the best of their abilities.  MPs shall not reject spreadsheets as incomplete required data until January 1, 2004.  The ramp-up in requirements for use of the spreadsheet is intended to allow time for market participants to become practiced in its use and to allow additional time as needed for parties to code their systems to come into full compliance.

# Definition

The safety-net or priority move-in is a manual work-around process used by the market participants in the Texas retail electric market to ensure that a customer receives electric service in a timely manner.

# Appropriate use of the safety-net process

The safety-net process should be used for legitimate purposes and not to bypass standard rules and processes.  With the exception of a priority move-in as detailed below, a REP shall submit a safety-net move-in request by noon on the business day prior to the customer’s requested move-in date in the scenarios listed below when it has not yet received confirmation.  A TDU will reject safety-net move-in requests received earlier than noon two days prior to the request date.  The REP can use the safety-net move-in for customers of all classes, whether their premises are new or old, with or without a set meter.  For all move-ins physically completed by this process MPs must work to ensure that the appropriate premise information and response transactions are sent to and received by all affected parties.

Sunset review of the safety-net process is March 1, 2004.  Market will review safety-net process within two months of implementing the MIMO stacking solution.

The following scenarios may lead a REP to submit a safety-net or priority move-in, but do not represent all the circumstances under which a safety-net/priority move-in may be used:

- Not-first-in (NFI) reject.  The REP has initiated an 814_16 (move-in request) transaction, but has received a NFI reject from ERCOT.

- Priority move-in.  The customer has requested, and is willing to pay applicable fees, and the TDU supports priority service, that a TDU connect the meter on the same day that the REP submits the safety-net move-in request.  An electronic 814_16 must be sent at the same time or before the priority move-in request.

- 814_03 or 814_05 not received.  The REP has submitted an 814_16 transaction, but has not received an 814_05 from ERCOT or the TDU has not acknowledged receipt of 814_03 from ERCOT.  The REP must submit a FasTrak issue in conjunction with the safety-net request, if needed, giving the appropriate TDU access to the issue.

  - Prior to submitting a FasTrak issue, the REP must check the status of its move-in transaction   or verify whether a 997 (acknowledgement) has been received on the 814_16.

  - When submitting the FasTrak issue, the REP must include as much information as possible about the ESI, including a list of any outstanding transactions displayed on the ERCOT Portal.

  - If after the 7th day from the creation of the FasTrak issue, there has been no resolution of the FasTrak issue, the entity that submitted the issue, shall invoke the FasTrak escalation procedures.

# Procedures

- The REP must submit an 814_16 transaction to ERCOT and note the BGN02 on the safety-net spreadsheet.

  - If the 814_16 that corresponds with the safety-net request is rejected by ERCOT, the REP must resubmit the transaction within 2 business days.  All resubmitted 814_16 transactions must use same requested date as submitted with the original safety-net spreadsheet.   The REP is to submit a FasTrak issue after:

      - receiving two ERCOT rejects, 24 hours apart for a MVI transaction for which it has submitted a safety-net move-in request or

      - not receiving a response from ERCOT on the 814_16 within 48 hours.

  - If a subsequent 814_16 transaction is accepted by ERCOT, the REP must update the TDU with the latest BGN02 for its safety-net ESI.  In the event the updated BGN02 is not required by the TDSP, the REP has the option of including the updated information in the spreadsheet and the TDSP will not reject the spreadsheet.

    - All updates must reference the original MVI request date.

    - The update email must be in the format outlined in section 4(b) below.

- A REP determines that the TDU will be unable to complete a move-in on the customer’s requested date unless it initiates a safety-net move-in.

- To initiate a safety-net move-in, the REP sends an email with an Excel spreadsheet attachment containing the customer’s ESI to the TDU using the market-approved spreadsheet format.

- Safety-net spreadsheet should only contain ESIs that correspond to the expected TDU action.  Safety-net move-in requests are subject to TDU charges as contained in their respective tariffs.  Some TDUs may require that REPs send priority move-in requests to a different email address.

  - The market has approved the following format for the safety-net email subject line:

| ### STANDARD SUBJECT LINES FOR SAFETY-NET EMAILS |  |  |
| --- | --- | --- |
| Subject Line | Used For | Submitted By |
| [REP Name] – Safety-net – CANCEL – [Date Requested] | Canceling previously submitted safety-net request | REP |
| [REP Name] – Safety-net – PRIORITY – [Date Requested] | Same day move-in request | REP |
| [REP Name] – Safety-net – [Date Requested] | Next day move-in request | REP |
| [REP Name] – Safety-net – UPDATE – [Date Requested] | Providing updated BGN02 | REP |
| [TDU Name] – Safety-net – RESPONSE – [Date Requested] | Status of safety-net request | TDU |

  - The REP must use an Excel spreadsheet (unless CR and TDSP agree on a different format) with the following data fields to submit safety-net move-in requests to the TDUs (spreadsheets will not be rejected for format discrepancies):

| ## Safety-net Spreadsheet Format |  |  |  |  |
| --- | --- | --- | --- | --- |
| Column | Field Name | Note | Data Attributes |  |
|  |  |  | Type | Length (Min. / Max.) |
| (1) | ESI | (required) | AN | 1 Min. / 80 Max. |
| (2) | Customer Contact Name | (required) | AN | 1 Min. / 60 Max. |
| (3) | Customer Contact Phone | (required if available) | AN | 1 Min. / 80 Max. |
| (4) | MVI Street Address | (required) | AN | 1 Min. / 55 Max. |
| (5) | MVI Apartment Number | (if applicable) | AN | 1 Min. / 55 Max. |
| (6) | MVI ZIP | (required) | ID | 3 Min. / 15 Max. |
| (7) | MVI City | (required) | AN | 2 Min. / 30 Max. |
| (8) | CR DUNS Number | (required) | AN | 2 Min. / 80 Max. |
| (9) | CR Name | (prefer D/B/A to corporate name) | AN | 1 Min. / 60 Max. |
| (10) | MVI Request Date | (required) | DT | 8 Min. / 8 Max. |
| (11) | Critical Care Flag | (optional) | AN | 1 Min. / 30 Max. |
| (12) | BGN02 | (required) | AN | 1 Min. / 30 Max. |
| (13) | Notes/Directions | (optional) | AN | 1 Min. / 80 Max. |
| (14) | REP Reason for Using Spreadsheet | (optional –free form) | AN | 1 Min. / 80 Max. |

  - Priority move-in requests are subject to TDU charges as contained in their respective tariffs.  Timing for priority move-ins will be consistent with documentation already in the market describing the process for those TDUs that offer priority move-ins.

| ### TDU Timelines for Processing PRIORITY Requests |  |
| --- | --- |
| AEP | 5:00 PM today |
| CNP | Service not tariffed |
| Oncor | No specific timeline |
| TNP | 1:00 PM today |

  - A REP must submit safety-net move-in requests by noon on the business day previous to the requested move-in date.

- If the REP wants to cancel a safety-net move-in, it must notify the TDU by email to the same place where the original request was sent.  If the REP does not notify the TDU of a cancellation, the TDU will complete the move-in request, and the REP will be responsible for the customer’s consumption and all applicable discretionary charges.

  - The REP’s email notification must follow the format outlined above in section 4(a) and (b).

  - If a REP cancels a NEXT-DAY move-in by 5:00 PM the previous day, the TDU will not apply any charges.

  - If a REP cancels a safety-net move-in on the requested date, the TDU may charge the REP a trip charge in accordance with TDU tariffs for canceling the safety-net move-in.

  - If the TDU has already completed the safety-net move-in and it is too late to cancel, the REP must initiate a FasTrak issue to return the premise to the original REP.

- When processing safety-net emails, TDUs will work CANCELS as highest priority, then same-day priority request, and then next-day requests.

- TDU responses to REPs.

  - TDUs shall notify the REP of all safety-net move-in requests that could not be completed on an ESI by ESI basis.  TDUs shall respond immediately or within 2 business days of receipt of the request, depending on the reason noted in the table below (spreadsheets will not be rejected for format discrepancies).

| ### TDU RETURN CODES |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| # Response Code | Description |  |  | Data Attributes |  |  |
|  |  |  |  | Type |  | Length Min. / Max. |
| A76 | ##### ESI ID Invalid or Not Found | Immediate | AN |  | 1 Min. / 30 Max. |  |
| API | Required information missing | Immediate | AN |  | 1 Min. / 30 Max. |  |
| PT | ###### Permit Required | Immediate | ID |  | 1 Min. / 2 Max. |  |
| 9 | Completed Unexecutable | 2 business days after the completed unexecutable date | ID |  | 1 Min. / 2 Max. |  |
| Completed Unexecutable Code | See table in Attachment A | 2 business days after the completed unexecutable date | AN |  | 1 Min. / 30 Max. |  |
| Completed Unexecutable Free Form Text | Field crew notes for why not completed – if available | 2 business days after the completed unexecutable date | AN |  | 1 Min. / 80 Max. |  |

  - The TDU shall respond to the REPs regarding unexecutable safety-net requests completed each day using the spreadsheet format in the table below.  The TDU may use codes in Appendix A or free form text (field notes) to respond to the REP.  Note – the ESIs in the response emails may not match one-for-one with those sent on the original safety-net spreadsheet because, for example, TDUs will not be aware of certain unexecutable conditions until after a field crew has been sent.

| ## TDU Response Spreadsheet Format |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Column | Field Name | Note |  | Data Attributes |  |  |  |
|  |  |  |  | Type |  | Length Min. / Max. |  |
| (1) | ESI | (required) | AN |  | 1 Min. / 80 Max. |  |  |
| (2) | MVI Street Address | (required) | AN |  | 1 Min. / 55 Max. |  |  |
| (3) | MVI Apartment Number | (if applicable) | AN |  | 1 Min. / 55 Max. |  |  |
| (4) | MVI ZIP | (required) | ID |  | 3 Min. / 15 Max. |  |  |
| (5) | MVI City | (required) | AN |  | 2 Min. / 30 Max. |  |  |
| (6) | CR Name | (prefer D/B/A to corporate name) | AN |  | 1 Min. / 60 Max. |  |  |
| (7) | MVI Request Date | (required) | DT |  | 8 Min. / 8 Max. |  |  |
| (8) | BGN02 | (optional) | AN |  | 1 Min. / 30 Max. |  |  |
| (9) | TDU Return Code | (required) | AN |  | 1 Min. / 30 Max. |  |  |
| (10) | Completed Unexecutable Description | (optional) | AN |  | 1 Min. / 80 Max. |  |  |

- The REP establishes its rights to serve a customer at the premise identified by the safety-net move-in ESI beginning from the date the TDU connects service to the premise.

- TDU billing:

  - The date the TDU connects service to the premise is the effective date for all wires charges and fees associated with the safety-net move-in ESI.  The effective date must be the same as the date submitted on the 867_04 transaction.

  - The TDU may not issue wires charges and fees or consumption records until the REP submits the 814_16 electronic transaction.  Request clarification from Staff.

- Because the REP had submitted an 814_16 for the safety-net ESI, the TDU should receive an 814_03 transaction for the ESI from ERCOT by the 5th day after the REP submitted the safety-net email.

| TDU RESPONSE CODES FOR COMPLETE UNEXECUTABLE |  |
| --- | --- |
| Code | Description |
| A000 | ===== WEATHERHEAD (SERVICE OUTLET) ===== |
| A001 | Need Meter Loop and Outlet Installed |
| A002 | Need fiber spacer for service entrance conductors |
| A003 | Need weatherhead on conduit above meter base |
| A004 | Fiber wire spacer protector broken in weatherhead |
| A005 | Screws holding head in place broken off or threads stripped |
| A006 | Exceeds 25' above finished grade |
| A007 | Damaged Meter Loop |
| A008 | Needs clamps at Weatherhead |
| B000 | ===== POINT OF ATTACHMENT ===== |
| B001 | Too close to window, door or porch, needs to be 3' away |
| B002 | Point of attachment over 3' above roof without guy or bracing |
| B003 | None Installed |
| B004 | Drop attachment. Too far from service outlet, should be within 18" of drop |
| B005 | Anchorage not sufficient to support drop cable - 300 lb pull of service drops |
| B006 | Need penta or creosote treated pole, or a 4" x 6" timber for permanent service |
| B007 | Temporary meter pole needs bracing to withstand 300 lb. pull of service drops |
| B008 | Meter pole not set deep enough to support drops and withstand 300 lb pull of service drops |
| B009 | Pole not of proper height over driveway. Need 12' vertical clearance above finished grade, over residential driveways |
| B010 | Service attachment needs to be higher for driveway, alleys, roads and streets |
| B011 | Unable to get drop attachment high enough to get clearance from low point of sag in service cable, over sidewalk, porch or platform |
| B012 | Need bracket on the service mast for attaching service rack |
| B013 | Requires secondary rack |
| B014 | Exceeds service drop distance |
| B015 | No Meter Pole |
| B016 | Does not have 12" clearance from SWBT, Cable TV, etc. cables |
| C000 | ===== LINE CONDUIT ===== |
| C001 | Should not be water pipe fittings |
| C002 | Water pipe not allowed for service outlet conduit |
| C003 | Service outlet conduit not sufficiently clamped to building |
| C004 | Two inch G.I. or I.M.C. or three inch aluminum conduit required for mast head |
| C005 | Electrical junction boxes not sealable type |
| D000 | ===== LINE OF CONDUCTORS ===== |
| D001 | Service entrance conductors not identified |
| D002 | Line wire of wrong type insulation |
| D003 | Line wires too short to reach lugs in meter can |
| D004 | Wires from service outlet too short for TDSP to connect drops |
| D005 | No line wires in service outlet |
| D006 | Bare aluminum neutral conductor in meter loop |
| E000 | ===== METER BASE ===== |
| E001 | Improperly mounted on pole. Too low or too high. |
| E002 | Un-used holes in meter base not close up or covered |
| E003 | No neutral connector in meter base |
| E004 | Meter base improperly mounted. Upside down. |
| E005 | Need 125 amp meter base to match customers wire size |
| E006 | Need 200 amp meter base to match customers wire size |
| E007 | Customer wired for current transformer installation. Refer to primary meter man. |
| E008 | Foreign type of meter base, TDSP does not have equipment to fit it |
| E009 | Gang type meter socket base not completely wired |
| E010 | No cover on meter base |
| E011 | Meter base mounted too high above finished grade ground level, should be 5' to 6' |
| E012 | Residential meter socket, need commercial |
| E013 | Meter socket base not level |
| E014 | Ground in meter can |
| E015 | Meter base needs to be replaced |
| E016 | Customer not ready |
| E017 | Faceplate need Tamper Proof lid |
| F000 | ===== CUSTOMER'S NEUTRAL WIRE ===== |
| F001 | Must be electronically continuous inside socket base |
| F002 | Conductors unidentified in service entrance conductors. Must be white, bare or gray. |
| F003 | All 3 phase wires must be identified |
| F004 | Uninsulated aluminum conductor |
| F005 | Bonding conductor for 480 volt, 3 wire service must be a minimum of #6 copper or equivalent and must be insulated |
| G000 | ===== LOAD CONDUIT ===== |
| G001 | Customer used water pipe nipple going to switch box. Need water tight conduit. |
| G002 | No bushing on conduit from meter base. Weather proof entrance fitting. |
| H000 | ===== CUSTOMER'S LOAD CONDUCTORS ====== |
| H001 | Exceeds ampacity of meter socket |
| H002 | Has the wrong type of insulation |
| H003 | No wires in load side of meter box |
| J000 | ===== SWITCH BOX ===== |
| J001 | Holes in customers switch box not used or closed. Bare wires and connections exposed. |
| J002 | No ground connector attached to box |
| J003 | Inside main switch box mounted outside. Must have water tight connections between meter base and switch box |
| J004 | No cover on breaker box. Lighted connections exposed to public. |
| J005 | Load wires still energized from backfeed. |
| J006 | Neutral connection must be electrically continuous and not fused |
| J007 | Main switch inside premises are unable to relieve load from loop |
| J008 | Need main breaker if over 6 breakers |
| K000 | ===== GROUNDING ELECTRODE CONDUCTORS ===== |
| K001 | Grounding electrode conductor not sized in accordance with table 250-94 of NEC |
| K002 | Where used outside, aluminum or copper clad aluminum conductors shall not be installed within 18" of earth. |
| K003 | Grounding electrode conductor not securely fastened to the premises below the meter can |
| K004 | No grounding electrode conductor installed |
| K005 | Grounding electrode conductor not attached to ground rod with approved clamp |
| K006 | Has aluminum grounding electrode conductor in direct contact with a masonry or earth |
| K007 | Grounding electrode conductor must go from switch box to ground rod |
| L000 | ===== GROUND CONDUIT OR ARMORED CABLE ===== |
| L001 | Not attached to switch box with water tight connector |
| L002 | Not bonded to ground rod |
| L003 | Not attached to switch box |
| L004 | Not secure to building or pole |
| M000 | ===== GROUND CLAMP ===== |
| M001 | Unapproved ground clamp |
| M002 | No ground clamp |
| N000 | ===== GROUND ROD ===== |
| N001 | Must be at least 3/4" galvanized pipe |
| N002 | Steel rod must be 5/8" minimum diameter |
| N003 | Rod or pipe must be 8' deep |
| N004 | No Ground Rod |
| P000 | ===== PERMITS ===== |
| P001 | No permit |
| P002 | Needs city inspection |
| Q000 | ===== CONSTRUCTION ===== |
| Q001 | TDSP construction required |
| Q002 | Customer needs to meet electrician |
| Q003 | Need house or apartment numbers permanently identified |
| Q004 | Corrections not made from previous turndown |
| Q005 | Drops would trespass other's property |
| R000 | ===== UNDERGROUND SERVICE DROPS OWNED BY CUSTOMER ===== |
| R001 | Service drop not installed |
| R002 | URD drops too short |
| R003 | URD ditch not covered |
| R004 | URD drops not run to the proper point (small notch "V" of the transformer pad) |
| R005 | Wrong type of URD meter can |
| R006 | Unapproved wire for underground |
| R007 | URD service conductors not deep enough |
| R008 | Drops need to be dug within 12" of transformer on pad. Must be clear to open transformer. |
| R009 | Underground drops cut in two |
| R010 | T-Saw pole not 4 feet from front of transformer on pad. Must be clear to open transformer. |
| R011 | T-Saw pole not 3 feet from rear of transformer |
| R012 | P.V.C. or conduit elbow not deep enough |
| R013 | No P.V.C. or conduit elbow |
| R014 | No line conduit installed |
| R015 | Meter pole set in easement |
| S000 | ===== CUT-INS/CUT-OUTS ===== |
| S001 | Inside trouble on customer side |
| S002 | Weatherhead pulled from house or broken |
| S003 | Cannot cut-out at pole, MD, Weatherhead, or remove meter and drops |
| T000 | ===== MISCELLANEOUS ===== |
| T001 | Business Closed/Customer not home |
| T002 | Meter inside, building locked |
| T003 | Bad Dog |
| T004 | High fence, locked gate |
| T005 | Electrician needs to meet with TDSP meter man |
| T006 | Customer needs to trim trees |
| T007 | No breakers |
| T008 | Customer's facilities under secondary and primary |
| T009 | Meter blocked |
| T010 | Meter in wall |
| T011 | Voided per customer |
| T012 | Re-schedule per customer |
| T013 | Meter Damaged |
| T014 | No Meter |
| T015 | Muddy Road |
| T016 | High Water |
| T017 | Customer Requested Clearance - Unable to do work on date requested |
| T018 | Other |
| T019 | Tampering |
| U000 | ===== UNSAFE CONDITIONS ===== |
| U001 | Exposed wires |
| U002 | Jumpers in breaker box |
| U003 | Insects |
| U004 | Excessive debris |
| U005 | Irate Customer |
| U006 | Backfeed on load side jaws |