# OWG report to ROS October 15, 2003

The OWG met on September 24, 2003. OWG discussed the different types of Loads acting as a Resource and how they should be scheduled in the Resource Plan. Mark Patterson (ERCOT) gave a presentation on LaaRs and their deployment.  TOs requested that ERCOT send them the real time status for LaaRs in their area. ERCOT Compliance is working on an Entity Compliance spreadsheet listing Protocol and Operating Guide requirements for QSEs and TOs.  This will eventually be posted on the ERCOT website and will serve as a reference for compliance issues. James Hinson reported that, if NERC holds to schedule, it might be possible for a many as 3 hours of 2004 Operations Seminar to count towards continuing education credits. For further details, the OWG minutes will be posted on the ERCOT website.

The OWG recommends the following OGRRs for ROS approval:

- 138 Reactive Curves Requirement – comments from ERCOT, LCRA, and CNP incorporated

- 139 Black Start Back-up Communications Requirement – no comments received

Next OWG is scheduled for October 23, 2003.

- The Operating Guide Revision Task Force met on September 23, 2003.

The Automatic Firm Load Shed process in OG 2.9.1 is being re-evaluated and will be coordinated with the SPWG’s OGRR concerning the same issues in Section 7 of the OG. The Operating Guide Change Control Process in Section 1 is being revised to verify procedure transparency to all stakeholders. OGRTF continues to review a draft OGRR to correct and clarify OG Section 2. OGRR140 SPS/RAP Coordination has been posted and is in its comment period.

Operating Guides effective date October 1, 2003 – new section 1 incorporating OGRRs:

  - 132 TO Definition Clarification

  - 133 Section 1 Clarifications

The next OGRTF meeting is scheduled for October 16, 2003 at the Met Center.

- The Black Start Task Force met September 30, 2003. TAC approved PRR 453 Black Start Service Voice Communication at its last meeting. OGRR 139 Black Start Backup Communication Facility Criteria has been recommended  for ROS approval.  TOs have been requested to have their individual 2004 Black Start Plans available for discussion by the next BSTF meeting. The 2004 Black Start Training schedule and lesson plan was reviewed for timeline and content.  The 2004 Black Start Plan is on schedule for completion by December 31, 2003.

The next BSTF meeting will be a two-day meeting on October 28-29, 2003.

- The Communications Task Force has not met since the last ROS meeting.

The task force is completing the contact list for QSEs and TOs. Once finished this list is expected to be posted on the portal.  Digital certificates will protect access to the list.

The ERCOT Fundamentals Manual has been updated and will be available on disk in November to those companies that participated in the original ERCOT Certification process. The certification tests are being revised and updating should be completed in December.