| Date: | October 14, 2003 |
| --- | --- |
| To: | Board of Directors |
| From: | Sam Jones |
| Subject: | RMR Exit Strategy – Near Term Fort Phantom and LaPalma |

## Issue for the ERCOT Board of Directors

ERCOT Board of Director Meeting Date: October 21, 2003 Agenda Item No.: 5b

##### Issue: Approval of the near term RMR Exit Strategy for Fort Phantom and LaPalma generating units as described in Attachment A

##### Background/History: Earlier this year, the ERCOT Board of Directors approved a revision to the ERCOT Protocols requiring ERCOT staff to investigate possible alternatives to RMR contracts. Section 6.5.9.1 of the ERCOT Protocol language states in part: No later than 90 days following the execution of an RMR Agreement, ERCOT shall report to the Board and post on the MIS a list of feasible alternatives that may, at a future time, be more cost-effective than the continued renewal of the existing RMR Agreement. Through the normal ERCOT System planning process, ERCOT shall develop a list of potential alternatives to the service provided by the RMR Unit. ERCOT Staff has been working to carry out these requirements. Transmission improvements have been identified and are included in this report. Initially, ERCOT identified long-term alternatives requiring new 345kV lines on new right-of-ways. Because of the high costs of running RMR units compared to transmission fixes and the long lead time for these 345kV options, shorter-term alternatives were also investigated. Due to the nature of these RMR circumstances and lack of Protocols provisions for some alternatives (such as contracting with new generators to relieve the RMR units), solutions outside of transmission system improvements were not found to be feasible. The following summarizes the process for the review of these short and long-term alternatives: September 11, AEP Service Company (the TDSP) provided short-term alternatives for RMR units September 15, ERCOT hosted stakeholder meeting in Austin to review short-term alternatives September 22, Stakeholders submitted comments to the short-term alternatives September 30, ERCOT issues a draft recommendation on RMR short-term exit strategies October 7, Comments on ERCOT‘s draft recommendation due October 9, TAC review and approval October 10, Second meeting on RMR near and long-term alternatives ERCOT endeavors to achieve a coordinated transmission planning process through the regional planning efforts. This process ensures that the ERCOT and NERC planning standards are met, that the proposed project addresses TDSP planning criteria requirements, and that all areas of concern are addressed with the good of the overall region in mind.

##### Key Factors Influencing Issue: - RMR costs - Maintaining Reliability - Transmission additions

##### Alternatives: ##### Approve the near term RMR Exit Strategy for Fort Phantom and LaPalma; ##### Maintain RMR Service from Fort Phantom and LaPalma; or ##### Remand to ERCOT Staff with instructions.

##### Conclusion/Recommendation: ERCOT Staff recommends that the Board approve the near term RMR Exit Strategy for Fort Phantom and LaPalma RMR service, as identified in Attachment A.