September 24, 2003 OWG Meeting Minutes

Attendance:

Wayne Kemper		CenterPoint Energy / Chair OGRTF 	TO	713-207-2192

Tip Tipton		Brazos					TO	254-750-6267

David Darnell		CPS / Chair ROS				TO	210-353-2208

Tom Peterson		TXUPM					QSE	214-875-9299

Dennis Kunkel		AEP					TO	361-289-4003

James Hinson		ERCOT						512-248-3997

Julian Ramirez		BPUB					TO	956-983-6304

Steven Knapp		Constellation				QSE	410-468-3606

John Koch		CPS					TO	210-353-3353

Dennis Starbuck		AEN					TO	512-322-6694

Harry Holloway		Texas Genco				QSE	713-207-8139

Ross Owen		Oncor					TO	214-743-6864

John May		CPS					QSE	210-353-3409

Paul Barham		CPS					QSE	210-353-3892

Frank Owens		Garland					TO	972-205-3003

Jerry Willms		LCRA					TO	512-482-6307

Walter Bukowski		CPS					TO	210-354-0174

Rick Keetch		Reliant Energy / Chair			QSE	713-497-2526

Mark Patterson		ERCOT						512-248-3912

Ed Self			Calpine					QSE	713-830-8804

Sydney Niemeyer		TxGenco				QSE	713-207-5051

Robert Potts		ERCOT						512-225-7022

John Adams		ERCOT						512-248-3130

Larry Grimm		ERCOT						512-225-7025

### NOTE: Action Items Shown in Bold

- ROS / TAC report—Keetch.

- The ROS remanded OGRR138 (Generator Reactive Design Curves submission to ERCOT) to the OWG to address ERCOT Operations concerns. OGRR137 (Limit on percentage of RRS LaaRs may provide per PRR415) was approved by the ROS.

- Update on PRR425 (generation outage scheduling for some outages). Proposed changes to this PRR include changing the 30-day reliability window for planned outage approval to 8 days. Additionally, allows ERCOT to discuss disputed outages with the PGC. Also discussed was giving the outages schedulers more voice on improving the outage scheduling software. Added giving resources a minimum of two hours notice when planning to OOM off a unit that is coming back early from a planned outage.

- Communications TF Report—Keetch

- Have compiled a contact list for TOs and QSEs. The TF recommends placing this list on the access controlled ERCOT web site (requires digital certificate) as well as the ERCOT Black Start Plan as an appendix.

- Working on changes to the Operating Guides to make it consistent with DOE terminology for terrorism and sabotage.

- ROS has made an assignment to OWG to investigate creating an OGRR for adding a definition of significant events for the purpose of ERCOT investigation reports. ERCOT Compliance has started work on a similar assignment.

- Updated ERCOT Fundamentals Training Manuals for ERCOT Certification will be available in November via CD for those companies who purchased the manual and participated in the original certification program. New certification test based on revised training manual will be available in December.

- Update on Continuing Education Hours for NERC re-certification by James Hinson

- Hinson presented a draft 2004 ERCOT Seminar agenda that tentatively includes three hours of Continuing Education Hours (CEH) toward NERC re-certification.

- ERCOT must get the three segments of the seminar pre-approved by NERC, which takes approximately 45 days.

- ERCOT can then expand the number of hours of NERC re-certification in future ERCOT seminars with less rigorous approval requirements.

- ERCOT plans to document material retention by applying a test covering material from the three sections at the end of the seminar

- Of the 32 CEH required over two years for re-certification, 10 hours must be NERC related, 12 hours job related and 10 hours of electives.

- Update on ERCOT action items from previous meeting—Hinson

- Hinson summarized use of OCN versus Advisories

- Leo Villanueva found that TTC is a valid term in the protocols.

- ERCOT is setting up a process to provide notice, if possible, before implementing new Operating Procedures.

- Adams indicated that ERCOT procedures would be changed to clarify use of monitored element versus contingency element for Advisories after the ERCOT Operations audit is complete.

- OGRTF Report—Wayne Kemper

- The OGRTF met on September 23, 2003 and will next meet on October 16, 2003.

- The OGRTF, with the submitter’s agreement, amended the structure though not the content of OGRR 139 (Black Start Back Up Communication). This OGRR had been posted for the required period without comments. The OWG agreed to forward OGRR139, as revised by the OGRTF, to the ROS with a recommendation for approval.

- Th OGRTF amended OGRR138 to the satisfaction of ERCOT Operations. The OWG reviewed and approved recommending the revised OGRR138 to the ROS.

- The OWG discussed how the reactive tests should be used by ERCOT. John Adams indicated that ERCOT plans to revise the Operating Models when appropriate with the test results.

- The OWG discussed the dilemma of PGCs who want to provide tests results that reflect true reactive capability without jeopardizing the generating units—particularly older units. One suggestion was to provide both short-term and long-term reactive capabilities. The short-term capability would be based on undemonstrated expectations during an emergency event and the long-term capability on reactive tests. John Adams will determine if this idea should be pursued.

- The OGRTF continues to work on a draft OGRR to make the Operating Guides consistent with the ERCOT procedures for installing and operating SPS and RAPs.

- The OGRTF continues to work on a draft OGRR to improve the description of the Operating Guide Revision Process within the Operating Guides.

- The OGRTF continues to work on corrections and clarifications of Section 2 of the operating guides and expects to post this OGRR after the next OGRTF meeting.

- Loads Acting As A Resource—Mark Patterson

- 3 Types—UFR, ILD and CLD

- Under Frequency Relay (UFR) — Can provide Responsive Reserve, Replacement Reserve, Balancing Energy and Non-Spinning Reserve Services. Currently approximately 1200MW qualified of this type of LaaR.

- Controllable Load (CLD) —Provides Replacement Reserve Service and Balancing Energy Service. Currently approximately 50MW qualified.

- Interruptible Load (ILD) --Only qualifies for Non-spinning Reserve Service. None currently qualified.

- All three types can be OOME or OOMC if not struck in bid process.

- Action Item was assigned for Patterson or Hinson to investigate LaaRs inactive/active flag in Resource Plan.

- Patterson agreed to an Action Item to investigate the feasibility and appropriateness of telemetering to each TO with LaaR the amount of LaaRs within that TO.  TOs currently have access to real time generator output resource data but not LaaR data.

- Entering Outage times in the Outage Scheduler—Ross Owens

- Oncor has requested a change to allow more than 2 hours for entering actual outage times for outages below 345KV. At the time of the meeting this requirement had been temporary suspended. CenterPoint confirmed that it has similar concerns especially since the current system requires multiple time consuming entries for one outage. Hinson commented that he had discussed this issue with Steve Meyers who indicated that two-hour window was established at the request of the market and therefore the market (WMS) needs to agree to a change in this parameter. Ross indicated that he would take the lead on presenting to the WMS the need for changing this requirement.

- Compliance update—Robert Potts

- Compliance is creating a reference list of protocols on the ERCOT web site that QSEs, TOs, and PGCs must adhere to.

- Compliance is working on an event investigation process that will be presented at the next ROS meeting.

- The August Operations Report was postponed to the next meeting since the appropriate ERCOT personnel were unavailable for this report. Wayne Kemper expressed desire to learn more about the LaaR deployments and grid outage events in August.

- Future meeting dates and locations.

- October 23, 2003 - ERCOT Austin 206B

- November 19, 2003 - Comfort Suites (subject to change)

- December 2003 - Will schedule if needed.