| OGRR Number | 137OGRR | OGRR Title | Revision due to PRR 415 Establish 50% as Limit for LaaRs Providing RRS |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Proposed Effective Date |  | November 1, 2003 |  |
| Operating Guide Section Requiring Revision |  | 2.5.2.3, Interruptible Responsive Reserve 2.5.2.4, Distribution of Responsive Reserve |  |
| Protocol Section Revised |  | ## Section 6.5.4, Responsive Reserve Service, paragraph (8) |  |
| Revision Description |  | Administrative change to maintain Operating Guide consistency with Protocols as allowed by Operating Guide Section 1.3 Change Control Process. |  |
| ###### Benefit |  | ERCOT Board approved PRR 415 on July 15, 2003, effective August 1, 2003. This OGRR makes the Operating Guide consistent with the Protocols. |  |
| OWG Recommendation |  | OWG recommends approval of OGRR137 as submitted. |  |
| ## Sponsor |  |  |  |
| Name |  | OGRTF |  |
| E-mail Address |  | OGRTF@ercot.com |  |

Operating Guide Language Revision

Reference as revised from PRR415

2.5.2.3 Interruptible Responsive Reserve

Reference:  Protocols Section 6.5.4, Responsive Reserve Service

(2)  A QSE’s Load acting as a Resource must be loaded and capable of unloading the scheduled amount of RRS within ten (10) minutes of instruction by ERCOT and by action of underfrequency relays as specified by the Operating Guides.

(5)  Loads acting as a Resource providing RRS must provide a telemetered output signal, including breaker status and status of the under-frequency relay.

(8)  The amount of Resources on high-set under-frequency relays providing RRS will be limited to 50% of the total ERCOT RRS requirement. ERCOT may reduce this limit if it believes that this amount will have a negative impact on reliability or if this limit would require additional Regulation to be deployed as prescribed in Protocol Section 6.10, Ancillary Service Qualification, Testing and Performance Standards of these Protocols.

| Comments Author | Comments Summary |
| --- | --- |
|  | None submitted |

| Sponsor’s Revision Description | Administrative change to maintain Operating Guide consistency with Protocols as allowed by Operating Guide Section 1.3 Change Control Process. |
| --- | --- |
| ###### Sponsor’s Reason for Revision | ERCOT Board approved PRR 415 on July 15, 2003, effective August 1, 2003. |