| Date: | November 11, 2003 |
| --- | --- |
| To: | ERCOT Board |
| From: | Sam Jones, COO |
| Subject: | Methodology for Ancillary Services Requirements |

## Issue for the ERCOT Board of Directors

ERCOT Board of Director Meeting Date: November 18, 2003 Agenda Item No.: 4a

##### Issue: Section 6.4.1(3) of the ERCOT Protocols require that "[t]he ERCOT Board shall review and approve ERCOT's methodology for determining the minimum Ancillary Service requirements." The Board approved the 2003 Ancillary Services requirements at its October 15, 2002, meeting. ERCOT Staff and TAC recommend modifications to those requirements to be effective in 2004, which requires Board approval.

##### Background/History: Ancillary Services are necessary to maintain the reliability of the ERCOT system. The ERCOT Protocols define these Ancillary Services and charge ERCOT with determining a methodology for the minimum levels of Ancillary Services required. ERCOT Staff has developed proposed changes to the methodology previously approved by the ERCOT Board. The revised methodology description is attached hereto as Attachment A. The revised methodology was reviewed and approved by TAC at its November 6, 2003, meeting.

##### Key Factors Influencing Issue: Ancillary services are necessary to ensure that there are sufficient resources to serve system load and maintain system frequency in the ERCOT system. Determining the minimum amount of services required to do this is based on operating experience, analysis and professional judgment. The proposed methodology reflects ERCOT’s best judgment on minimum Ancillary Services needed for the ERCOT Single Control Area. By necessity, some flexibility in these requirements is necessary to accommodate actual conditions. The proposed methodology was reviewed by the Reliability and Operations and Wholesale Market Subcommittees and was approved by TAC. Significant changes from the previous year include the following: Regulation Reserve Service - Clarified definition of stress conditions allowing increase of regulation. - Allows ERCOT to divide regulation amounts into more than 4 time periods per day. - Allows ERCOT to correct statistical calculation of requirement when regulation is exhausted. Requires ERCOT to post rational for adjustment if made. ###### Non Spinning Reserve Service - ERCOT procures non-spin during hours with forecast temperatures more extreme than previous years (increased from 92=>95°). - In shoulder months reduces procurement from hours in which ERCOT within 80% of projected peak to 85%. - Specifies Dallas/Houston as locations of temperature measurement ###### Replacement Reserve Service - Acknowledges manual selection of OOMC until replacement software corrections in place. - Corrects timeline Responsive Reserve Service - Allows ERCOT to set maximum LAAR providing RRS up to 50%. - Defines methodology for ERCOT to set the maximum LAAR providing RRS percentage.

##### Alternatives: (1) Approve the recommendation on the ERCOT Methodologies for Determining Ancillary Service Requirements as approved by TAC or as modified by the Board; (2) reject the recommendation; or (3) remand to ERCOT Staff with instructions.

##### Conclusion/Recommendation: TAC and ERCOT Staff recommend that the Board approve the proposed changes to the methodology for determining Ancillary Service requirements as presented herein.