November 20 ROS Meeting Agenda

- May 15 event

  - SPWG report, discussion of transmission line relay misoperation and corrective actions (distributed to ROS by November 6, 2003)

  - ERCOT Compliance / Oncor discussion of generator trips and corrective actions (if applicable)

    - Comanche Peak

    - Wolf Hollow

    - Venus

    - Parker

    - De Cordova

    - Changes needed to make coordination of underfrequency generator protection with underfrequency relays an enforceable compliance issue

  - ERCOT discussion of ERCOT’s AGC trip and corrective actions (if applicable)

  - ERCOT discussion of why responsive reserve was not fully deployed and corrective actions (if applicable)

  - ERCOT Compliance / TDSP discussion of underfrequency load shedding non-compliance and corrective actions

    - Austin Energy

    - BEPC

    - Bryan Texas Utilities

    - City Public Service of San Antonio

    - Oncor

    - STEC

    - Magic Valley

    - Texas New Mexico

  - ERCOT discussion of ICCP and RTU data transmittal problem and corrective actions (if applicable)

- August 7 Loss of Load / Generation Event in Rio Grande Valley

  - ERCOT / AEP description of transmission system event

  - ERCOT Compliance / Generator discussion of generator trips and corrective actions (if applicable)

- Discussion of follow up process on lessons learned (brief readable clear summary) and any recommendations.

- Action items