| PRR Number |  | PRR Title | IDR Optional Removal Threshold |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Sections 18.6, 18.6.1 and (new) 18.6.7 |  |
| Requested Resolution (Normal or Urgent) |  | Normal Approval. |  |
| Revision Description |  | Allow the removal of an IDR meter for settlement under certain conditions when load drop below a minimum threshold. |  |
| Reason for Revision |  | Allowing the removal of an IDR meter for settlement when a new customer move in to a premise and that customer’s load is much lower that the prior customer who may have warranted the use of an IDR meter. The new customer should not have to pay for an IDR meter needed by the prior customer. In addition, some customer’s load may have dropped for some time, which means the need for a mandatory IDR meter has also diminished. |  |
| Timeline |  |  |  |
| Date Received |  |  |  |
| Date Posted |  |  |  |
| Comments Due |  |  |  |
| PRS Review Date |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ernie Podraza, PWG Chair |
| E-mail Address | epodraza@reliant.com |
| Company | Reliant Energy |
| Company Address | 1000 Main, Houston, Texas 77002 |
| Phone Number | 713-497-5295 |
| Fax Number |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Additional reporting and verification resources, which shall increase the administration cost. | TBD system changes. Cost unknown. | None |
| MARKET SEGMENT |  |  |  |
| Consumer | Possible Reduced cost. | N/A | Possible reduction in TDSP wires charges. Customer choice of a meter type. |
| LSE: General, Including NOIE | Loss of settlement accuracy. Changes in settlement charges. | N/A | None |
| LSE: CR & REP | Loss of settlement accuracy. Changes the relationship with the customer. Changes in settlement charges. Possible changes in revenue. | Added software to manage. | None |
| QSE | Changes in settlement charges. | N/A | None |
| Resource | N/A | N/A | N/A |
| TDSP | Increased number of meter changes. | Software changes possible such as validation of meter type. | Less processing of IDR data. |

Proposed Protocol Language Revision

18.6  Installation and Use of Interval Data Recorders

### 18.6.1 Interval Data Recorder (IDR) Installation and Use in Settlement

- IDR Mandatory Installation Threshold:  IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVa), or

  - Service provided at transmission voltage (above 60 kV).

- A Competitive Retailer may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Requirement.  Except as stated in item (4) of this subsection, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given premise shall continue to be settled with its interval data, except as stated in subsections 18.6.7 and 18.6.8.

- All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Requirement.  These loads shall be settled using Load Profiles.

- For premises not subject to the IDR Requirement in item (1) of this subsection, IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for load research, rate/tariff design calculation, coincident demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes.

- For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

- TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT regions shall install IDR metering capable of measuring the load served during the period the Load transfer is implemented.

18.6.7 IDR Optional Removal Threshold for Move-in Customers:

A customer, or a CR upon a customer’s request, may in accordance with PUCT rules and regulations, request the replacement of an IDR meter with a Non-IDR meter provided that within 120 days of a new customer’s move-in at an existing Premise, having demonstrated with a minimum of 25 days of current meter readings that the Premise’s 15-minute maximum demand is below the threshold defined in Section 18.6.1 (1). If the Premise’s Non-IDR maximum monthly demand during the next 12 months for the same tenant exceeds the minimum threshold as defined in Section 18.6.1 (1), then the IDR meter shall be reinstalled and the requestor may incur appropriate charges.

ERCOT Staff shall monitor that this protocol is in compliance.

18.6.8 IDR Optional Removal Threshold for Existing Customers:

A customer, or a CR upon a customer’s request, may in accordance with PUCT rules and regulations, request the replacement of an IDR meter with a Non-IDR meter provided the Premise’s 15-minute maximum demand interval for the most recent twelve (12) month period does not exceed the threshold defined in Section 18.6.1 (1).  If the Premise’s Non-IDR maximum monthly demand during the next 12 months for the same tenant exceeds the minimum threshold as defined in Section 18.6.1 (1), then the IDR meter shall be reinstalled and the requestor may incur appropriate charges.

ERCOT Staff shall monitor that this protocol is in compliance.