# OWG report to ROS November 19, 2003

The OWG met on October 24, 2003. OWG reviewed the August 7 Event Report as presented by John Adams.  DOE and NERC event reporting requirements were discussed.  Current Operating Guides obligate the TDSPs to provide the DOE with reportable event information and copy ERCOT. The OGs are silent regarding OSE reporting requirements. It was mentioned that the DOE prefers the report to come from the Control Area rather than the TDSP.  NERC Policy 5 – Emergency Operations requires that NERC be copied on all DOE Disturbance Reports. It was suggested that the OGs be revised to direct TDSPs and QSEs to provide ERCOT, as the Control Area Authority, with the required event information for those areas that they represent. ERCOT would coordinate and send all necessary reports into the DOE and NERC. This will be on the next OGRTF agenda. James Hinson reported that the ERCOT Operations audit has been completed.  Results will be presented at the next OWG meeting. The ERCOT Fundamentals Training Manual has been updated and will be available on CD by the end of November to any entity who has paid for the cost of one test ($1000).  Users can print as many copies as needed for internal use. An email announcement will be sent to notify participants of the availability of the revised manual. For further details, the OWG minutes will be posted on the ERCOT website.

The OWG recommends the following OGRR for ROS approval:

- 140 SPS/RAP Coordination – no comments received

Next OWG is scheduled for December 3, 2003.

- The Operating Guide Revision Task Force met on November 18, 2003.

The Operating Guide Change Control Process in Section 1 is being revised to verify procedure transparency to all stakeholders. OGRTF continues to review a draft OGRR to correct and clarify OG Section 2.

OGRR 138 Reactive Curves Requirement is on hold pending a PRR to change reactive testing at minimum load.

OGRR 139 Black Start Backup Communication Facility Criteria has been recommended by ROS for approval and is waiting for Protocol impact verification by PRS.

Operating Guide changes effective November 1, 2003 – administrative change to Section 6; change to Section 2 incorporating OGRR 137 Raising LaaR Maximum participation in RRS to 50%

Next OGRTF meeting: TBD.

- The Black Start Task Force met October 28 and 29, 2003. Ricson Chai will be the ERCOT Black Start representative for 2004. The TF review the submitted TO Black Start Plans for the new year.  Host TOs are completing preparations for 2004 Regional Black Start Training. TAC approved PRR 453 Black Start Service Voice Communication at its last meeting. The 2004 Black Start Plan is on schedule for completion by December 31, 2003.

The next BSTF meeting is scheduled for December 11, 2003.

- The Communications Task Force has not met since the last ROS meeting.

The task force is completing the contact list for QSEs and TOs. This list will include contact information for those entities on the ERCOT Hot Line. Once completed this list will be posted on the portal with controlled access.