Dynamic Ratings Task Force Report – November 19, 2003

The task force has met by conference call to discuss the implementation of the Pilot Project and to continue discussing other issues that may lead to further recommendations.

ERCOT has compiled and sent its list transmission facilities that it suggests be used in the Pilot Project.  Transmission operators have been requested to provide temperature adjusted rating information to ERCOT by November 30.