| PRR Number | 459PRR | PRR Title | EPS Meter Data Transmittal |
| --- | --- | --- | --- |
| ###### Date |  | September 15, 2003 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Don Bender |  |
| E-mail Address |  | dbender@AEP.com |  |
| Company |  | AEP TDSP |  |
| Company Address |  | 1 Riverside Plaza, Columbus, Ohio 43215 |  |
| Phone Number |  | 918-599-2625 |  |
| Fax Number |  | 918-599-3480 |  |

Comments

TDSPs require interval Load data for EPS ESI IDs for wires billing.  Beginning in March 2002,  AEP had to abandon using the ERCOT EPS net Load data extracts for wires billing purposes because ERCOT extended the time frame for supplying the information from 3 days after the trade date to 17 days after the trade date.  Because the TDSP tariffs state TDSPs are to issue monthly wires invoices to CRs within three Business Days after the meter is read, the 17 day time frame was unacceptable.  Therefore, AEP had to create a work around, which involved AEP retrieving the interval Load data directly from the EPS meters and performing the wires billing function based upon that data.

This work around requires the expenditure of additional AEP resources and produces exposure to billing disputes from CRs who compare usage used to calculate AEP’s wires charges to usage presented in their Settlement Statement.  Slightly different MV-90 settings can result in small differences between the EPS meter data reported by AEP and that reported by ERCOT.  Communications problems, meter hardware problems, and incorrect current meter information can lead to after the fact data edits or estimations that potentially result in larger differences, requiring cancel/rebill activity that would be unnecessary if ERCOT data were received in a timely manner.     AEP would like to have timely access to the ERCOT read data in order to eliminate data discrepancy issues.

AEP suggests items 3c and 3d should be added to section 11.1.11 that requires ERCOT to provide the EPS data to the TDSPs no later than noon on the 2nd Business Day after ERCOT reads the EPS meter. Actual language is provided below.

Proposed Protocol Language Revision

### 11.1.11 Treatment of EPS Recorder Data (RIDs) - Make RID interval and SCADA interval data available to the QSE, TDSP and LSE via an extract. The ERCOT Read RID data extract will: - Select all ERCOT Read RIDs forthe Market Participant. - Provide interval data as populated by ERCOT for each channel associated to each RID. - Provide the interval data to the TDSPs no later than noon on the 2nd two Business Days after ERCOT reads the EPS meter. - Whenever ERCOT makes an edit to data previously provided to the TDSP, ERCOT shall provide the revised data to the TDSP by noon of the 2nd Business Day after the edit is made.