| SCR Number | 729SCR | SCR Title | Generating Unit Information |
| --- | --- | --- | --- |
| ###### Status |  | Posted. |  |
| Other Document Reference/Source |  |  |  |
| Requested Resolution |  | ## Have generating unit status information, both current and projected, made available to Transmission Operators both online and in ASCII format. |  |
| System Change Description |  | New screen should be made available on the ERCOT Portal, which indicates current and projected unit generation information. This should include Economic generation, as well as Out Of Merit (OOM) and any other non-economic generation, scheduled for the current and next day’s operations. In addition, this information should also be made available in ASCII format for downloading into transmission application study programs. |  |
| ###### Reason for Revision |  | Generating unit status information should be available to Transmission Operators to enable them to verify the security of their local transmission systems for both current and projected operations. Also, projected unit status information should be made available to Transmission Operators for use in studying transmission equipment outages. |  |
| ## Timeline |  |  |  |
| Date Received |  | 3/14/2003 |  |
| Date Posted |  | 3/18/2003 |  |
| ERCOT Review Date |  |  |  |
| ERCOT Comments |  |  |  |

Business Case for Proposed System Change [Please provide sufficient detail]

Issue:

Transmission Operators are unable to accurately assess situations, due to the lack of information, whereby the transmission system could be put in jeopardy.  In the realm of Area Security, the lack of information on the scheduling and dispatch of generating units causes uncertainty in determining the seriousness of a developing situation.  With adequate information on the scheduling and dispatch of generating units, the Transmission Operator will be able to assess and monitor the local transmission system and provide constructive feedback to ERCOT operations in an expedient manner.

Resolution:

Have generating unit status information, both current and projected, made available to Transmission Operators both online and in ASCII format.

| ## Sponsor |  |  |  |
| --- | --- | --- | --- |
| Name | Randy Kelm |  |  |
| E-mail Address | rkelm@oncorgroup.com |  |  |
| Company | Oncor – Transmission Grid Management |  |  |
| Company Address | 2233-B Mountain Creek Parkway, Dallas, Texas 75211 |  |  |
| Phone Number | 214-743-6819 |  |  |
| Fax Number | 972-263-6710 |  |  |
| ## ERCOT Impact Analysis |  |  |  |
| Date |  |  |  |
| Financial Impact |  |  |  |
| Analysis |  |  |  |
| ## TAC Action |  |  |  |
| TAC Vote Date |  |  |  |
| TAC Proposed Implementation Date |  |  |  |
| TAC Vote Results |  |  |  |
| ## ERCOT Board Action |  |  |  |
| ERCOT Board Vote Date |  |  |  |
| ERCOT Board Implementation Date |  |  |  |
| ERCOT Board Results |  |  |  |