| PRR Number | 459PRR | PRR Title | EPS Meter Data Transmittal |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Protocol Section Requiring Revision |  | 11.1.10, Treatment of EPS Load Data 11.1.11, Treatment of EPS Recorder Data (RIDs) |  |
| Proposed Effective Date |  | Upon system implementation. |  |
| Priority & Rank Assigned |  | Same as PR30026 (PIP204/PRR283 EPS Meter Data Transmittal via Extract) |  |
| Summary of Impact Analysis |  | Impacts ERCOT computer systems. |  |
| Revision Description |  | Add text to the Protocols baseline to show that ERCOT is complying with the following: - Is identified as the Meter Reading Entity (MRE), where applicable. - Utilizes the data for all settlement calculations and reports. - Makes ESI ID interval data available to the TDSP and LSE via an extract. - Specify deadlines for ERCOT to provide EPS data to TDSPs. |  |
| ###### Benefit |  | ERCOT has implemented some of the requirements of PIP204 and PRR283; as a result the content and the order of some of the text previously shown as boxed has been altered. This PRR clarifies the features currently implemented and identifies within the boxed Protocol language those features which are still pending implementation. |  |
| PRS Recommendation |  | PRS recommends approval of PRR459 using this revised PRS Recommendation Report, which incorporates changes made at the 10/23/03 PRS meeting. |  |

Proposed Protocol Language Revision

{TXU Comments with AEP Comments added and PRS 10/23/03 revisions}

### 11.1.10	Treatment of EPS Load Data

For EPS metering that ERCOT is populating ESI ID Load data, ERCOT will:

(1)	Utilize the data for all settlement calculations and reports;

(2)	Provide the TDSP and LSE with daily KWH consumption information in accordance with SET 867_03 for interval data upon completion of the Data Aggregation process for the settlement day.  Data changes during settlement runs subsequent to the most current settlement run will result in an additional SET 867_03 being provided to the TDSP and LSE;

(3)	Accommodate retail switching via the standard switching process and timelines;

(4)	Be identified as the Meter Reading Entity (MRE); and

(5)	Make ESI ID interval data available to the TDSP and LSE via an extract.

The ERCOT read ESI ID data extract will:

(a)	Select all ERCOT read ESI IDs for the Market Participant.

(b)	Provide interval data as populated by ERCOT for each channel associated to an ESI ID.

11.1.11	 Treatment of EPS RIDs Data

For EPS RID data, ERCOT will:

- Be identified as the MRE.

- Model and populate data to appropriate channels such that netting and aggregation conform to the ERCOT Protocols requirements.

[PIP 204 & PRR283 & PRR459: This system change creates a mechanism for Market Participants to obtain EPS RID  data.  Add the following to the end of Section 11.1.11 upon system implementation.]

11.1.11 Treatment of EPS RIDs Data

- Make RID interval and SCADA interval data available to the associated QSE, TDSP, Resource Entity and LSE via an extract.

The ERCOT RIDs data extract will:

(a)	Select all ERCOT read RIDs for the Market Participant.

(b)	Provide interval data as populated by ERCOT for each channel associated to a RID.

(c) 	Provide the interval data to the TDSPs no later than noon on the tenth Business Day after ERCOT reads the EPS meter.

(d) 	Whenever ERCOT makes an edit to data previously provided to the TDSP, ERCOT shall provide the revised data to the TDSP by noon of the tenth Business Day after the edit is made.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| STEC | Revised language. |
| ERCOT | Revised language. |
| AEP | Revised language. |
| TXU | Revised language. |
| ERCOT | Revised PRS Recommendation Report language. |

| ## Sponsor |  |  |
| --- | --- | --- |
| Name |  | Isabel Flores |
| E-mail Address |  | iflores@ercot.com |
| Company |  | ERCOT |
| Company Address |  | 2705 West Lake Drive, Taylor, TX 76574 |
| Phone Number |  | 512/248-6531 |
| Fax Number |  |  |
| Sponsor's Revision Description | Add text to the Protocols baseline to show that ERCOT is complying with the following: - Is identified as the Meter Reading Entity (MRE), where applicable. - Utilizes the data for all settlement calculations and reports. - Makes ESI ID interval data available to the TDSP and LSE via an extract. |  |
| ###### Sponsor's Reason for Revision | ERCOT has implemented some of the requirements of PIP204 and PRR283; as a result the content and the order of some of the text previously shown as boxed has been altered. This PRR clarifies the features currently implemented and identifies within the boxed Protocol language those features which are still pending implementation. |  |