Dynamics Working Group December 10, 2003 Report to the ROS

DWG had a conference call and discussed the Northeast ERCOT Congestion steady-state voltage stability concerns, the combined cycle plant modeling RFP, and the creation of the next year stability cases. The following are the summary of these discussions and related activities.

- The Oncor DWG member conducted a series of load flow studies to address the concerns regarding potential steady-state voltage stability issues in Houston and DFW area as a result of operation of the Northeast SPSs. The results of these studies have not revealed any steady-state voltage stability problems in Houston or DFW area. Therefore, the DWG believes that these studies have addressed the previous concerns regarding the operation of the SPSs on creating a high risk of steady-state voltage instability or voltage collapse in Houston or DFW area.

- The DWG has completed a second revision of the Combined Cycle Plant modeling RFP. There are some additional issues and changes that are being investigated and incorporated into a new revision.

- The creation of the next year stability cases has started. The first pass of the data is due to ERCOT by January 16, 2004.

Reza Ebrahimian,

Austin Energy

2003 DWG Chairman