## Form
ERCOT Form Version 1.0 | ERCOT Tracking Number
Date Approved by COMET - December 03, 2003 | ERCOT Contact
METER APPROVAL APPLICATION FORM
THIS SECTION TO BE FILLED OUT BY CUSTOMER/CUSTOMER'S AGENT
Customer Information | Customer's Agent (if applicable)
(1) Customer Name | (7) Company Name
(2) Service Address | (8) Contact Name
(3) City & Zip | (9) Telephone Number
(4) Telephone Number | (10) Email Address
(5) Email Address
(6) ESI-ID
Manufacturer/Representative Information | General Meter Information
(11) Company Name | (15) Manufacturer/Meter Type
(12) Contact Name | (16) Firmware Number (if Electronic)
(13) Telephone Number | (17) Is meter commerically available (Y/N)
(14) Email Address
(18) Additional Information/Remarks by Customer/Customer's Agent
THIS SECTION TO BE FILLED OUT BY ERCOT
ERCOT Review
(19) ERCOT confirms ESI ID located in competitive area (Y/N)
(20) Detailed Meter Functionality, including settlement functionality attached (Y/N)
(21) Certification of Compliance with applicable ANSI Standards and ERCOT meter test requirements Attached(Y/N)
(22) Manufacturer's ANSI Standard Test and ERCOT meter test requirements data Attached (Y/N)
(23) Manufacturer's Letter on Programming Software and Training Attached (Y/N)
(24) ERCOT determines additional information is needed (Y/N)
(25) Date ERCOT requests additional information from Customer/Customer's Agent
(26) Date additional information required
(27) Date additional information received
(28) Application complete (Y/N)
(29) Meter Application (Accepted/Rejected)
(30) Reason for Rejection
(31) Date ERCOT sends Rejection Information to Customer/Customer's Agent
(32) Date ERCOT Sends Completed Meter Approval Application Form to TDSPs for Evaluation
(33) Date ERCOT posts notice on the ERCOT website that the meter is under review for approval.
METER EVALUATED FOR APPROVAL BY ERCOT/TDSPS
THIS SECTION TO BE FILLED OUT BY ERCOT
Meter Testing/Evaluation
(34) Additional meter testing required by any TDSP (Y/N)
(35) TDSP(s) performing additional meter testing
(36) Date meter test completion required
(37) TDSP sends test results to other TDSPs and ERCOT (Y/N)
(38) Date TDSP test results received by ERCOT
(39) Date of meeting between ERCOT and TDSPs to review test results
Meter Approved
(40) Meter approved based on a minimum of 80% TDSP approval (Y/N)
(41) Date ERCOT informs applicant of approval.
(42) Date Meter added to Qualified Competitive Meter List including Firmware and Functionality and Posted to Website
Meter Rejected
(43) Date ERCOT notifies applicant meter was rejected
(44) Reason for rejection
(45) Additional Information/Remarks by ERCOT

## Definitions
Date Approved by COMET - December 03, 2003
Meter Approval Application Form Data Field Definitions
(1) Provide Name of Customer filing the Meter Approval Form with ERCOT
(2) Provide Service Address for which new meter installation is desired.
(3) Provide City, Town, County and Zip Code for Service Address
(4) Provide Telephone number
(5) Provide Email address
(6) Provide Meter ESI-ID.
(7) Provide Company Name of Customer's Agent (if applicable)
(8) Provide Contact Name for Customer's Agent
(9) Provide Customer's Agent's telephone number
(10) Provide Email Address of Customer's Agent Contact Person
(11) Provide Name of Meter Manufacturer
(12) Provide Contact Name for Meter Manufacturer
(13) Provide Meter Manufacturer Telephone Number
(14) Provide Email Address of Meter Manufacturer Contact Person
(15) Provide Meter Manufacturer and Meter Type.
(16) Provide Firmware Number if meter is electronic.
(17) Enter a "yes" or "no". Meter must be commercially available for meter approval process to proceed.
(18) Provide any additional information/remarks by customer/customer's agent regarding meter.
(19) Enter a "yes" or "no". If ERCOT determines that the ESI-ID is not located in a competitive area, the meter approval process will terminate.
(20) Detailed meter functionality must be attached to application, including settlement functionality.
(21) Certification of compliance with applicable ANSI Standards and ERCOT Competitive Meter Standards must be attached to application.
(22) Manufacturer's ANSI standard test and ERCOT meter test requirements data must be attached to application.
(23) Manufacturer's letter providing assurance that programming software will be provided at no cost and provide adequate training within 30 days of
TDSP's receipt of meter. Adequate training may be supported via on-site visit, phone call, software/video recording, web-based or other
agreed upon means between the manufacturer and each TDSP. Software provided will be capable of retrieving billing and settlement
data directly from the meter in a recognized industry standard readable format in case of communication failure.
(24) Enter a "yes" or "no". If ERCOT determines application is complete, meter approval process continues. If ERCOT determines that application is in-complete,
ERCOT requests additional information.
(25) Provide date that ERCOT request additional information from Customer/Customer's Agent
(26) Provide date that additional information is due.
(27) Provide date that additional information is received.
(28) Enter "yes" or "no".
(29) Enter "accepts" if ERCOT accepts the application, enter "rejects" if ERCOT rejects the application.
(30) If ERCOT rejects the application, ERCOT will give specific reason for rejection.
(31) Provide date that ERCOT sends rejection information to customer/customers's agent
(32) Provide date that ERCOT sends completed ERCOT Meter Approval Form to TDSPs for evaluation.
(33) Provide date that ERCOT posts notice on the ERCOT website that the meter is under review for approval.
(34) Enter a "yes" if a TDSP requests further testing, enter a "no" if none of the TDSPs require additional testing of meter.
(35) Name of TDSP requesting and performing further testing.
(36) Provide date that meter test completion is required
(37) ERCOT confirms that TDSP test results were shared with other TDSP's and ERCOT "yes" or "no".
(38) Provide date that ERCOT receives TDSP meter test results.
(39) Provide date that ERCOT and TDSPs will meet to discuss meter test results.
(40) Enter a "yes" or "no".
(41) Provide date that ERCOT informs the applicant of the approval.
(42) Provide date that meter is added to the Qualified Competitive Meter List, including firmware version and funcitonality and posted to Website..
(43) Provide date that ERCOT notifies applicant meter was rejected.
(44) Clearly state reason(s) meter was rejected, based on identifiable deviation from applicable technical specifications.
(45) Provide any additional information/remarks by ERCOT regarding meter.