Competitive Metering Guide Changes Noted in December 2 – 3, 2003 Meetings

- Site communication readiness – need to note that the meter number and/or IP address is required.  [These boxes were removed from the TMA Form]  This impacts CMG Section 7.1(4)(a)(ii).

- Remove Agreement “Data Access” reference since this section no longer exists in the Agreement.  Consistency with Agreement is required throughout the CMG.

- Need to clarify whether removal of a competitive meter requires the use of the MTR Form.  Does customer have to send the form to the TDSP requesting removal and does the TDSP have to notify the customer/owner that removal has been completed through the use of the MTR?  This impacts CMG Section 9.4

- Add note that a Meter Functionality Checklist Sheet will be included with the Meter Approval Form and Meter Functionality/Firmware Upgrade Approval Form.  May impact CMG Section 13 and Section 14.

- Consider changing the Meter Approval Application Form; Meter Firmware/Functionality Upgrade Approval Form; and the Meter Issue Resolution Form to include the word “Competitive” before Meter.  Make title changes throughout CMG and check the CMG for consistency on all form names.

- Need to create a process for removal of obsolete meters and include in the CMG.  May also require the creation of a new form or modification of the MTR form.