Qualified Competitive Meter List - Three Phase

| Meter Manufacturer & Type | Status & Effective Date | Approved Firmware Number | Approved Functionality for TDSP Billing and Settlement | Restrictions |
| --- | --- | --- | --- | --- |
| - Elster (ABB) – Alpha+ | Approved - 01/01/04 | 2.4 | kW, kWh, PF, kVAR, kVARh, kVA, IDR, TOU |  |
| - Elster (ABB) – Alpha 3 | Approved - 01/01/04 | 2.03 and 2.1 | kW, kWh, PF, kVAR, kVARh, kVA, IDR |  |
| - GE – KV | Approved - 01/01/04 | 5.6 | kW, kWh,, kVAR, kVARh, IDR |  |
| - GE - KV2 | Approved - 01/01/04 | 1.2 | kW, kWh,, kVAR, kVARh, IDR, |  |
| - GE - KV2C | Approved - 01/01/04 | 1.3 | kW, kWh,, kVAR, kVARh, IDR, |  |
| - GE - V 1260/70 | Approved - 01/01/04 | 212 and 217 | kW, kWh, KVAR, kVARh, IDR |  |
| - ION – 8400 | Approved - 01/01/04 | V232 | kW, kWh, PF, kVAR, kVARh, IDR, TLC, Bi-Directional |  |
| - ION – 8500 | Approved - 01/01/04 | V232 | kW, kWh, PF, kVAR, kVARh, IDR, TLC, Bi-Directional |  |
| - L+G - S4 | Approved - 01/01/04 | 4.22 | kW, kWh, PF, kVAR, kVARh, kVA, IDR, TOU |  |
| - L+G – 2510 | Approved - 01/01/04 | 2752 | kW, kWh, PF, kVAR, kVARh, IDR |  |
| - SEI - Sentinel | Approved - 01/01/04 | 2.070 | kW, kWh, PF, kVAR, kVARh, kVA, IDR |  |
| - SEI – Vectron | Approved - 01/01/04 | 2.510 | kW, kWh, PF, kVAR, kVARh, kVA, IDR |  |
| - Transdata - Mark V | Approved - 01/01/04 | 5.22 and 5.27 | kW, kWh, PF, kVAR, kVARh, IDR, TLC, Bi-Directional |  |

***NOTE***

The following are subject to TDSP requirements:

- Programming specifications

- IDR functionality must have TDSP compatible remote capability.

- Existing real time data functionality

- Reference Protocol Section 18 for TOU schedule of availability.

Qualified Competitive Meter List - Single Phase

| Meter Manufacturer & Type | Status & Effective Date | Approved Firmware Number | Approved Functionality for TDSP Billing and Settlement | Restrictions |
| --- | --- | --- | --- | --- |
| - Elster (ABB) – Alpha+ | Approved - 01/01/04 | 2.7 | kW, kWh, kVARh, kVA, IDR, TOU |  |
| - Elster (ABB) – AB1 | Approved - 01/01/04 |  | kWh | Multiplier equals 1.0, no cyclormeter registers |
| - GE – KVS | Approved - 01/01/04 | 5.6 | kW, kWh, IDR |  |
| - GE - I70 | Approved - 01/01/04 |  | kWh | Multiplier equals 1.0, no cyclometer registers |
| - L&G – MX | Approved - 01/01/04 |  | kWh | Multiplier equals 1.0, no cyclometer registers |
| - L&G – Altimus | Approved - 01/01/04 | 4.22 | kW, kWh, IDR |  |
| - SEI – Centron | Approved - 01/01/04 | 10.27 | kWh |  |
| - SEI – Vectron | Approved - 01/01/04 | 2.510 | kW, kWh, KVARh, kVA, IDR |  |
| - SEI – Sentinel | Approved - 01/01/04 | 2.070 | kWh, KVARh, kVA, IDR |  |

***NOTE***

The following are subject to TDSP requirements:

- Programming specifications

- IDR functionality must have TDSP compatible remote capability

- Existing real time data functionality

- Reference Protocol Section 18 for TOU schedule of availability.