| PRR Number | 459PRR | PRR Title | EPS Meter Data Transmittal |
| --- | --- | --- | --- |
| ###### Date |  | 12/11/03 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Lacy Seybold for RMS |  |
| E-mail Address |  | lseybold@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | Met Center |  |
| Phone Number |  | 512.225.7246 |  |
| Fax Number |  | 512.225.7020 |  |

Comments

This PRR was remanded from TAC to PRS in November 2003.  PRS remanded it to RMS for input and clarification on timelines.  RMS met on 12/11/03 and voted to recommend the language changes to Section 15.3 shown below in order to clarify the timelines as requested.  No changes to Section 11 language as shown in the PRS Recommendation Report dated 10/23/03 are recommended by RMS.

Proposed Protocol Language Revision

{Language below from Section 11 is taken from the PRS Recommendation Report dated 10/23/03 and reflects TXU Comments with AEP Comments added and PRS 10/23/03 revisions.  Section 15.3 was added and amended in the RMS meeting on 12/11/03}

### 11.1.10	Treatment of EPS Load Data

For EPS metering that ERCOT is populating ESI ID Load data, ERCOT will:

(1)	Utilize the data for all settlement calculations and reports;

(2)	Provide the TDSP and LSE with daily KWH consumption information in accordance with SET 867_03 for interval data upon completion of the Data Aggregation process for the settlement day.  Data changes during settlement runs subsequent to the most current settlement run will result in an additional SET 867_03 being provided to the TDSP and LSE;

(3)	Accommodate retail switching via the standard switching process and timelines;

(4)	Be identified as the Meter Reading Entity (MRE); and

(5)	Make ESI ID interval data available to the TDSP and LSE via an extract.

The ERCOT read ESI ID data extract will:

(a)	Select all ERCOT read ESI IDs for the Market Participant.

(b)	Provide interval data as populated by ERCOT for each channel associated to an ESI ID.

11.1.11	 Treatment of EPS RIDs Data

For EPS RID data, ERCOT will:

- Be identified as the MRE.

- Model and populate data to appropriate channels such that netting and aggregation conform to the ERCOT Protocols requirements.

[PIP 204 & PRR283 & PRR459: This system change creates a mechanism for Market Participants to obtain EPS RID  data.  Add the following to the end of Section 11.1.11 upon system implementation.]

11.1.11 Treatment of EPS RIDs Data

- Make RID interval and SCADA interval data available to the associated QSE, TDSP, Resource Entity and LSE via an extract.

The ERCOT RIDs data extract will:

(a)	Select all ERCOT read RIDs for the Market Participant.

(b)	Provide interval data as populated by ERCOT for each channel associated to a RID.

(c) 	Provide the interval data to the TDSPs no later than noon on the tenth Business Day after ERCOT reads the EPS meter.

(d) 	Whenever ERCOT makes an edit to data previously provided to the TDSP, ERCOT shall provide the revised data to the TDSP by noon of the tenth Business Day after the edit is made.

## 15.3	Monthly Meter Reads

TDSPs shall send monthly consumption information for all ERCOT Non-EPS ESI IDs to ERCOT not later than three (3) Business Days after the scheduled meter read cycle or scheduled meter cycle by day of the month for a Point of Delivery, in accordance with SET 867_03.  TDSPs shall send monthly consumption information for all ESI IDs associated with EPS metered facilities to ERCOT no later than three (3) Business Days after TDSP receipt of daily EPS meter data from ERCOT according to the TDSP scheduled meter read cycle or scheduled meter cycle by day of the month for a Point of Delivery, in accordance with SET 867_03.  ERCOT will forward ERCOT accepted consumption information to the CR within one (1) Business Day.

Processing schedules will be posted on the MIS.

If the meter read for an ESI ID fails the TDSP’s internal validation procedures, the TDSP may, at its discretion, delay sending consumption information for the ESI ID to ERCOT for an additional seven (7) days in order to obtain a valid meter reading.

If a TDSP is unable to obtain a meter reading for an ESI ID because the TDSP is denied access to the meter, the TDSP may, at its discretion, delay sending consumption information for the ESI ID to ERCOT for an additional seven (7) days in order to obtain a valid meter reading.

A TDSP, with notification to the market, may suspend the transmission of monthly consumption information during periods of storm restoration or other emergency operations undertaken pursuant to its Emergency Operations Plan.

[PIP 188:  These timing issues have not been guaranteed by the vendor.

If the system is not processing to meet the proposal below, the system should be revised to meet the timeline in this box.  Once the system is able to meet these criteria, the following two paragraphs should be added after the sentence above.]

Meter read data received by ERCOT prior to 0000 (midnight) will be forwarded to CRs by 0400 the next day.

Meter read data received by ERCOT between 0000 (midnight) and 0600 will be forwarded to CRs by 1200 (noon) the same day.

For non-ERCOT ESI IDs, TDSPs shall have the option of sending monthly consumption information and effecting meter reads to ERCOT in accordance with SET 867_03.  ERCOT will then forward the monthly consumption and meter read information to the CR within one (1) Business Day.