VAR COMPENSATION CALCULATION

Before any initiative can begin for VAR Compensation, a 15 minute average buss voltage reading (VA) and a 15 minute desired bus voltage reading (VR) must be stored in an accounting database similar to the MW and MVAR information currently stored within the EPS meters.

$   =   PMVAR   *   ABS(MVARHRS)   *   FVAR

Where:	PMVAR	=	Value of Reactive Power determined in $/MVARHRS

MVARHRS	=	Megavarhours generated (+) or absorbed (-) during the 				settlement period.

FVAR	=	Adjustment Factor determined as follows:

FVAR	=	1			if VA > VR and MVARHRS < 0

=	1-[20(VA - VR)]	if VA > VR and MVARHRS > 0

VR

=	1			if VA < VR and MVARHRS > 0

=	1-[20(VA - VR)]	if VA < VR and MVARHRS < 0

VR

Where:	VA = Average voltage at generator buss during the 				settlement period.

VR = Desired voltage at generator buss determined by 			ERCOT.