# Major Market Component

Dynamic Scheduling Entities (DSE)

# Purpose

For DSEs to continue to dynamically schedule resources and load in real time.

The essential characteristics of Dynamic Scheduling in the ERCOT market are:

- DSEs choose to dynamically schedule to control the exposure of their customers to ERCOT Balancing Energy market price volatility,

- NOIE DSEs have an obligation to serve their native load in real time,

- DSEs are required to have real time metering and to follow real time load with fully dispatchable resources,

- DSEs, by their obligations to follow real time load, minimize the need for Ancillary Services to the ERCOT market,

- DSEs are economically incited to commit sufficient resource capacity in the Day Ahead and maintain load following capabilities in Real Time.

# Time Frame

DSEs will commit resources, schedule bilateral transactions and Ancillary Service Obligations after the close of the Day Ahead market and prior to the Day Ahead RUC within the same timeframe as all other QSEs.  DSEs will continue to update schedules, as appropriate, through the Adjustment Period.  In Real Time, DSEs will follow dynamic obligations with dynamic resources.

# Applications/Process Description

At the conclusion of the Day Ahead market, ERCOT will run the Reliability Unit Commitment (RUC) to ensure adequate resources are on line for the next day.  To the extent ERCOT can identify shortages in resource capacity, ERCOT will procure the necessary capacity and allocate costs according to RUC protocol.

# Inputs

- DSE bilateral transactions and Ancillary Service Obligations and Awards

- DSE Self Committed Resources

- DSE Real time load and generation Telemetered Data

- DSE Real time Load and Generation Metering Data

# Outputs

- DSE EPS meter downloads

# Definitions

DSE – An entity utilizing Dynamic Schedules

# Special Features

# Settlement Rules

DSEs are settled in Real Time based upon their matching of dynamic obligations with dynamic resources.

# Questions/Issues To Be Decided

DSE - 1. What will SCE look like?

DSE - 2.

DSE - 3.

DSE - 4.

# Discussion Items

What features do NOIEs need to preserve in the new market?

Settlement of CRRs real-time vs. day-ahead

To be able to participate in the market and dynamically schedule is a problem.

Designate a band of capacity to serve load

Allow bilateral schedules to clear later