## Slide 1: STATE ESTIMATOR

## Slide 2: PURPOSE
Filters real time measurements and estimates the state of the system
Identifies bad measurements
Monitors the system state
Initialize the congestion assessment application
Network Model Building – time filtered bus loads
Results used for RT Contingency Analysis

## Slide 3: PERFORMANCE
Model changes brought online almost weekly
  New Construction
  Market Model – Entity relationship
  Model Improvement
SE solution is executed every 5 min
Convergence Rate – 95% or higher
Approximately 0.5% of buses have mismatches between 15 MW and 25 MW

## Slide 4: PERFORMANCE GOAL
Achieve a Convergence rate of 99.5%
Improve Redundancy
Improve observability
All Bus mismatches less than 1 MW

## Slide 5: TO DO LIST
Continuing improvements to network data
  Primitive data model refinements
  Obtain/map more measurements
Software enhancements
Outreach to TDSPs

## Slide 6: SE Software Enhancements
Calculate and store SE performance metrics
Handling communication system outage
  Data aging
  Use of pseudo-measurements
Topology Error Identification – lists bad statuses

## Slide 7: Outreach Program
Idea is to share ERCOT SE results with TDSPs
Allows TDSPs to better advise on possible model/data errors
Possible with EMS WEB display capabilities in Release 3

## Slide 8: Questions