| SCR Number | 728SCR |
| --- | --- |
| ###### Status | Posted. |
| SCR Title | Display Total ERCOT Balancing, Responsive, and Non-Spin Deployments, ERCOT SCE, and ERCOT Responsive Reserve Real-Time. |
| Other Document Reference/Source |  |
| Requested Resolution |  |
| System Change Description | Display ERCOT Total Aggregated Balancing Energy Deployment, Total Aggregated Responsive Deployment, Total Aggregated Non-Spin Deployment, ERCOT SCE and ERCOT Responsive Reserve on the ERCOT Real-Time public web, http://mospublic.ercot.com/ercot/jsp/frequency_control.jsp |
| ###### Reason for Revision | Transparency to Market Participants of all ERCOT deployments. |
| ## Timeline |  |
| Date Received | 03/03/2003 |
| Date Posted | 03/04/2003 |
| ERCOT Review Date |  |
| ERCOT Comments |  |

Business Case for Proposed System Change [Please provide sufficient detail]

Issue: ERCOT currently displays on the Frequency Control (Real-Time Data) public web page the following:

- Date

- Time

- Actual System Demand

- Scheduled Frequency

- Actual Frequency

- Total Generation

- Current Aggregated Regulation Deployment

- DC Tie Flows (East, North, and South)

- Monitored CSC Flows and Limits (South-Houston, South-North, and West-North)

To provide additional transparency of deployments to Market Participants, it is requested that ERCOT additionally post the following Real-Time data:

- Total Aggregated Balancing Energy Deployment

- Total Aggregated Responsive Deployment

- Total Aggregated Non-Spin Deployment

- ERCOT SCE

- ERCOT Responsive Reserve

Such information should be readily available from existing ERCOT systems.

Real-Time data is posted at: http://mospublic.ercot.com/ercot/jsp/frequency_control.jsp

Resolution:

| ## Sponsor |  |
| --- | --- |
| Name | Tom Peterson |
| E-mail Address | tom.peterson@txu.com |
| Company | TXU Energy |
| Company Address | 1717 Main Street, Suite 19-272, Dallas, TX 75201 |
| Phone Number | 214-875-9299 |
| Fax Number | 214-875-9069 |
| ## ERCOT Impact Analysis |  |
| Date |  |
| Financial Impact |  |
| Analysis |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| TAC Proposed Implementation Date |  |
| TAC Vote Results |  |
| ## ERCOT Board Action |  |
| ERCOT Board Vote Date |  |
| ERCOT Board Implementation Date |  |
| ERCOT Board Results |  |