| PRR Number | PRR454 | PRR Title | OOME Off-line |
| --- | --- | --- | --- |
| ###### Impact Analysis Date |  | November 11, 2003 |  |
| ###### Cost/Budgetary Impact |  | In current PRR form, the project estimate is in the 5 – L category for Operations and Settlements system changes. (see Alternative section below) |  |
| ###### Estimated Project Time Requirements |  | In current PRR form, the project represents 3-4 months of development |  |
| ###### ERCOT Staffing Impacts (across all areas) |  | Minimal upon system implementation. Manual workaround will result in 0.5 FTE for Settlements until system implementation occurs. |  |
| ###### ERCOT Computer System Impacts |  | The Operations systems would be enhanced: - Add Resource Minimum Down Time to database for each unit, - Add Operator screens and logic for access to Minimum Down Time data Settlement system needs new billing determinant for issuing start up payments for each occurrence of OOME Off-line. |  |
| ###### ERCOT Business Function Impacts |  | New billing determinant will need to be managed in Settlements. |  |
| ###### Operating Practice Impacts |  | Operating practices would add procedural step for using system to cross-reference unit minimum down times prior to issuance of OOME off-line instructions. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Option 1- If Market agrees to a universal time value for minimum downtime of generating units, Operations impacts and costs are removed. The project impacts would then be limited to a relatively small Settlements project (2-3 months). Option 2- If Market agrees that the “Lead Time” value from the improved resource plans (PRR359) could be used as Minimum Down Time, this would decrease the development effort.

Evaluation of Interim Solutions (e.g., manual workarounds)

As indicated in the PRR, an interim solution would be enacted for ERCOT Operations to modify the OOME instruction for the unit to be off-line through the end of the unit’s Resource Plan. If the unit is not scheduled to go offline, Operations will use an OOMC instruction to recall the unit (which will trigger a start-up payment for the unit). Although this does not represent significant staffing impacts to Operations, the solution will require manual settlement for the OOME off-line instructions and require 0.5 FTE until full system implementation is achieved (contract or employee).

Comments

N/A