| PRR Number | 293PRR | PRR Title | Uninstructed Deviation Calc for “Uncontrollable Renewable Resources” |
| --- | --- | --- | --- |
| ###### Date |  | October 29, 2001 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | James Cohea |  |
| E-mail Address |  | jcohea@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive Taylor, TX 76574 |  |
| Phone Number |  | (512) 248-3872 |  |
| Fax Number |  | (512) 248-3886 |  |

Comments

Review of ERCOT Systems has revealed that there is no mechanism to implement providing a separate uninstructed deviation condition logic set to “uncontrollable renewable” resources.

See the following red-line notes for additional information being requested prior to the “Uncontrollable Renewable” Uninstructed Resource Charge being available.

| PRR Number | 293PRR | PRR Title | Uninstructed Deviation Calc for “Uncontrollable Renewable Resources” |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 6.8.1.15.1 Uninstructed Resource Charge Process Item (3) |  |
| Requested Resolution |  | ## Request an Urgent Timeline due to need system design timing |  |
| Revision Description |  | Request Boxing of Existing Language since functionality does not exist to provide for this functionality and there is no viable manual work-around. |  |
| ###### Reason for Revision |  | - There is currently no definition included in protocols for an “Uncontrollable Renewable Resource” as such there are no resources registered with ERCOT that would fall into this category for Uninstructed Resource Calculation. While the Generation Resource Asset Form does include an entry to identify a resource as “Uncontrollable Renewable” there is no validation due to the lack of definition. Review of those resources that have registered reveals that Fuel types of Solar, Wind and Gas are being identified as “Uncontrollable Renewable” resources. Use of the Renewable Energy Credit Program’s definition was deemed unacceptable since it is not specific to “Uncontrollable Renewables” and it makes allowances for landfill gas and biomass fuel sources (see link) http://www.puc.state.tx.us/rules/rulemake/20944/mandate/sld004.htm Protocols Section 2 needs to include a definitive definition for an “Uncontrollable Renewable” Resource. - Current systems does not separate schedules for “controllable” and “uncontrollable” resources. As such there is no valid mechanism for determining uninstructed deviations. Several options have been discussed but the Market needs to make this policy decision. ERCOT has had internal discussion regarding the following options: - Use of the Unit Resource Plan - This was considered unacceptable because URC is a zonal portfolio based calculation and is not unit specific. If this option were chosen by the Market, additional logic would have to be implemented to sum the units tagged as “Uncontrollable Renewable” and subtract them from the total Portfolio Resources. But this logic would not provide consistent results and leaves much room for gaming. - Make it mandatory for “Uncontrollable Renewable” resources to schedule through a sub QSE or a QSE that would only handle this type Resource. – This was considered unacceptable because it potentially limits QSE benefits gained by portfolio diversity and may be considered a deterrent to renewable resource deployment. - Modify Operational and Settlement Systems to allow for scheduling “Uncontrollable Renewable” Resources separately. This is a very pervasive solution from the system and code change perspective. With the aforementioned in mind, ERCOT choose to prepare this PRR and have the Market Participants determine the appropriate course of action for this issue. - Market Participants need to determine if there is actually a need for this functionality and if so, answers/definition to items 1 and 2 need to be incorporated into protocols. |  |
| ## Timeline |  |  |  |
| Date Received |  | 10/10/2001 |  |
| Date Posted |  | 10/10/2001 |  |
| Comments Due |  |  |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |
| TAC Consideration |  |  |  |
| Board Consideration |  |  |  |

Proposed Protocol Language Revision

##### 6.8.1.15.1 Uninstructed Resource Charge Process

Once ERCOT has determined the Congestion Zones in which the Uninstructed Deviations of the QSE have occurred, an uninstructed pricing differential will be applied to a QSE representing Resources whenever one of the following two conditions exist:

- The QSE representing Resources has total metered Resources for any Settlement Interval that are greater than the larger of 101.5% of the QSE’s total of schedules plus instructions or five (5) MWh over the total of schedules plus instructions when the integrated amount of ERCOT-wide regulation is less than –25 MWhs in the interval. Upon one-day notice, ERCOT can reduce the percentage and MWh tolerance to 101% and 3 MWh, respectively, if significant price chasing exists.

- The QSE representing Resources has total metered Resources for any Settlement Interval that are less than the lesser of 98.5% of the total schedule plus instructions or five (5) MWh under the total of schedules plus instructions when the integrated amount of ERCOT-wide regulation is greater than + 25 MWhs in the interval. Upon one day notice, ERCOT can increase the percentage and MWh tolerance to 99% and 3 MWh, respectively, if significant price chasing exists.

[Revised PIP 115 Implementation of an Uninstructed Resource Calculation for “Uncontrollable Renewable” Resources requires further definition of at least the following items:

- A definition of “Uncontrollable Renewable Resources”

- A mechanism for separating schedules “Controllable” and “Uncontrollable” resources

- A Mechanism to register and track “Uncontrollable Renewable Resources”  (This could be accomplished with the existing Asset forms and Lodestar tables once an acceptable definition is in place to administer.)

- Determination of SCE implications – if any

- Implementation of necessary ERCOT systems to accomplish this functionality

Once the aforementioned is in place, the following needs to be modified as necessary and included in Protocols.]

(3) A QSE that schedules uncontrollable renewable resources will not be subject to Uninstructed Deviation Pricing for the uncontrollable renewable resources to the extent that the total metered uncontrollable renewable resources does not exceed 150% or is not less than 50% of the uncontrollable renewable resource’s schedule in any schedule interval.