| PRR Number | 293PRR | PRR Title | Uninstructed Deviation Calc for “Uncontrollable Renewable Resources” |
| --- | --- | --- | --- |
| ###### Date |  | October 29, 2001 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Beth Garza |  |
| E-mail Address |  | beth_garza@fpl.com |  |
| Company |  | FPL Energy |  |
| Company Address |  | 701 Brazos, Suite 500 700 Universe Blvd. Austin, TX 78701 Juno Beach, FL 33408 |  |
| Phone Number |  | 512-320-9171 |  |
| Fax Number |  | 512-320-5821 |  |

Comments

Members of ERCOT staff are providing Market Participants mixed messages with the PRR.  PIP215 addresses this issue and as recently as the October 9 PIP Update list it was described as having an ERCOT work around.

The Uninstructed Deviation Charge was intended to incite generators to perform as scheduled when their lack of performance causes ERCOT to deploy Regulation in a manner contrary to the generator’s actions.   Uncontrollable Renewable Resources, as their description indicates, generate in response to increases in wind speed or solar radiation, not to price signals.

| PRR Number | 293PRR | PRR Title | Uninstructed Deviation Calc for “Uncontrollable Renewable Resources” |
| --- | --- | --- | --- |
| ###### Status |  | Posted |  |
| Protocol Section Requiring Revision |  | 6.8.1.15.1 Uninstructed Resource Charge Process Item (3) |  |
| Requested Resolution |  | ## Request an Urgent Timeline due to need system design timing |  |
| Revision Description |  | Request Boxing of Existing Language since functionality does not exist to provide for this functionality and there is no viable manual work-around. This contradicts the October 9 PIP update list, which indicates “Currently, ERCOT work around.” Which is it? |  |
| ###### Reason for Revision |  | - There is currently no definition included in protocols for an “Uncontrollable Renewable Resource” as such there are no resources registered with ERCOT that would fall into this category for Uninstructed Resource Calculation. Currently generators self-select the designation of “Uncontrollable Renewable Resource” when completing their Generator Asset Registration Form. If additional definition is needed, the Protocols could be revised to describe Uncontrollable Renewable Resources as those ‘fueled’ with wind or solar energy as indicated in their PUC REC Generator or REC Offset generator filing. - Current systems does not separate schedules for “controllable” and “uncontrollable” resources. As such there is no valid mechanism for determining uninstructed deviations. Several options have been discussed but the Market needs to make this policy decision. FPL Energy is not aware of all of the ‘several options’ that have been discussed, or with whom they’ve been discussed, but one option that leaps to mind is to use the Resource Plan to determine the ‘schedule’ for an individual resource. It’s used for so many other determinations, why not add this one? - Market Participants need to determine if there is actually a need for this functionality and if so, answers/definition to items 1 and 2 need to be incorporated into protocols. FPL Energy suggests that with a state mandate to add new capacity from renewable sources, and about 1000 MW of wind generation already being scheduled by at least a half a dozen QSEs, that this limited exemption for Uncontrollable Renewable Resources from Uninstructed Deviation Charges provides wide spread benefits to the ERCOT market, and is definitely needed. |  |
| ## Timeline |  |  |  |
| Date Received |  | 10/10/2001 |  |
| Date Posted |  | 10/10/2001 |  |
| Comments Due |  |  |  |
| PRS Review Date |  |  |  |
| PRS Recommendation |  |  |  |
| TAC Consideration |  |  |  |
| Board Consideration |  |  |  |

Proposed Protocol Language Revision

##### 6.8.1.15.1 Uninstructed Resource Charge Process

Once ERCOT has determined the Congestion Zones in which the Uninstructed Deviations of the QSE have occurred, an uninstructed pricing differential will be applied to a QSE representing Resources whenever one of the following two conditions exist:

- The QSE representing Resources has total metered Resources for any Settlement Interval that are greater than the larger of 101.5% of the QSE’s total of schedules plus instructions or five (5) MWh over the total of schedules plus instructions when the integrated amount of ERCOT-wide regulation is less than –25 MWhs in the interval. Upon one-day notice, ERCOT can reduce the percentage and MWh tolerance to 101% and 3 MWh, respectively, if significant price chasing exists.

- The QSE representing Resources has total metered Resources for any Settlement Interval that are less than the lesser of 98.5% of the total schedule plus instructions or five (5) MWh under the total of schedules plus instructions when the integrated amount of ERCOT-wide regulation is greater than + 25 MWhs in the interval. Upon one day notice, ERCOT can increase the percentage and MWh tolerance to 99% and 3 MWh, respectively, if significant price chasing exists.

[Revised PIP 115 Implementation of an Uninstructed Resource Calculation for “Uncontrollable Renewable” Resources requires further definition of at least the following items:

- A definition of “Uncontrollable Renewable Resources”  Those using wind and solar.

- A mechanism for separating schedules “Controllable” and “Uncontrollable” resources  Info is already being collected by ERCOT on the Generation Asset registration form.

- A Mechanism to register and track “Uncontrollable Renewable Resources”  ERCOT is responsible for registering and tracking lots of things.  Doing the same for this additional piece of information should not be beyond their capabilities.

- Determination of SCE implications – if any.  Not sure how a settlement charge interacts with SCE?

- Implementation of necessary ERCOT systems to accomplish this functionality

Once the aforementioned is in place, the following needs to be modified as necessary and included in Protocols.]

(3) A QSE that schedules uncontrollable renewable resources will not be subject to Uninstructed Deviation Pricing for the uncontrollable renewable resources to the extent that the total metered uncontrollable renewable resources does not exceed 150% or is not less than 50% of the uncontrollable renewable resource’s schedule in any schedule interval.