## Slide 1: TNT Working Meeting
Trip Doggett, Vikki Gates Cuddy, Jim Galvin
January 20, 2004

## Slide 2: Antitrust Admonition
ERCOT strictly prohibits market participants and their employees who are participating in ERCOT activities from using their participation in ERCOT activities as a forum for engaging in practices or communications that violate the antitrust laws. The ERCOT Board has approved guidelines for members of ERCOT Committees, subcommittees and working Groups to be reviewed and followed by each market participant attending ERCOT meetings. If you have not received a copy of these Guidelines, please take one now and review it at this time. Please remember of your ongoing obligation to comply with all applicable laws, including the antitrust laws.

## Slide 3: January 20 Agenda
Welcome and Review Agenda
January 7 Minutes – Review and Approval (Vote)
Review Future Meeting Schedule
Concept Group Reports
  Commercial Operations
  Market Mitigation
  Cost Benefit
  Congestion Management
Market Operations Concept Group Status and Issues (Possible Votes)
New Business

## Slide 4: January 7 Minutes
Review and Approval of Minutes

## Slide 5: Future TNT Meetings
February 4 – with Congestion Management CG
February 18 – with Commercial Operations CG
March 3 – with Market Operations or Market Mitigation?
March 17
March 31

## Slide 6: Future Concept Group Meetings
January 22 – Market Mitigation
January 23 – CANCELLED - Commercial Operations
January 26 – Congestion Management & Market Mitigation
January 27 – Commercial Operations
January 28 – NEW - Market Operations
January 29 – Market Mitigation
January 30 – Cost Benefit
February 10 – Commercial Operations
February 12 – Market Mitigation
February 13 – Cost Benefit
February 24 – Commercial Operations
February 26 – Market Mitigation

## Slide 7: MOCG Agreement Items - Vote
List Reviewed in January 13 MOCG Meeting
Real Time Operations
Reliability Unit Commitment – Day Ahead
Reliability Unit Commitment – Hour Ahead

## Slide 8: Real-Time Operations
LMP dispatch every 5 minutes with nodal prices and resource setpoints
LFC operating and moving regulation every 4 seconds
State Estimator running approximately every 5 minutes just prior to SCED
State Estimator provides load bus data and other network parameters to SCED (LMP calculator)
<number>

## Slide 9: Real-Time Operations
SCED (LMP calculator) will run every 5 minutes based on State Estimator output, linearized binding constraints from security analysis and may include a 5-minute load forecast based on best practices of other ISOs.
Security analysis is run at least every hour or when major network topology changes occur to explore a prescribed set of contingencies on the then current network configuration to identify binding constraints and linearize their modeling for SCED. The number of linearized binding constraints should not be severely limiting (e.g., 100’s not 10’s)
Dynamic line ratings will be supported by ERCOT for all TDSPs
<number>

## Slide 10: Reliability Unit Commitment – Day Ahead
<number>
Run after close of day-ahead energy market and day-ahead ancillary services. Procurement should be run as early in the day as possible and in a manner that reflects the nomination deadlines of the gas markets.
Resource capacity nominations will be provided by participants to reflect self-committed resources indicating ancillary services commitments, day-ahead market and/or bilateral transactions between participants.
ERCOT will perform the day-ahead RUC and will use its forecast of hourly load.
A security constrained unit commitment technique will be utilized.

## Slide 11: Reliability Unit Commitment – Day Ahead
<number>
The optimization of resources committed for the next day’s operation above those self-committed include the minimization of startup costs, no load operating costs, and minimum output energy costs subject to both transmission security constraints and reserve constraints. All units self-committed or still on line from previous days will have their energy bids set to zero for day-ahead RUC.
The output will be a list of units committed for tomorrow’s 24-hour operating period and the hours they need to be operational. It is assumed the units operate at minimum load unless instructed otherwise by the ERCOT dispatcher.
The resources committed will have a “make whole” provision.
(continued)

## Slide 12: Reliability Unit Commitment – Hour Ahead
<number>
Run every hour approximately one hour ahead of the operating period after the security analysis is run.
The run period will be for the operating hour period plus the remaining hours of the approved day-ahead RUCs (could be up to 35 hours).
The optimization of this RUC will be the same as the day-ahead RUC. All previously committed units will have their energy price set to zero.
ERCOT will update load forecasts during the day as required for the next 36 hours and accept changes for unit and transmission outages.
Resources committed will have “make whole” provisions.

## Slide 13: MOCG Other Issues
Assignment of RUC Costs
“Make whole” Provision for RUC
Overlap with Market Mitigation
Three- Part Bids

## Slide 14: New Business?