## Slide 1: Congestion Management Concept Group
Dan Jones/Marguerite Wagner
February 4, 2004

## Slide 2: Presentation Outline
Review latest CMCG meeting activities
Review Contents of Load Zone Doc
Tee up Load Zone Doc
  Discussion
  Voting
Review Contents of CRR Doc & Straw Votes from 1/26 CMCG Meeting
Tee up CRR Doc
  Discussion
  Voting
Review Remaining CMCG Action Items

## Slide 3: 1/26/04 Accomplishments
Load Zone Paper (with NOIE Zones) Discussed
CRR Concept Document Review, discussion & modification
  Straw Votes on Technical Issues where general consensus was reached:
    Annual/Monthly Auction Amounts—came to agreement on percentage of capacity auctioned by duration of instrument
    Daily CRR Auction—not explicitly defined or ruled out
    Offer PTP Obligations (subject to credit requirements TBD)
  Straw Votes on Technical Issues where resolution is still needed:
    CRR Deration Alternatives?
    CRR Ownership Limits?
    Flowgates in Initial CRR Auction? (Consensus on designing the ERCOT systems to accommodate the future offering of flowgates)
  Other Outstanding Issue:
    How CRRs Settle—Shadow Price or Difference of LMPs?

## Slide 4: Load Zone Concept Document Overview
Defines Competitive Zones as 2003 CSC Zones
Timeline for Zone Changes—3 years with Board Approval
New Bus addition--assigned to the TNM Load Zone with the closest matching Zonal LMP to the new bus LMP
Defines Criteria for NOIE Zones
  “Default” NOIE Zones  Austin, LCRA, CPS
  Proactive zonal opt in requirement for other NOIEs by June 1, 2004.
  Merged into appropriate TNM Load Zone upon opt-in

## Slide 5: Cut Over to Load Zone Document
Draft Load Zone Document
Discussion
Voting
Notes: Goal to get a concept document to take to TNT on 2/4 for votes…

## Slide 6: CRR Concept Paper Overview
CRR Overview
CRR Types, Auction Amounts and Products
CRR Auction
Preassigned CRRs
Funding of CRRs in the Event of Deration
Market Settlement

## Slide 7: Straw Vote: Flowgates in Initial Auction?
Consensus: ERCOT should design its systems to accommodate the future offering of flowgate rights.
Straw vote results from 1/26
  “Should ERCOT Offer Flowgate rights in the initial CRR auction? (This question does not preclude the potential use of flowgate type products for wind.)”
  Results of vote:
    Yes—support flowgates generally: 5
    No—don’t sell flowgates initially: 6
    No Opinion: 2

## Slide 8: Straw Vote: Deration Alternatives
CRR Deration Alternatives:
  “No Deration, fully fund all CRRs and Uplift Costs to QSEs on a load ratio share basis.”
    Support For: 8
  ”Derate CRR holders on a pro-rata share of CRR ownership basis. (Includes the idea of surpluses being held in a balancing account to balance out over a calendar period.)”
    Support For: 8
  “Derate CRR holders on an actual impact based on SF of outaged elements to CRRs—PUCT/Dr. Oren Proposal.”
    Support For: 3
Notes: Impact on PCRs

## Slide 9: Straw Vote: Ownership Limits
Ownership Limits: What ownership limits, if any, should be established for CRRs?
  “No ownership limit—but increased market monitoring on entities which own over a certain limit on competitive constraints.”
    Support For: 8
  ”X% on each directional network element”
    Support For: 1
  ”X% on each directional “competitive” network element”
    Support For: 2

## Slide 10: Specific Items for Consideration
Items for which general consensus was not reached or for which additional comments have been received:
  Flowgates in Initial Auction
  CRR Deration
  CRR Ownership Limits
  PCRRs
  CRR Settlement

## Slide 11: Cut Over to CMCG Concept Document
Draft CRR Comprehensive Document
Discussion
Voting
Notes: Goal to get a concept document to take to TNT on 2/4 for votes…

## Slide 12: Upcoming Action Items for CMCG
CMCG to meet on February 9 & 20 to discuss:
  Incorporating the results of the 2/4 TNT meeting into conceptual documents
  Remaining punch list items
    Impact of DAM on CRR issues
    Distribution of source sink bids/offers for CRR auction where source/sink consists of more than one node (e.g., load zone)
    Bid limits (# of bids) to ensure technical feasibility of CRR auction?
    Modelling Issues?
    Hubs?
    Additional items to be addressed by CMCG?
  Role of CMCG as conceptual design transitions to Protocol development

## Slide 13: THANKS for Your Participation!