| PRR Number | 503PRR | PRR Title | Section 8 Coordination of Resource Outage Due to TSP |
| --- | --- | --- | --- |
| Date |  | March 25, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | William A. Fuller |  |
| E-mail Address |  | bfuller@oncorgroup.com |  |
| Company |  | Oncor |  |
| Company Address |  | 2233-B Mountain Creek Parkway, Dallas, TX 75211 |  |
| Phone Number |  | (214) 743-6820 |  |
| Fax Number |  | (972) 263-6710 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Not known | Not known | Not known |
| MARKET SEGMENT |  |  |  |
| Consumer | Not known | Not known | Not known |
| LSE: General, Including NOIE | Not known | Not known | Not known |
| LSE: CR & REP | Not known | Not known | Not known |
| QSE | Not known | Not known | Not known |
| Resource | Not known | Not known | Not known |
| TDSP | Not known | Not known | Not known |

Comments

Oncor is substantially in agreement with CenterPoint’s comments on 503PRR.

Redundant interconnection does not guarantee 100% connectivity. Forced outage of multiple elements or planned outage of one with forced outage of another could disconnect a load or resource from the grid. Any resource that has a need for 100% reliability of station service should have an emergency generator or other means of supplying station service for outages of their interconnections to the ERCOT grid.

A TSP should not be obligated to guarantee 100% station service reliability to a resource.

Revised Proposed Protocol Language