## Settlements
ERCOT Charge Matrix
Updated 2/24/2004 0900
Change Status |  | Ref # | Charge Type Name | Charge Type | Bill Determinant Code | Effective Trade Dates | Protocol Formula | EXAMPLE | Formula in ERCOT Software Terms | Sec. | Sub-Sec. | (Sub) Sub | Bill Determinants - Input | Bill Determinants - Output | Notes | Ref # | Charge Type Market Name | Rate Form Code | Pre-Processors
No Change |  | 50 | ERCOT ADMINISTRATION FEE | QLAF | QLAFAMT | 07/31/01 - present | QAFiq = AFF * (AMLiq + Xiq) |  | QLAFAMT = LAFF * LTOTQSE | 9 | 7 | 1 | LAFF (Factor Value) LTOTQSE | QLAFPRICE QLAFQTY QLAFAMT QLAFBILLQTY QLAFBILLAMT | Admin fee factor(LAFF) effective 1/1/04 to present=$0.46 per MWh. Admin fee factor(LAFF) effective 1/1/03 to 12/31/03=$0.33 per MWh. Admin fee factor(LAFF) effective 7/31/01 to 12/31/02=$0.22 per MWh. | 50 | OTHER_FEES | RLR_ST_SETTLE_FOR_OTHER_ CHARGES
Verify |  | 49 | MISMATCHED SCHEDULE PROCESSING FEE | MSFQ | MSFQAMT | 07/31/01 - present | MSFQI = SUM (MSFFi * QMSi) |  | MSFQAMT = MSI * MSFF | 9 | 7 | 4 | MSFF (Factor Value) MSI | MSFQPRICE MSFQQTY MSFQAMT MSFQBILLQTY MSFQBILLAMT | MSFF = $1.00 | 49 | OTHER_FEES | RLR_ST_SETTLE_FOR_OTHER_ CHARGES
Delete |  | 48 | CSC CONGESTION COLLECTION | SCF | SCFAMT | 07/01/01 - 12/31/01 | SCFqi = Ffi * AMLqi (Fee = $0.072) |  | SCFAMT = SCFF * LTOTQSE | 7 | 3 | 3.1 | LTOTQSE SCFF (Factor Value) | SCFPRICE SCFQTY SCFAMT SCFBILLQTY SCFBILLAMT | System Congestion fee factor (SCFF) = $0.72 per MWh. (This was effective 7-31-01 thru 12-31-01) | 48 | CSC_CONGESTION | RLR_ST_SETTLE_FOR_ CONGESTION
No Change |  | 47 | NON SPIN RESERVE SERVICE PAYMENT TO QSE | PCNS | PCNSAMT | 7/31/01 - present | PCNSqim = -1 * CNSqim * MCPCNSim |  | PCNSAMT = -1 * NSQ * MCPCNS | 6 | 8 | 1.8 | NSQ MCPCNS | PCNSPRICE PCNSQTY PCNSAMT PCNSBILLQTY PCNSBILLAMT |  | 47 | NON_SPINNING_ RESERVE | RLR_ST_SETTLE_CAPACITY
Verify |  | 46 | RUC (OOM) NON SPINNING CAPACITY PAYMENT | PCOOMNS | PCOOMNSAMT | 7/31/01 - present | PCIESNSqi = -1 * (DPNSi * CESNSqi) |  | PCOOMNSAMT = -1 * OOMNSQ * MCPOOMNS | 6 | 8 | 1.9 | OOMNSQ MCPOOMNS | PCOOMNSPRICE PCOOMNSQTY PCOOMNSAMT PCOOMNSBILLQTY PCOOMNSBILLAMT |  | 46 | NON_SPINNING_ RESERVE | RLR_ST_SETTLE_CAPACITY
No Change |  | 45 | NON SPIN RESERVE SERVICE CHARGE | LANS | LANSAMT | 7/31/01 - present | LANSqi = NSPi * NTONSqi given; NSPi = ((PCNSi + PCIOOMNSi) * -1 / (COBNSti – SANSti)) given; NTONSqi = (COBNSqi -SANSqi) |  | LANSAMT = -1 * ((PCNSBILLAMTTOT + PCOOMNSBILLAMTTOT) / (NSOTOT – NSSAQTOT)) * (NSO – NSSAQ) | 6 | 9 | 1.4 | PCNSBILLAMTTOT PCOOMNSBILLAMTTOT NSOTOT NSSAQTOT NSO NSSAQ | LANSPRICE LANSQTY LANSAMT LANSBILLQTY LANSBILLAMT | PCNSBILLAMTTOT and PCOOMNSBILLAMTTOT are currently provided through Client Reports. These cuts are scheduled to be available through extracts in the near future. | 45 | NON_SPINNING_ RESERVE | RLS_ST_MARKET_LEVEL_ SETTLEMENTS
No Change |  | 44 | REGULATION DOWN SERVICE PAYMENT TO QSE | PCRD | PCRDAMT | 7/31/01 - present | PCRDqim = -1 * CRDqim * MCPCRDim |  | PCRDAMT = -1 * RDQ * MCPCRD | 6 | 8 | 1.4 | RDQ MCPCRD | PCRDPRICE PCRDQTY PCRDAMT PCRDBILLQTY PCRDBILLAMT |  | 44 | REGULATION_DOWN_ RESERVE | RLR_ST_SETTLE_CAPACITY
Verify |  | 43 | RUC (OOM) REGULATION DOWN CAPACITY PAYMENT | PCOOMRD | PCOOMRDAMT | 10/1/02 - present | PCIESRDqi = -1 * (DPRDi * CESRDqi) |  | PCOOMRDAMT = -1 * OOMRDQ * MCPOOMRD | 6 | 8 | 1.5 | OOMRDQ MCPOOMRD | PCOOMRDPRICE PCOOMRDQTY PCOOMRDAMT PCOOMRDBILLQTY PCOOMRDBILLAMT |  | 43 | REGULATION_DOWN_ RESERVE | RLR_ST_SETTLE_CAPACITY
No Change |  | 42 | REGULATION DOWN SERVICE CHARGE | LARD | LARDAMT | 7/31/01 - present | LARDqi = RDPi * NTORDqi given; RDPi = ((PCRDi + PCIOOMRDi) * -1 / (COBRDti – SARDti)) given; NTORDqi = (COBRDqi -SARDqi) |  | LARDAMT = -1 * ((PCRDBILLAMTTOT + PCOOMRDBILLAMTTOT) / (RDOTOT – RDSAQTOT)) * (RDO – RDSAQ) | 6 | 9 | 1.2 | PCRDBILLAMTTOT PCOOMRDBILLAMTTOT RDOTOT RDSAQTOT RDO RDSAQ | LARDPRICE LARDQTY LARDAMT LARDBILLQTY LARDBILLAMT | PCRDBILLAMTTOT and PCOOMRDBILLAMTTOT are currently provided through Client Reports. These cuts are scheduled to be available through extracts in the near future. | 42 | REGULATION_DOWN_ RESERVE | RLS_ST_MARKET_LEVEL_ SETTLEMENTS
No Change |  | 41 | REGULATION UP SERVICE PAYMENT TO QSE | PCRU | PCRUAMT | 7/31/01 - present | PCRUqim = -1 * CRUqim * MCPCRUim |  | PCRUAMT = -1 * RUQ * MCPCRU | 6 | 8 | 1.2 | RUQ MCPCRU | PCRUPRICE PCRUQTY PCRUAMT PCRUBILLQTY PCRUBILLAMT |  | 41 | REGULATION_UP_ RESERVE | RLR_ST_SETTLE_CAPACITY
Verify |  | 40 | RUC (OOM) REGULATION UP D17CAPACITY PAYMENT | PCOOMRU | PCOOMRUAMT | 7/31/01 - present | PCIESRUqi = -1 * (DPRUi * CESRUqi) |  | PCOOMRUAMT = -1 * OOMRUQ * MCPOOMRU | 6 | 8 | 1.3 | OOMRUQ MCPOOMRU | PCOOMRUPRICE PCOOMRUQTY PCOOMRUAMT PCOOMRUBILLQTY PCOOMRUBILLAMT |  | 40 | REGULATION_UP_ RESERVE | RLR_ST_SETTLE_CAPACITY
No Change |  | 39 | REGULATION UP SERVICE CHARGE | LARU | LARUAMT | 7/31/01 - present | LARUqi = RUPi * NTORUqi given; RUPi = ((PCRUi + PCIOOMRUi) * -1 / (COBRUti – SARUti)) given; NTORUqi = (COBRUqi -SARUqi) |  | LARUAMT = -1 * ((PCRUBILLAMTTOT + PCOOMRUBILLAMTTOT) / (RUOTOT – RUSAQTOT)) * (RUO – RUSAQ) | 6 | 9 | 1.1 | PCRUBILLAMTTOT PCOOMRUBILLAMTTOT RUOTOT RUSAQTOT RUO RUSAQ | LARUPRICE LARUQTY LARUAMT LARUBILLQTY LARUBILLAMT | PCRUBILLAMTTOT and PCOOMRUBILLAMTTOT are currently provided through Client Reports. These cuts are scheduled to be available through extracts in the near future. | 39 | REGULATION_UP_ RESERVE | RLS_ST_MARKET_LEVEL_ SETTLEMENTS
No Change |  | 38 | RESPONSIVE RESERVE SERVICE PAYMENT TO QSE | PCRR | PCRRAMT | 7/31/01 - present | PCRRqim = -1 * CRRqim * MCPCRRim |  | PCRRAMT = -1 * RSQ * MCPCRS | 6 | 8 | 1.6 | RSQ MCPCRS | PCRRPRICE PCRRQTY PCRRAMT PCRRBILLQTY PCRRBILLAMT |  | 38 | RESPONSIVE_ RESERVE | RLR_ST_SETTLE_CAPACITY
Verify |  | 37 | RUC (OOM) RESPONSIVE CAPACITY PAYMENT | PCOOMRR | PCOOMRRAMT | 7/31001 - present | PCIESRRqi = -1 * (DPRRi * CESRRqi) |  | PCOOMRRAMT = -1 * OOMRSQ * MCPOOMRS | 6 | 8 | 1.7 | OOMRSQ MCPOOMRS | PCOOMRRPRICE PCOOMRRQTY PCOOMRRAMT PCOOMRRBILLQTY PCOOMRRBILLAMT |  | 37 | RESPONSIVE_ RESERVE | RLR_ST_SETTLE_CAPACITY
No Change |  | 36 | RESPONSVE RESRVE SERVICE CHARGE | LARR | LARRAMT | 7/31/01 - present | LARRqi = RRPi * NTORRqi given; RRPi = ((PCRRi + PCIOOMRRi) * -1 / (COBRRti – SARRti)) given; NTORRqi = (COBRRqi -SARRqi) |  | LARRAMT = -1 * ((PCRRBILLAMTTOT + PCOOMRRBILLAMTTOT) / (RROTOT – RSSAQTOT)) * (RRO – RSSAQ) | 6 | 9 | 1.3 | PCRRBILLAMTTOT PCOOMRRBILLAMTTOT RROTOT RSSAQTOT RRO RSSAQ | LARRPRICE LARRQTY LARRAMT LARRBILLQTY LARRBILLAMT | PCRRBILLAMTTOT and PCOOMRRBILLAMTTOT are currently provided through Client Reports. These cuts are scheduled to be available through extracts in the near future. | 36 | RESPONSIVE_ RESERVE | RLS_ST_MARKET_LEVEL_ SETTLEMENTS
Delete |  | 35 | ZONAL REPLACEMENT RESERVE TO PROVIDER | ZPCRP | ZPCRPAMT | 7/31/01 - present | PCRPqi = -1*MCPCRPiz * ZCRPqiz |  | ZPCRPAMT = -1 * MCPCRP * ZRPQ | 6 | 8 | 1.1 | MCPCRP ZRPQ | ZPCRPPRICE ZPCRPQTY ZPCRPAMT ZPCRPBILLQTY ZPCRPBILLAMT |  | 35 | REPLACEMENT_ RESERVE | RLR_ST_SETTLE_FOR_ CONGESTION
Delete |  | 34 | LOCAL REPLACEMENT RESERVE TO PROVIDER | LPCRP | LPCRPAMT | 7/31/01 - present | LPCRPiq = -1 * SUM(PABCRPiu * LCRPqiu)u also; LPCRPi = SUM(LPCRPiq)q |  | LPCRPAMT = -1 *BPORR*LRPQ | 6 | 8 | 1.11 | BPORR LRPQ | LPCRPPRICE LPCRPQTY LPCRPAMT LPCRPBILLQTY LPCRPBILLAMT |  | 34 | REPLACEMENT_ RESERVE | RLR_ST_SETTLE_FOR_ CONGESTION
Delete |  | 33.1 | REPLACEMENT RESERVE UNDERSCHEDULED CHARGE | USRP | USRPAMT | 5/23/02 to Present | USRPizq = MCPCRPiz * (max(0,(AMLi1zq – CLi1zq),(AMLi2zq – CLi2zq),(AMLi3zq– CLi3zq),(AMLi4zq– CLi4zq)) + max(0,(MMSi1zq, MMSi2zq, MMSi3zq, MMSi4zq))) |  | USRPAMT = MCPCRP*(4 *(MAX (0, (LQSECMUFE(INTERVAL 1) -SLRP(INTERVAL 1)),(LQSECMUFE(INTERVAL 2) -SLRP(INTERVAL 2)), (LQSECMUFE(INTERVAL 3) -SLRP(INTERVAL 3)),(LQSECMUFE(INTERVAL 4) -SLRP(INTERVAL 4))))) +Max (0, (MMS(INTERVAL 1)), (MMS(INTERVAL 2)), (MMS(INTERVAL 3)),(MMS(INTERVAL 4))))) | 6 | 9 | 2.1.1 | MCPCRP LQSECMUFE SLRP MMS | USRPPRICE USRPQTY USRPAMT USRPBILLQTY USRPBILLAMT | The formula was changed by adding the mismatch schedule information. | 33.1 | REPLACEMENT_ RESERVE | RLR_ST_SETTLE_FOR_ CONGESTION
Verify |  |  | Need DaRUC Make Whole Payments replacement for Ref 34 & 35
Verify |  |  | Need DaRUC Charge replacement for Ref 33
Delete |  | 32.1 | REPLACEMENT RESERVE CSC COSTS PER QSE | CSCRPQSE | CSCRPQSEAMT | 2-15-02 -present | CSCRPhq = SPCCSCh* MAX(0, ICSChq - MIN(ICSChq , PCRcschq)) ICSChq = MAX [0,MAX [Σ (MAX(QRSTOPiqz – CLTOPiqz) * SFzcsc)z ]n, Σ(AMRiqz - AMLiqz) * SFzcsc)z ]i |  | CSCRPQSEAMT = (MCPCSPC*(MAX(0,(ICSCiq-MIN(ICSCiq,PCRCSC))))) |  |  |  | MCPCSPC CSCRPIQ PCR SRRPI CSCSF | CSCRPQSEPRICE CSCRPQSEQTY CSCRPQSEAMT CSCRPQSEBILLQTY CSCRPQSEBILLAMT | This calculation replaces the former Charge Type of CSCRP. | 32.1 | REPLACEMENT_ RESERVE | RLR_ST_SETTLE_FOR_ CONGESTION_QSE_SPECIFIC
Delete |  | 31 | REPLACEMENT RESERVE UPLIFT CHARGE | UCRP | UCRPAMT | 7/31/01 - present | UCRPiq = -1 * (Σ (PCRPiq + LPCRPiq)q + Σ (USRPiq) + TCRPAYRPi + Σ (CSCRPiq)q,CSC) * LRSqi TCRPAYRPi = -1 * (Σ(TCRcsci ) * SPCSCi )CSC |  | UCRPAMT =-1*((ZPCRPBILLAMTTOT + LPCRPBILLAMTTOT)+(USRPBILLAMTTOT + CSCCREDITRPTOT+CSCRPQSEBILLAMTTOT)* LTOTQSE[Sum of Interval 1 - 4] /LTOTERCOT[Sum of Interval 1- 4]))) Where; CSCCREDITRPTOT =-1*((TCROWNEDERCOT/ 4)*MCPCSPC) | 6 | 9 | 2.1.2 | ZPCRPBILLAMTTOT LPCRPBILLAMTTOT USRPBILLAMTTOT CSCCREDITRPTOT CSCRPQSEBILLAMTTOT LTOTQSE LTOTERCOT CSCCREDITRPTOT TCROWNEDERCOT MCPCSPC | UCRPPRICE UCRPQTY UCRPAMT UCRPBILLQTY UCRPBILLAMT |  | 31 | REPLACEMENT_ RESERVE | RLS_ST_MARKET_LEVEL_ SETTLEMENTS
Modify | Needs to assign at Resouce LMP, | 30.1 | RESOURCE IMBALANCE | RI | RIAMT | 5/23/02 - present | RIiq = SUM (RIizq)z Given: RIizq = NTEizq * MCPEiz NTEizq = (QRSizq - MRizq) The equation below represents the total Resource Imbalance Charges in a Congestion Zone for each interval. RIiz = SUM (RIizq)q Where: i: interval being calculated z: zone being settled q QSE RIizq: Resource Imbalance ($) per interval per zone by QSE. RIiq Resource Imbalance ($) per interval for that QSE RIiz Summation of Resource Imbalance ($) payments per interval per zonal for all QSEs in the market. NTEizq: Net Energy per interval per zone per QSE is the difference between Resources scheduled and metered value MRizq: Metered value (MWh) for the Resource per interval, per zone per QSE using actual and/or estimated values. QRSizq: Resource schedule (MWh) per interval per zone per QSE. MCPEiz: Market Clearing Price of Energy ($/MWh) per interval per zone. |  | RIAMT = (SR – GSITETOTCM) * MCPER Where: SR: Scheduled Resource per interval, per zone, per QSE. (See formula below) GSITETOTCM: Metered generation per interval, per zone, per QSE. MCPER: Market Clearing Price of Energy ($/MWh) per interval, per zone If SRD does not exist, SR = SRS + DRTCEO + DRTFEO Else, check IF (AND (ABS (SLD-SRD)<1, ABS (SLA-SRA)<1, RGSLA_North<>"R", RGSLA_South<>"R", RGSLA_West<>"R", RGSLA_Houston<>"R", RGSLA_East<>"R", RGSRA_North<>"R", RGSRA_South<>"R", RGSRA_West<>"R", RGSRA_Houston<>"R", RGSRA_East<>"R")) (Note: Disregard any references to the East zone in calculations for 2002 and 2003) If true, SR = SRA + SRS + DRTCEO + DRTFEO Else, SR = SRD + SRS + DRTCEO + DRTFEO Where: SRA: Scheduled Resource Actual per interval, per zone, per QSE. SRD: Scheduled Resource Dynamic per interval, per zone, per QSE. SRS: Scheduled Resource Static per interval, per zone, per QSE. SLA: Scheduled Load Actual per interval, per zone, per QSE. SLD: Scheduled Load Dynamic per interval, per zone, per QSE. RGSLA_zone: Good/Reject indicator for SLA. RGSRA_zone: Good/Reject indicator for SRA. DRTCEO: Dynamic Resource Transfer of Controlling Entity Offset per interval, per zone, per QSE. DRTFEO: Dynamic Resource Transfer of Following Entity Offset per interval, per zone, per QSE. | 6 | 8 | 1.13 | MCPER SR (Intermediate Calculation) GSITETOTCM SRA SRD SRS SLA SLD RGSLA RGSRA DRTCEO (New Determinant) DRTFEO (New Determinant) | RIPRICE RIQTY RIAMT RIBILLQTY RIBILLAMT | This change introduces Responsibilitiy Transfers (RT's) to the Resource Imbalance (RI) calculation. There is no Protocol change to the actual RI calculation. There is, however, a change to the ERCOT software. For calculations beginning in 2004, a new zone is added (EAST). Calculations are done for each zone. | 30.1 | ENERGY_IMBALANCE | RLR_ST_SETTLE_FOR_ BALANCING_ENERGY
Modify | Change MCPE to Zonal LMP | 29 | LOAD IMBALANCE | LI | LIAMT | 7/31/01 - present | LIizq = -1 * (SLizq – AMLizq) * MCPEiz LIiz = SUM(LIizq)q Where: i = interval being calculated z = zone being settled LIizq = Load Imbalance ($) per interval per zone per QSE SLizq = Scheduled Load (MWh) per interval per zone per QSE (total obligation – Inter-QSE trades) AMLizq = Adjusted Metered Load (MWh) per interval per zone per QSE, which will include estimated and/or actual values and the associated Transmission & Distribution Losses and UFE. MCPEiz = Market Clearing Price of Energy ($/MWh) per interval per zone |  | LIAMT = -1 * (SL – LQSESMUFE) * MCPEL Where: SL: Scheduled Load per interval, per zone, per QSE. (See formula below) LQSECMUFE: Adjusted Metered load per interval, per zone, per QSE. MCPEL: Market Clearing Price of Load ($/MWh) per interval, per zone If SLD does not exist, SL = SLS Else, check IF (AND (ABS (SLD-SRD)<1, ABS (SLA-SRA)<1, RGSLA_North<>"R", RGSLA_South<>"R", RGSLA_West<>"R", RGSLA_Houston<>"R", RGSLA_East<>"R", RGSRA_North<>"R", RGSRA_South<>"R", RGSRA_West<>"R", RGSRA_Houston<>"R", RGSRA_East<>"R")) (Note: Disregard any references to the Houston and East zones in calculations for 2001) (Note: Disregard any references to the East zone in calculations for 2002 and 2003) If true, SL = SLA + SLS Else, SL = SLD + SLS Where: SLS: Scheduled Load Static per interval, per zone, per QSE. SLA: Scheduled Load Actual per interval, per zone, per QSE. SLD: Scheduled Load Dynamic per interval, per zone, per QSE. SRD: Scheduled Resource Dynamic per interval, per zone, per QSE. SRA: Scheduled Resource Actual per interval, per zone, per QSE. RGSLA_zone: Good/Reject indicator for SLA. RGSRA_zone: Good/Reject indicator for SRA. | 6 | 9 | 5.2 | MCPEL SL (Intermediate Calculation) LQSECMUFE SLA SLD SLS SRA SRD RGSLA RGSRA | LIPRICE LIQTY LIAMT LIBILLQTY LIBILLAMT | Calculations are done for each zone. The Houston zone was added starting 1-1-2002 and the East zone was added starting trade day 1-1-2004. | 29 | ENERGY_IMBALANCE | RLR_ST_SETTLE_FOR_ BALANCING_ENERGY
Verify |  | 28.2 | UNINSTRUCTED RESOURCE CHARGE | URC | URCAMT | 11/12/03 - present | If MCPEiz > 0 and QSE outside deadband, then: URCizq = (Max[0,ZUDizq])* MCPEiz * Ufi If MCPEiz < 0 and QSE outside deadband, then: URCizq = (Min[0,ZUDizq])* MCPEiz * Ufi IF Eregup < tolerance AND Eregdown < tolerance then UFi = 0 (Uninstructed Factor) ELSE IF Eregdown > tolerance THEN UFi = min(1.0, (Eregdn - Tolerance)/((Upper Limit - Tolerance) ELSE Eregup > tolerance UFi = min(1.0, (Eregup - Tolerance)/((Upper Limit - Tolerance) Eregup = regulation up (Σ NZID >0) Eregdn = regulation down (Σ NZID < 0) Total Uninstructed Deviation TUDiq = Σ (MRizq - (SRURCizq + INSizq + DSBULizq)) - Σ INSewiq) Where: TUDiq = Total ERCOT wide Uninstructed Deviation for that QSE per interval MRizq = Metered Resource Value for that QSE per interval per zone SRURCizq = QSE Resource Schedule per interval per zone of that QSE INSizq= Zonal Balancing Energy instructions given to that QSE per zone per interval INSewiq = ERCOT-wide Balancing Energy Instructions for that QSE per interval |  | If MCPER > 0 and QSE’s GSITETOTCM is within the Dead Band % (UNDBP) but not less than the Dead Band Factor (UNDBF) plus instructions ((ZIDUP-ZIDDN) + NSZID + DSBULURC), then: URCAMT = (Max [0,ZUD])* MCPER * UF If MCPER < 0 and QSE’s GSITETOTCM is within the Dead Band % (UNDBP) but not less than the Dead Band Factor (UNDBF) plus instructions ((ZIDUP-ZIDDN) + NSZID + DSBULURC), then: URCAMT = (Min [0,ZUD])* MCPER * UF UF (Uninstructed Factor) If NZIDTOT is between –25 and 25 (-25>NZIDTOT<25), then UF = 0 (Uninstructed Factor) Else If NZIDTOT is not between –25 and 25, then UF = Min (1, (NZIDTOT - UNPTOL)/((UNUPLIM - UNPTOL) Where: NZIDTOT: The sum of all ERCOT wide Regulation Up and Down instructions. UNPTOL: Uninstructed Tolerance (25) UNUPLIM: Uninstructed Upper Limit (125) TUD (Total Uninstructed Deviation) and ZUD (Zonal Uninstructed Deviation) Total Uninstructed Deviation (TUD) TUD = Σ (GSITETOT - (SRURC + ZIDUP – ZIDDN + NSZID + DSBULURC)) - Σ NZID + RRNZID) Where: TUD: Total ERCOT wide Uninstructed Deviation for that QSE per interval GSITETOT: Metered Resource Value for that QSE per interval per zone ZIDUP: Zonal Balancing Energy instructions up for that QSE per zone per interval ZIDDN: Zonal Balancing Energy instructions down for that QSE per zone per interval NSZID: Non-Spin Zonal Balancing Energy instructions for that QSE per zone per interval DSBULURC: Dynamic Schedule Balancing Up Load (BUL) NZID: Non-Zonal instructions deviation for that QSE ERCOT wide (regulation) RRNZID: Responsive Reserve non-zonal instructed deviation ERCOT wide SRURC: QSE Resource Schedule per interval per zone of that QSE SRURC If SRD does not exist, SRURC = SRSURC Else, check IF (AND (ABS (SLD-SRD)<1, ABS (SLA-SRA)<1, RGSLA_North<>"R", RGSLA_South<>"R", RGSLA_West<>"R", RGSLA_Houston<>"R", RGSLA_East<>"R", RGSRA_North<>"R", RGSRA_South<>"R", RGSRA_West<>"R", RGSRA_Houston<>"R", RGSRA_East<>"R")) | 6 | 8 | 1.15 | URC: MCPER UF (Intermediate Calculation) ZUD (Intermediate Calculation) UNDBP (Factor Value) UNDBF (Factor Value) UF: (Intermediate Calculation) NZIDTOT (Intermediate Calculation) UNPTOL (Factor Value) UNUPLIM (Factor Value) TUD: (Intermediate Calculation) GSITETOTCM SRURC (Intermediate Calculation) ZIDUP ZIDDN NSZID DSBULURC NZID RRNZID SRURC: (Intermediate Calculation) SRSURC (Intermediate Calculation) SRA SRD RGSRA RGSLA SLD SLA DRTCEO DRTFEO | URC PRICE URCQTY URCAMT URCBILLQTY URCBILLAMT | NZIDTOT is currently provided through Client Reports. This cut is scheduled to be available through extracts in the near future. Note: Due to the approval of PRR 448 (Balancing Up Load), a new bill determinant, DSBULURC, was added to the calculation of TUD and ZUD. The "East" zone was added starting trade day 1-1-2004. | 28.2 | ENERGY_IMBALANCE | RLR_ST_SETTLE_FOR_ BALANCING_ENERGY
|  | 28.2 | Continued |  |  |  | SRURCizq = SRSURCizq + (SRAizq or SRDizq) + DC Tie import schedulesizq SRSURCizq = SRSNDCCURRizq + ((SRSNDCPREVizq - SRSNDCCURRizq) / 12 ) +((SRSNDCNEXTizq - SRSNDCCURRizq) / 12) Where: SRSURCizq = The scheduled resource static (without any DC tie import schedules) smoothed for a 10 minute ramp, per interval per zone. SRSNDCCURRizq= The scheduled resource static minus any DC tie import schedules, for the current interval, per interval per zone per QSE. SRSNDCPREVizq= The scheduled resource static minus any DC tie import schedules for the previous interval, per interval per zone perQSE. SRSNDCNEXTizq =The scheduled resource static minus any DC tie import schedules for the next interval, per interval per zone perQSE. SRAizq = Schedule Resource Dynamic(actual) SRAizq = Schedule Resource Dynamic(scheduled) DSBULizq = Dynamic Schedule Balancing Up Load (BUL) Zonal Uninstructed Deviation (ZUD) If TUD = 0, then ZUD = 0 If TUD>0, then (Overgeneration) ZUDiq = Max [0, (MRizq - (SRURCizq + INSizq + DSBULizq))]/ ΣMax[0, (MRizq - (SRURCizq + INSizq + DSBULizq))]* TUD If TUD<0, then (Undergeneration) ZUDiq = Min [0, (MRizq - (SRURCizq + INSizq + DSBULizq))]/ ΣMin[0, (MRizq - (SRURCizq + INSizq + DSBULizq))]* TUD |  | Where: RGSLA or RGSRA: Flag identifying the status of the Dynamic signal (REJECT or GOOD) If true, SRURC = SRA + SRSURC + DRTCEO + DRTFEO Else, SRURC = SRD + SRSURC + DRTCEO + DRTFEO SRSURC = SRS + ((SRSPREV - SRS)/12) + ((SRSNEXT – SRS)/12) Where: SRSURC: Scheduled resource static (not including DC tie import schedules) smoothed for a 10-minute ramp, per interval per zone. SRS: Scheduled resource static for the current interval, per interval per zone per QSE. SRSPREV: Scheduled resource static for the previous interval, per interval per zone per QSE. SRSNEXT: Scheduled resource static for the next interval, per interval per zone per QSE. SRA = Schedule Resource Actual SRA = Schedule Resource Dynamic Zonal Uninstructed Deviation (ZUD) If TUD = 0, then ZUD = 0 If TUD > 0, then (Over-Generation) ZUD = Max [0, (GSITETOTCM - (SRURC + ZIDUP – ZIDDN + NSZID + DSBULURC))]/ Σ all zones Max [0, (GSITETOTCM - (SRURC + ZIDUP – ZIDDN + NSZID + DSBULURC))] * TUD If TUD<0, then (Under-Generation) ZUD = Min [0, (GSITETOTCM - (SRURC + ZIDUP – ZIDDN + NSZID + DSBULURC))]/ Σ all zones Min [0, (GSITETOTCM - (SRURC + ZIDUP – ZIDDN + NSZID + DSBULURC))] * TUD | 6 | 8 | 1.15 | SRSURC SRS SRSPREV SRSNEXT ZUD: (Intermediate Calculation) GSITETOTCM SRURC ZIDUP ZIDDN NSZID TUD (Intermediate Calculation) |  |  | 28.2
Verify |  | 27 | MISMATCHED INTERQSE SCHEDULE DELIVERED | MSD | MSDAMT | 8/20/03 - present | MISDiqz = -1 * MISAMTDiqz * MCPEiz also: MISDiz = Σ (MISDiqz)q |  | MSDAMT = -1 * SUM(MSBD_CQ) * MCPER | 6 | 9 | 8 | MSBD_CQ MCPER | MSDPRICE MSDQTY MSDAMT MSDBILLQTY MSDBILLAMT |  | 27 | ENERGY_IMBALANCE | NULL
Verify |  | 26 | MISMATCHED INTERQSE SCHEDULE RECEIVED | MSR | MSRAMT | 8/20/03 - present | MISRiqz = MISAMTRiqz * MCPEiz also: MISRiz = Σ (MISRiqz)q |  | MSRAMT = SUM(MSBR_CQ) * MCPEL | 6 | 9 | 8 | MSBR_CQ MCPEL | MSRPRICE MSRQTY MSRAMT MSRBILLQTY MSRBILLAMT |  | 26 | ENERGY_IMBALANCE | NULL
Delete |  | 25.1 | BALANCING ENERGY CSC COSTS PER QSE | CSCBEQSE | CSCBEQSEAMT | 2/15/02 - present | ICSCiq = Σ ((QSSiqz - SOiqz) * SFzcsc )z If ICSCiq > 0 then, CSCBECSCiq = SPCSCi * MAX (0, ICSCiq) Else (counterflow) CSCBECSCiq = SPCSCi * ICSCiq End CSCBEiq = SUM (CSCBECSCiq)CSC i Interval being calculated q QSE z Congestion Zone CSC Commercially Significant Constraint CSCBECSCiq CSC Energy Related Congestion Charge, per interval, per CSC, per QSE CSCBEiq CSC Energy Related Congestion Charge, per interval of that QSE SPCSCi Shadow Price per CSC, per interval ICSCiq Scheduled MW Impact per CSC, per interval, per QSE SFzcsc Commercial Model Shift Factor per CSC, per zone QSSiqz QSE Supply Schedule per interval, per zone, per QSE SOiqz Scheduled Obligation (prior to real-time) per interval, per zone, per QSE |  | CSCBEQSE = MCPESPC * ICSC CSC Impact Equation Simplified (per interval) (This example shows the calculation for the East to North Constraint.) ICSC = ((SR_E04_QSE + SRSI_E04_QSE) - (SL_E04_QSE + SLSI_E04_QSE)) * CSCSF_E04_EN) + ((SR_H04_QSE + SRSI_H04_QSE) - (SL_H04_QSE + SLSI_H04_QSE)) * CSCSF_H04_EN) + ((SR_N04_QSE + SRSI_N04_QSE) - (SL_N04_QSE + SLSI_N04_QSE)) * CSCSF_N04_EN) + ((SR_S04_QSE + SRSI_S04_QSE) - (SL_S04_QSE + SLSI_S04_QSE)) * CSCSF_S04_EN) + ((SR_W04_QSE + SRSI_W04_QSE) - (SL_W04_QSE + SLSI_W04_QSE)) * CSCSF_W04_EN) Where: ICSC: Scheduled MW Impact per CSC, per interval, per QSE CSCSF: Commercial Model Shift Factor per CSC, per zone SR: QSE Scheduled Resource per interval, per zone, per QSE SL: QSE Scheduled Load per interval, per zone, per QSE SRSI: QSE Schedule Resource for Inter-QSE trades SLSI: QSE Schedule Load for Inter-QSE trades | 7 | 3 | 4.1 | MCPESPC CSCSF(NEW Determinant) ("csc shift factor" table) SR (Intermediate Calculation) SL (Intermediate Calculation) SRSI (NEW Determinant) SLSI (NEW Determinant) | CSCBEQSEPRICE CSCBEQSEQTY CSCBEQSEAMT CSCBEQSEBILLQTY CSCBEQSEBILLAMT | This calculation replaces the former Charge Type of CSCBE. | 25.1 | CSC_CONGESTION | RLR_ST_SETTLE_FOR_ CONGESTION_QSE_SPECIFIC
Modify |  | 24.2 | BALANCING ENERGY NEUTRALITY ADJUSTMENT | BENA | BENAAMT | 8/20/03 - present | BENAiq = -1*(Σ (RIiz + LIiz + URCiz + MISDiz + MISRiz)z + TCRPAYBei + Σ CSCBEi) * LRSiq TCRPAYBei = - Σ (TCRcsci) / 4*SPCSCi) CSC Where: BENAiq: Balancing Energy Neutrality Adjustment collected from the QSEs in that interval. LIiz: Load Imbalance per interval RIiz: Resource Imbalance per interval CSCBEi: The total Balancing Energy CSC costs per interval for all QSEs LRSiq: QSE Load Share relative to total Load in that interval URCiz: Uninstructed Resource Charge per interval per zone MISDiz: Mismatched schedule payments for the mismatched amounts delivered to ERCOT, per interval, per zone. MISRiz: Mismatched schedule charges for the mismatched amount received from ERCOT, per interval, per zone. TCRCSCi: Total number of TCRs per CSC for interval, i SPCSCi: Energy Shadow price per CSC per interval TCRPAYBei: Payment to the TCR Account Holder per interval |  | BENAAMT = -1*((LIBILLAMTTOT + RIBILLAMTTOT + URCBILLAMTTOT+ MSDBILLAMTTOT+ MSRBILLAMTTOT) + CSCCREDITBETOT + CSCBEQSEBILLAMTTOT) * (LTOTQSE/ LTOTERCOT) Where: LIBILLAMTTOT: Sum of Load Imbalance totals for all QSEs per interval RIBILLAMTTOT: Sum of Resource Imbalance totals for all QSEs per interval URCBILLAMTTOT: Sum of Uninstructed Resource Charge totals for all QSEs per interval MSDBILLAMTTOT: Sum of Mismatched Schedule Delivered totals for all QSEs per interval MSRBILLAMTTOT: Sum of Mismatched Schedule Received totals for all QSEs per interval CSCCREDITBETOT: Sum of all owned TCRs/4 and times the MCP for Congestion, for each CSC Zone per interval (See formula below) CSCBEQSEBILLAMTTOT: Sum of Congestion Direct Assignments for all QSEs per interval (see charge type "CSCBEQSE") LTOTQSE: Load sum per QSE per interval LTOTERCOT: Load sum for all QSEs per interval CSCCREDITBETOT = -SUM(TCROWNEDERCOT_CSC/4*MCPESPC_CSC)for all CSC Where: TCROWNEDERCOT_CSC: Sum of all owned TCRs for a CSC per interval MCPESPC_CSC: Energy Shadow Price for a CSC per interval | 9 | 6 | 1 | RIBILLAMTTOT LIBILLAMTTOT URCBILLAMTTOT MSDBILLAMTTOT (NEW Determinant) MSRBILLAMTTOT (NEW Determinant) CSCBEQSEBILLAMTTOT CSCCREDITBETOT LTOTQSE LTOTERCOT TCROWNEDERCOT (imported interval data) MCPESPC | BENAPRICE BENAQTY BENAAMT BENABILLQTY BENABILLAMT | This change consisted of adding the totals for MisMatch to the BENA calculation. | 24.2 | ENERGY_IMBALANCE | RLS_ST_MARKET_LEVEL_ SETTLEMENTS
Delete |  | 23 | LOCAL BALANCING ENERGY UP TO PROVIDER | LBEUP | LBEUPAMT | 5/6/02 - present | LPCRSUquiz = -1 * SUM ((PMqiuz - MCPEiz) * Max (0, Min (MRqiuz - OLquiz, IOLqiuz - OLqiuz))) where: PMquiz = Max (BPMquiz, BPMquiz + MCPEiz) |  | Subgenerators: LBEUPAMT = -1 * [(MAX (OOMLEUPBP, (OOMLEUPBP + MCPER)) - MCPER) * (MAX (0, MIN ((GSITETOT - RP), LBEUQ)))] where: LBEUQ = Max (0, (LEIOL - RP)) Load Resources (LaaRs): LBEUPAMT = -1 * [(MAX (OOMLEUPBP, (OOMLEUPBP + MCPER)) - MCPER) * (MAX (0, MIN ((RP - LAARTOT), LBEUQ)))] where: LBEUQ = Max (0, (RP - LEIOL)) | 7 | 4 | 3.1 | GSITETOT LAARTOT LEIOL MCPER OOMLEUPBP RP LBEUQ (intermediate calculation) LBEUPADJ (as needed effective 12/1/03) | LBEUPPRICE LBEUPQTY LBEUPAMT LBEUPBILLQTY LBEUPBILLAMT | With the implementation of PIP 120, LBEUP will be calculated when a market solution exists for a resource-specific instruction. Also, the calculation takes Loads acting as Resources (LaaRs) into account. Effective with trade day 12/1/03, the LBEUPADJ bill determinant was introduced to manually adjust payments to QSEs on an as-needed basis. The formula is adjusted as follows: LBEUPAMT = -1 * (LBEUPQTY * LBEUPPRICE + LBEUPADJ) | 23 | OOM_ENERGY
Delete |  | 22 | LOCAL BALANCING ENERGY DOWN TO PROVIDER | LBEDN | LBEDNAMT | 5/6/02 - present | LPCRSDqiz = -1 * SUM ((MCPEiz - BPMqiuz) * Max (0, Min (OLqiuz - MRquiz, OLqiuz - IOLqiuz)))u |  | LBEDNAMT = -1 * [(MCPER - OOMLEDNBP) * MAX (0, MIN ((RP - GSITETOT), LBEDQ))] where: LBEDQ = Max (0, (RP - LEIOL)) | 7 | 4 | 3.2 | GSITETOT LEIOL MCPER OOMLEDNBP RP LBEDQ (intermediate calculation) LBEDNADJ (as needed effective 12/1/03) | LBEDNPRICE LBEDNQTY LBEDNAMT LBEDNBILLQTY LBEDNBILLAMT | With the implementation of PIP 120, LBEDN will be calculated when a market solution exists for a resource-specific instruction. Effective with trade day 12/1/03, the LBEDNADJ bill determinant was introduced to manually adjust payments to QSEs on an as-needed basis. The formula is adjusted as follows: LBEDNAMT = -1 * (LBEDNQTY * LBEDNPRICE + LBEDNADJ) | 22 | OOM_ENERGY
Delete |  | 21 | AGGREGATED LOCAL BALANCING ENERGY UP TO PROVIDER | LBEUPAGG | LBEUPAGGAMT | 7/9/03 - present | LPCRSUqviz = -1 * SUM ((PMqivz - MCPEiz) * Max (0, Min (MRqivz - OLqviz, NETUEQivq)) * LBEAGRivq) where: PMqivz = Max (BPMqivz, BPMqivz + MCPEiz) |  | LBEUPAGGAMT = -1 * (MAX (OOMLEUPBPAGG, OOMLEUPBPAGG + MCPER) - MCPER) * [MAX (0, MIN (GSITETOTAGG - RPAGG, NETUEQ) * LBEUPAGGRATIO] where: NETUEQ = MAX (0, [(NETOOMUEQ + NETLBEUQ) - (NETOOMDEQ + NETLBEDQ)] where: NETOOMUEQ = MAX (0, Sum of OOMUEQs - Sum of OOMDEQs) where: NETLBEUQ = MAX (0, Sum of LBEUQs - Sum of LBEDQs) where: NETOOMDEQ = MAX (0, Sum of OOMDEQs - Sum of OOMUEQs) where: NETLBEDQ = MAX (0, Sum of LBEDQs - Sum of LBEUQs) where LBEUPAGGRATIO = [(Sum of LBEUQs + Sum of LBEDQs) / (Sum of LBEUQs + Sum of LBEDQs + Sum of OOMUEQs + Sum of OOMDEQs)] | 7 | 4 | 3.1 | MCPER GSITETOTAGG (intermediate calculation) LBEUPAGGRATIO (intermediate calculation) OOMLEUPBPAGG (intermediate calculation) RPAGG (intermediate calculation) NETUEQ (intermediate calculation) NETLBEUQ (intermediate calculation) LBEUPAGGADJ (as needed effective 12/1/03) | LBEUPAGGPRICE LBEUPAGGQTY LBEUPAGGAMT LBEUPAGGBILLQTY LBEUPAGGBILLAMT | With the implementation of PRRs 369 / 398, generation entities may aggregate, for settlement purposes, two or more individual units if approved by ERCOT (See Protocols 6.8.2.4). Effective with trade day 12/1/03, the LBEUPAGGADJ bill determinant was introduced to manually adjust payments to QSEs on an as-needed basis. The formula is adjusted as follows: LBEUPAGGAMT = -1 * (LBEUPAGGQTY * LBEUPAGGPRICE + LBEUPAGGADJ) | 21 | OOM_ENERGY
Delete |  | 20 | AGGREGATED LOCAL BALANCING ENERGY DOWN TO PROVIDER | LBEDNAGG | LBEDNAGGAMT | 7/9/03 - present | LPCRSDqviz = -1 * SUM ((MCPEiz - BPMqivz) * Max (0, Min (OLqivz - MRqviz, NETDEQivq)) * LBEAGiv) where: BPMqivz = Max (BPMqivz) |  | LBEDNAGGAMT = -1 * (MCPER - OOMLEDNBPAGG) * [MAX (0, MIN (RPAGG - GSITETOTAGG, NETDEQ) * LBEDNAGGRATIO] where: NETDEQ = MAX (0, [(NETOOMDEQ + NETLBEDQ) - (NETOOMUEQ + NETLBEUQ)] where: NETOOMUEQ = MAX (0, Sum of OOMUEQs - Sum of OOMDEQs) where: NETLBEUQ = MAX (0, Sum of LBEUQs - Sum of LBEDQs) where: NETOOMDEQ = MAX (0, Sum of OOMDEQs - Sum of OOMUEQs) where: NETLBEDQ = MAX (0, Sum of LBEDQs - Sum of LBEUQs) where LBEDNAGGRATIO = [(Sum of LBEUQs + Sum of LBEDQs) / (Sum of LBEUQs + Sum of LBEDQs + Sum of OOMUEQs + Sum of OOMDEQs)] | 7 | 4 | 3.2 | MCPER GSITETOTAGG (intermediate calculation) LBEDNAGGRATIO (intermediate calculation) OOMLEDNBPAGG (intermediate calculation) RPAGG (intermediate calculation) NETDEQ (intermediate calculation) NETLBEDQ (intermediate calculation) LBEDNAGGADJ (as needed effective 12/1/03) | LBEDNAGGPRICE LBEDNAGGQTY LBEDNAGGAMT LBEDNAGGBILLQTY LBEDNAGGBILLAMT | With the implementation of PRRs 369 / 398, generation entities may aggregate, for settlement purposes, two or more individual units if approved by ERCOT (See Protocols 6.8.2.4). Effective with trade day 12/1/03, the LBEDNAGGADJ bill determinant was introduced to manually adjust payments to QSEs on an as-needed basis. The formula is adjusted as follows: LBEDNAGGAMT = -1 * (LBEDNAGGQTY * LBEDNAGGPRICE + LBEDNAGGADJ) | 20 | OOM_ENERGY
Delete |  | 19 | LOCAL BALANCING ENERGY SERVICE CHARGE | LBESC | LBEAMT | 5/6/02 - present | LCCiq = -1 * SUM ((LPCRSUqiz + LPCRSDqiz) * LRSiq) |  | LBEAMT = -1 * [(LBEUPBILLAMTTOT + LBEDNBILLAMTTOT) * (LTOTQSE / LTOTERCOT)] | 7 | 4 | 3.3 | LTOTERCOT LTOTQSE LBEUPBILLAMTTOT LBEDNBILLAMTTOT | LBEPRICE LBEQTY LBEAMT LBEBILLQTY LBEBILLAMT | Note that the "LBEUPBILLAMTTOT" and the "LBEDNBILLAMTTOT" include the amounts paid to aggregated units. | 19 | OOM_ENERGY
Delete |  | 18.2 | OOM ENERGY PAYMENT TO PROVIDER | OOMUEP | EOOMAMT | 7/31/02 - present | PEOOMUPiq = -1 * EOOMUPiuq * [Max [(RCGFCc - MCPEiz) , 0] where: EOOMUPiuq = Max (0, Min ((MRiuq - OLiuq), IOOMUPiuq)) |  | Subgenerators: EOOMAMT = -1 * [(Max (0, (RCGFCU - MCPER)) * Max (0, (Min ((GSITETOT - RP), OOMUEQ))] where: OOMUEQ = Max (0, (OOMIOL / NMLEIOL - RP)) Load Resources (LaaRs): EOOMAMT = -1 * [(Max (Min ((FI * HR), (OOMLEUPBP + MCPER)), MCPER) - MCPER) * Max (0, (Min ((RP - LAARTOT), OOMUEQ))] where: OOMUEQ = Max (0, (RP - OOMIOL / NMLEIOL)) | 6 | 8 | 2.3 | FI GSITETOT HR LAARTOT MCPER NMLEIOL OOMIOL OOMLEUPBP RCGFCU (intermediate calculation) RP OOMUEQ (intermediate calculation) EOOMADJ (as needed effective 12/1/03) | EOOMPRICE EOOMQTY EOOMAMT EOOMBILLQTY EOOMBILLAMT | With the implementation of PRRs 335 / 337, resource category generic fuel costs were incorporated into the OOMUEP formula. See Protocols 6.8.2.1(3) for RCGFC category descriptions and values. Effective with trade day 12/1/03, the EOOMADJ bill determinant was introduced to manually adjust payments to QSEs on an as-needed basis. The formula is adjusted as follows: EOOMAMT = -1 * (EOOMQTY * EOOMPRICE + EOOMADJ) | 18.2 | OOM_ENERGY
Delete |  | 17.2 | OOM ENERGY DOWN TO PROVIDER | OOMDEP | EOOMDNAMT | 7/31/02 - present | PEOOMDNiuqz = -1 * EOOMDNiu * [Max [(MCPEiz - RCGFCc) , 0] where: EOOMDNiu = Max (0, Min ((OLiuq - MRiuq), IOOMDNiu)) |  | EOOMDNAMT = -1 * [(Max (0, (MCPER - RCGFCD)) * Max (0, (Min ((RP - GSITETOT), OOMDEQ))] where: OOMDEQ = Max (0, (RP - OOMIOL / NMLEIOL)) | 6 | 8 | 2.3 | FI GSITETOT MCPER NMLEIOL OOMIOL OOMLEUPBP RCGFCD (intermediate calculation) RP OOMDEQ (intermediate calculation) EOOMDNADJ (as needed effective 12/1/03) | EOOMDNPRICE EOOMDNQTY EOOMDNAMT EOOMDNBILLQTY EOOMDNBILLAMT | With the implementation of PRRs 335 / 337, resource category generic fuel costs were incorporated into the OOMDEP formula. See Protocols 6.8.2.1(3) for RCGFC category descriptions and values. Effective with trade day 12/1/03, the EOOMDNADJ bill determinant was introduced to manually adjust payments to QSEs on an as-needed basis. The formula is adjusted as follows: EOOMDNAMT = -1 * (EOOMDNQTY * EOOMDNPRICE + EOOMDNADJ) | 17.2 | OOM_ENERGY
Delete |  | 16 | AGGREGATED OOM ENERGY PAYMENT TO PROVIDER | OOMUEPAGG | EOOMAGGAMT | 7/9/03 - present | PEOOMUPivq = -1 * EOOMUPivq * [Max [(RCGFCc - MCPEiz) , 0] where: EOOMUPivq = Max (0, Min ((MRiuq - OLiuq), NETUEQ)) * OOMAGRivq |  | EOOMAGGAMT = -1 * (MAX (0, RCGFCU - MCPER) * [MAX (0, MIN (GSITETOTAGG - RPAGG, NETUEQ) * EOOMAGGRATIO] where: NETUEQ = MAX (0, [(NETOOMUEQ + NETLBEUQ) - (NETOOMDEQ + NETLBEDQ)] where: NETOOMUEQ = MAX (0, Sum of OOMUEQs - Sum of OOMDEQs) where: NETLBEUQ = MAX (0, Sum of LBEUQs - Sum of LBEDQs) where: NETOOMDEQ = MAX (0, Sum of OOMDEQs - Sum of OOMUEQs) where: NETLBEDQ = MAX (0, Sum of LBEDQs - Sum of LBEUQs) where EOOMAGGRATIO = [(Sum of OOMUEQs + Sum of OOMDEQs) / (Sum of LBEUQs + Sum of LBEDQs + Sum of OOMUEQs + Sum of OOMDEQs)] | 6 | 8 | 2.3 | FI MCPER RCGFCU (intermediate calculation) GSITETOTAGG (intermediate calculation) EOOMAGGRATIO (intermediate calculation) RPAGG (intermediate calculation) NETUEQ (intermediate calculation) NETOOMUEQ (intermediate calculation) EOOMAGGADJ (as needed effective 12/1/03) | EOOMAGGPRICE EOOMAGGQTY EOONAGGAMT EOOMAGGBILLQTY EOOMAGGBILLAMT | With the implementation of PRRs 369 / 398, generation entities may aggregate, for settlement purposes, two or more individual units if approved by ERCOT (See Protocols 6.8.2.4). Effective with trade day 12/1/03, the EOOMAGGADJ bill determinant was introduced to manually adjust payments to QSEs on an as-needed basis. The formula is adjusted as follows: EOOMAGGAMT = -1 * (EOOMAGGQTY * EOOMAGGPRICE + EOOMAGGADJ) | 16 | OOM_ENERGY
Delete |  | 15 | AGGREGATED OOM ENERGY DOWN TO PROVIDER | OOMDEPAGG | EOOMDNAGGAMT | 7/9/03 - present | PEOOMDNivq = -1 * EOOMDNivq * [Max [(MCPEiz - RCGFCc) , 0] where: EOOMDNivq = Max (0, Min ((Oliuq - MRiuq), NETDEQ)) * OOMAGRivq |  | EOOMDNAGGAMT = -1 * (MAX (0, MCPER - RCGFCD) * [MAX (0, MIN (RPAGG - GSITETOTAGG, NETDEQ) * EOOMDNAGGRATIO] where: NETDEQ = MAX (0, [(NETOOMDEQ + NETLBEDQ) - (NETOOMUEQ + NETLBEUQ)] where: NETOOMUEQ = MAX (0, Sum of OOMUEQs - Sum of OOMDEQs) where: NETLBEUQ = MAX (0, Sum of LBEUQs - Sum of LBEDQs) where: NETOOMDEQ = MAX (0, Sum of OOMDEQs - Sum of OOMUEQs) where: NETLBEDQ = MAX (0, Sum of LBEDQs - Sum of LBEUQs) where EOOMDNAGGRATIO = [(Sum of OOMUEQs + Sum of OOMDEQs) / (Sum of LBEUQs + Sum of LBEDQs + Sum of OOMUEQs + Sum of OOMDEQs)] | 6 | 8 | 2.3 | FI MCPER RCGFCD (intermediate calculation) GSITETOTAGG (intermediate calculation) EOOMDNAGGRATIO (intermediate calculation) RPAGG (intermediate calculation) NETDEQ (intermediate calculation) NETOOMDEQ (intermediate calculation) EOOMDNAGGADJ (as needed effective 12/1/03) | EOOMDNAGGPRICE EOOMDNAGGQTY EOOMDNAGGAMT EOOMDNAGGBILLQTY EOOMDNAGGBILLAMT | With the implementation of PRRs 369 / 398, generation entities may aggregate, for settlement purposes, two or more individual units if approved by ERCOT (See Protocols 6.8.2.4). Effective with trade day 12/1/03, the EOOMDNAGGADJ bill determinant was introduced to manually adjust payments to QSEs on an as-needed basis. The formula is adjusted as follows: EOOMDNAGGAMT = -1 * (EOOMDNAGGQTY * EOOMDNAGGPRICE + EOOMDNAGGADJ) | 15 | OOM_ENERGY
Delete |  | 14 | OOM ENERGY CHARGE | ELAOOM | ELAOOMAMT | 7/31/01 - present | ELAOOMiq = -1 * SUM (EOOMUPiz + EOOMDNiz)z * LRSiq |  | ELAOOMAMT = -1 * [(EOOMBILLAMTTOT + EOOMDNBILLAMTTOT) * (LTOTQSE / LTOTERCOT)] | 6 | 9 | 7.2 | LTOTERCOT LTOTQSE EOOMBILLAMTTOT EOOMDNBILLAMTTOT | ELAOOMPRICE ELAOOMQTY ELAOOMAMT ELAOOMBILLQTY ELAOOMBILLAMT | Note that the "EOOMBILLAMTTOT" and the "EOOMDNBILLAMTTOT" include the amounts paid to aggregated units. | 14 | OOM_ENERGY
Delete | Replace with Da RUC and Ha RUC | 13.1 | OOM REPLACEMENT CAPACITY PAYMENT | PCOOM | PCOOMAMT | 7/31/02 - Present | PCOOMRPqi = SUB(PCOOMRPqui)u Given: PCOOMRPqui = -1*MIN[BPRpqui*COOMRPui, MAX[0,(PSui+POui-RCui)]] If the unit is deemed to be online as described in 6.8.2.1(3) Then: PSui = 0 If the unit is deemed to be offline as described in 6.8.2.1(2) Then: PSui = RCGSC/(number of hours) POui = RCGOCc*COOMRPui RCui = SUM{[MAX(0,(MCPEjz-(16*FIP)))]*COOMRPui/4}j |  | PCOOMAMT = -1*(MIN(BPRP*OOMRPQ,MAX(0,(PS+PO-RC)))) Where: BPRP = OOMHRBP+(OOMSUBP/# HRS OF CONTINUOUS HOURS PS = RCGSC//# HRS OF CONTINUOUS HOURS PO = RCGOC*OOMRPQ RC = SUM{[MAX (0, (MCPER – (16 * FI))/4)] *OOMRPQ} | 6 | 8 | 2.2 | FI MCPER (New in calculation) OOMHRBP OOMRPQ OOMSUBP OOMCADJ (as needed effective 12/1/03) RC (Intermediate Calculation) RCGOC (New) (intermediate calculation) RCGSC (New) (intermediate calculation) PO (New) (Intermediate calculation) PS (New) (Intermediate calculation) | PCOOMPRICE PCOOMQTY PCOOMAMT PCOOMBILLQTY PCOOMBILLAMT | With the implementation of PRR335, PRR338, and PRR347, resource category generic startup and operating costs were incorporated into the PCOOM formula. See Protocols Section 6.8.2.1 for RCGSC and RCGOC category descriptions and values. Effective with trade day 12/1/03, the OOMCADJ bill determinant was introduced to manually adjust payments to QSEs on an as-needed basis. The formula is adjusted as follows: PCOOMAMT = -1*(MIN(BPRP*OOMRPQ,MAX(0,(PS+PO-RC)))+OOMCADJ) | 13.1 | OOM_REPLACEMENT_ RESERVE | RLR_ST_SETTLE_FOR_ CONGESTION
Delete | Replace with Da RUC and Ha RUC Charges | 12 | OOM REPLACEMENT CAPACITY CHARGE | LAOOM | LAOOMAMT | 7/31/01 - present | LAOOMRPqi = -1 * PCOOMRPi * LRSqi Where: i: interval u: unit z: zone LAOOMqi: OOM Replacement Capacity Load Allocation Charges ($) for that QSE in that interval PCOOMRPi: OOM Replacement Capacity Costs ($) for the total market for that interval LRSqi: Load Ratio Share (0-1) = (Adjusted Metered Load for that QSE per interval/ Total System Load per interval) |  | LAOOMAMT = -1 * (PCOOMAMT * (LTOTQSE [Sum of 4 Intervals in Hour] / LTOTERCOT [Sum of 4 Intervals in Hour])) Where: LAOOMAMT: Load Allocation for OOM Capacity collected from or paid to a QSE in that interval. PCOOMAMT: Sum of all payments to generating QSE’s per interval LTOTQSE: Load total per QSE, per interval LTOTERCOT: Load total for ERCOT (all QSE’s) per interval | 6 | 9 | 7.1 | LTOTERCOT LTOTQSE PCOOMAMT | LAOOMPRICE LAOOMQTY LAOOMAMT LAOOMBILLQTY LAOOMBILLAMT |  | 12 | OOM_REPLACEMENT_ RESERVE | RLS_ST_MARKET_LEVEL_ SETTLEMENTS
Verify |  | 10.1 | RMR STANDBY | SBRMR | SBRMRAMT | 01/01/04 - present | SBRMRhq = SUM(SBRMRuhq)u where: SBRMRuhq = -1 * AvailRedu * StbyPriceu * BillCapuh where: BillCapuh = IF (TestCapu < RMRCapu, RMRCapu *(1 – TestCapRedu), RMRCapu) where: TestCapReduh = ((RMRCapu – TestCapuh) / RMRCapu) * 2 where: AvailRedu = IF (HrRollEAFuh >= TA, 1, IF(HrRollEAFuh > .35, (1-((TA - HrRollEAFuh)*2)), 0) where: HrRollEAFuh =IF (Elapsed Hours < 4379, 1, ((AvailGenCapuh + ∑AvailGenCapuh4379) /(MaxGenCapuh + (∑MaxGenCapuh4379)) where: AvailGenCapuhi = MIN (AvailPlanCapuh, MiscondCapuh, MaxGenCapuh) where: MaxGenCapu = Min(RMRCapu, TestCapu) where: MiscondCapuh = IF (AMDuh >= (.98 * AvailPlanCapuh), AvailPlanCapuh, AMDuh) also: SBRMRi = SUM(SBRMRhuq)q / n prior to true-up: SBRMRmu = [monthly estimate +/- adjustment for Eligible Costs + incentive factor]/h |  | SBRMRAMT = -1 * RMRSTBYPR * RMRBC | 6 | 8 | 3.1 | RMRBC (account contract table) RMRSTBYPR (account contract table) | SBRMRPRICE SBRMRQTY SBRMRAMT SBRMRBILLQTY SBRMRBILLAMT | RMRSTBYPR is identified from the RMR agreements, adjusted where AvailRedu falls below 1. | 10.1 | RMR | RLR_ST_CONTRACTS_FOR_ OTHER_CHARGES
Verify |  | 9.1 | RMR STARTUP | SURMR | SURMRAMT | 01/01/04 - present | None |  | SURMRAMT = -1 * RMRSTARTPR * IF (a start is required by ERCOT in this interval, 1, 0) | n/a | n/a | n/a | RMREQ RMRSTARTPR (account contract table) | SURMRPRICE SURMRQTY SURMRAMT SURMRBILLQTY SURMRBILLAMT | For trade days in Year 2004, SURMR is used to calculate RMR startup fuel payments only. | 9.1 | RMR | RLR_ST_CONTRACTS_FOR_ OTHER_CHARGES
Verify |  | 8.1 | RMR ENERGY TO PROVIDER | RMREP | RMREPAMT | 01/01/04 - present | ERMRiq = SUM(ERMRui)q |  | RMREPAMT = -1 * MIN (RMREQ, GSITETOT) * ((RMRHR * RMRFI) + RMRVCC) | 6 | 8 | 3.3 | GSITETOT RMREQ RMRHR (account contract table) RMRFI (account contract table) RMRVCC (account contract table) | RMREPPRICE RMREPQTY RMREPAMT RMREPBILLQTY RMREPBILLAMT | For trade days in Year 2004, the value of RMRVCC is zero. | 8.1 | RMR | RLR_ST_CONTRACTS_FOR_ OTHER_CHARGES
Verify |  | 7 | RMR NON PERFORMANCE | NPRMR | NPRMRAMT | 10/01/02 - present | UMRMRiq = SUM(UMRMRiu)q where: UMRMRiu = Fee * UMF |  | NPRMRAMT = NPFF * NDUMCF | 6 | 8 | 3.8 | NDUMCF (account contract table) NPFF (factor value) | NPRMRPRICE NPRMRQTY NPRMRAMT NPRMRBILLQTY NPRMRBILLAMT |  | 7 | RMR | RLR_ST_CONTRACTS_FOR_ OTHER_CHARGES
Verify |  | 6 | RMR ENERGY IMBALANCE | EIRMR | EIRMRAMT | 10/01/02 - present | ERRMRiq = SUM(ERRMRiu)q where when Option A: ERRMRiu = [max(0, (MRiu - RSiu)) * MCPEiz * GRRP] where when Option B: ERRMRiu = [Max (0, (MRiu - RSiu)) * [Max (0, (MCPEiz - RMREriu))] * MRP] |  | Option A EIRMRAMT = [MAX (0, (GSITETOT – RMREQ)) * MCPER * RMRRP] Option B EIRMRAMT = [MAX (0, (GSITETOT – RMREQ))] * [MAX (0, MCPER – ((RMRHR * RMRFI) + RMRVCC)) * NRMRRP] | 6 | 8 | 3.7 | GSITETOT RMREQ MCPER RMRHR (account contract table) RMRFI (account contract table) RMRVCC (account contract table) RMRRP (account contract table) NRMRRP (account contract table) | EIRMRPRICE EIRMRQTY EIRMRAMT EIRMRBILLQTY EIRMRBILLAMT | For trade days in Year 2004, the value of RMRVCC is zero. | 6 | RMR | RLR_ST_CONTRACTS_FOR_ OTHER_CHARGES
Verify |  | 5 | RMR RESERVE SERVICE CHARGE | LARMR | LARMAMT | 10/01/02 - present | LARMRiq = -1 * (Σ(ERMRiq) + Σ(SURMRiq) + Σ(SBRMRiq) + Σ(UMRMRiq) + Σ(ERRMRiq)) * LRSiq |  | LARMRAMT = -1 * (EIRMRBILLAMTTOT + SURMRBILLAMTTOT + SBRMRBILLAMTTOT + NPRMRBILLAMTTOT + RMREPBILLAMTTOT) * (LTOTQSE/LTOTERCOT) | 6 | 9 | 4.2 | EIRMRBILLAMTTOT SURMRBILLAMTTOT SBRMRBILLAMTTOT RMREPBILLAMTTOT NPRMRBILLAMTTOT LTOTERCOT LTOTQSE | LARMRPRICE LARMRQTY LARMRAMT LARMRBILLQTY LARMRBILLAMT | For trade days in Year 2004, SURMR includes RMR startup fuel payments only. | 5 | RMR | RLS_ST_MARKET_LEVEL_ SETTLEMENTS
No Change |  | 4 | BLACK START STANDBY | BSB | BSBAMT | 1/1/02 - present | PCBSqi = -1 * SUM (BillPctui * BSCPu)u PCBSui = -1 * (BillPctui * BSCPu) BillPctui = IF (HrRollEAFui >= .85,1,IF (HrRollEAFui > .35, - (1- ((.85-HrRollEAFui) * 2)), 0)) HrRollEAFui = ((∑h=1-4380 AvailBlkui) / 4380) AvailBlkui = Y Where: Y = 0 for unavailable service Y = 1 for available service Where: i interval u single Resource BSCPu Black Start Contract Price of that single Resource PCBSqi Procured Capacity Payment for Black Start Service per interval for the QSE BillPctui Reduced Percentage of payment due to less than eighty-five percent (85%) availability. HrRollEAFui Hourly Rolling Equivalent Availability Factor over a rolling six-month period. AvailBlkui Available of service PCBSui = -1 * (BillPctui * BSCPu) |  | BSBAMT = -1 * BSBBC * BSBSTBYPR | 6 | 8 | 5 | BSBBC (accounts contract table) BSBSTBYPR (accounts contract table) | BSBPRICE BSBQTY BSBAMT BSBBILLQTY BSBBILLAMT | BSBBC = Black Start Contract Price (Static in L*) BSBSTBYPR = Black Start Stand By Start Up Price (Static in L*) | 4 | BLACK_START | RLR_ST_CONTRACTS_FOR_ OTHER_CHARGES
No Change |  | 3 | BLACK START CAPACITY CHARGE | BLA | BLAAMT | 1/1/02 - present | LABSqi = -1 * PCBSi * LRSqi Where: PCBS = Procured Capacity ($) for Black Start per interval. LRS = Load Ratio Share for the QSE per interval LABS = Black Start Load Charge per interval per QSE. |  | BLAAMT = -1 * BSBBILLAMTTOT * (LTOTQSE / LTOTERCOT) | 6 | 9 | 4.1 | BSBBILLAMTTOT LTOTQSE LTOTERCOT | BLAPRICE BLAQTY BLAAMT BLABILLQTY BLABILLAMT |  | 3 | BLACK_START | RLS_ST_MARKET_LEVEL_ SETTLEMENTS
Verify | Add Clarity | 2 | BALANCING UP LOAD | PCBUL | PCBULAMT | 11/12/03 - present |  |  |  | 6 | 5 | 1.14 | DISBUL FSBUL ZIDUP ZIDDN NSZID NZID RRNZID AIMLDBL (from data agg) AIMLSBL (from data agg) AMLBPDBL (from data agg) AMLPDBL (from data agg) AMLPSBL (from data agg) BMRDBL (from data agg) BMRSBL (from data agg) BRATDBL (from data agg) BRATSBL (from data agg) BULETR (from data agg) BULPM (from data agg) BUL (from data agg) DIBUL (from data agg) DSL (from data agg) DSR (from data agg) | PCBULPRICE PCBULQTY PCBULAMT PCBULBILLQTY PCBULBILLAMT |  | 2 | BUL
Verify | Add Clarity | 1 | BALANCING UP LOAD SERVICE CHARGE | LABUL | LABULAMT | 11/12/03 - present |  |  |  | 6 | 9 | 6 | LTOTERCOT LTOTQSE PCBULBILLAMTTOT | PCBULPRICE PCBULQTY PCBULAMT PCBULBILLQTY PCBULBILLAMT |  | 1 | BUL
Add | Payments to CRR Holders
Add | Da Model Payment
Add | Da Model Charge
Add | CRR Dispersments
Add | Da RUC Make Whole Payment
Add | Ha RUC Make Whole Payment
Add | Da RUC Charge
Add | Ha RUC Charge