| PRR Number | 492PRR | PRR Title | Plan to Alleviate Chronic Local Congestion Charges |
| --- | --- | --- | --- |
| Recommended Action |  | Approve as revised |  |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Adds new Section 7.4.5, Plan to Alleviate Chronic Local Congestion Charges |  |
| Proposed Effective Date |  | Upon system implementation and filling ERCOT staffing requirements |  |
| Priority & Rank Assigned |  | Pending PRS Review |  |
| Summary of Impact Analysis |  | ERCOT computer system impact to link manual OOMC/OOME instructions with root cause analysis and to automate the report to the MIS; requires an additional 2 FTEs not included in the 2004 budget for implementation with either system implementation or Option A of the manual workarounds suggested; if Option B of the manual workarounds is implemented, 2 additional FTEs would be required (for a total of 4 new FTEs); has business function impacts in the processes for tracking Local Congestion costs, determining operating solutions, and identifying long-term planning needs – these functions are incremental adjustments to existing ERCOT initiatives; no identified impacts to grid operations. |  |
| Revision Description |  | The PRR requires ERCOT to identify and implement feasible solutions to address local transmission constraints once certain dollar thresholds are met. |  |
| Benefit |  | This PRR would identify areas of chronic transmission Congestion and require the necessary transmission planning and implementation of a plan to alleviate the transmission Congestion. The Protocols do not currently include such a requirement. |  |
| PRS Recommendation |  | PRS recommends approval as revised by PRS and the PRR492 Task Force comments. |  |

| Sponsor |  |
| --- | --- |
| Name | Kevin E. Gresham |
| E-mail Address | kgresham@reliant.com |
| Company | Reliant Energy, Inc. |
| Company Address | 1000 Main St., Houston, Texas 77002 |
| Phone Number | (713) 497-7352 |
| Fax Number |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Requires Resources to be dedicated to work with the TDSP on an expedited basis to identify feasible alternatives once an area of local transmission Congestion meets the threshold. Requires additional reporting. | None | Assists in prioritizing its transmission planning focus. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Provides a plan to relieve chronic local transmission Congestion, thus increasing market efficiency and lowering the overall cost of Congestion to the market, which is paid on an ERCOT-wide basis. |
| LSE: General, Including NOIE | None | None | Provides a plan to relieve chronic local transmission Congestion, thus increasing market efficiency and lowering the overall cost of Congestion to the market, which is paid on an ERCOT-wide basis. |
| LSE: CR & REP | None | None | Provides a plan to relieve chronic local transmission Congestion, thus increasing market efficiency and lowering the overall cost of Congestion to the market, which is paid on an ERCOT-wide basis. |
| QSE | None | None | Provides a plan to relieve chronic local transmission Congestion, thus increasing market efficiency and lowering the overall cost of Congestion to the market, which is paid on an ERCOT-wide basis. |
| Resource |  |  | N/A |
| TDSP | Requires TDSPs to quickly identify and implement feasible alternatives to resolve local transmission Congestion. | N/A | Not Known |

Proposed Protocol Language Revision

{Language below reflects PRR492 Task Force comments dated 03/09/04}

    - Plan to Alleviate Chronic Local Congestion Charges [new]

ERCOT shall monitor Local Congestion Area costs and post a report on the MIS ten (10) days following the end of the month.  The report will include the amount of Local Congestion Area costs by type of payment to Resources (e.g., OOME Up, OOME Down, and OOMC) including discussion of the limiting transmission element(s) or other significant events that may have contributed to Local Congestion as available.  This information will also be reported monthly to the ERCOT Board of Directors, PUCT Market Oversight Division, and appropriate ERCOT subcommittees.

For the purposes of this section, “Local Congestion Area” is defined as a sub-region of a Congestion Zone in which ERCOT dispatches OOME, OOMC or local Balancing Energy Service on a regular basis as described in the ERCOT monthly report of Local Congestion Cost.

If the amount of OOME, OOMC or local Balancing Energy Service in a Local Congestion Area exceeds a threshold amount of either $10 million during the most current twelve (12) consecutive months or $5 million in the most current three (3) consecutive months, ERCOT shall report such to the ERCOT Board, PUC Market Oversight Division and appropriate ERCOT subcommittees and shall initiate a study to identify feasible alternatives that may, at a future time, be more economically efficient than the continued use of OOME, OOMC, or local Balancing Energy Service.

ERCOT shall develop feasible alternatives and their associated costs to reduce or replace the use of OOME, OOMC, or local Balancing Energy Service.  At a minimum, the list of feasible alternatives that ERCOT shall include, but not be limited to, consideration of a new CSC for the following year under Section 7.2.1.1, Process for Determining CSCs, item (2), a change in ERCOT operations affecting the Local Congestion, construction of new or expansion of existing Transmission Facilities, installation of voltage control devices, more accurate modeling of transmission line or transformer MVA Real Time limits, solicitation or auctions for interruptible Load from Retail Electric Providers when such Protocols are available, or continued use of OOME, OOMC, or local Balancing Energy Service.

ERCOT shall report, no later than forty-five (45) days after the threshold is exceeded, on the feasible alternatives available to reduce Local Congestion below the threshold amount.  The report will include:

- The root cause of the Local Congestion;

- Current actions of the TDSP and/or ERCOT to relieve such Local Congestion;

- A review of ERCOT’s operations (e.g., Dispatch Instructions, transmission line limits, etc.);

- A determination of short term mitigation measures that could reduce the use of OOME, OOMC or local Balancing Energy Service; and

- The amount of market impact caused by the Local Congestion.

The report shall include an implementation plan, timeline, and recommendations regarding short-and long-term solutions to the Local Congestion as appropriate.  The implementation plan may identify studies to be conducted prior to recommendations for short- and long-term solutions to the Local Congestion.  This report shall be posted on the MIS and provided to the PUCT Market Oversight Division, the appropriate ERCOT subcommittee(s), and ERCOT Board of Directors.  Subsequent to the initial report, ERCOT staff shall provide monthly updates on the schedule and planning status to the PUCT Market Oversight Division, appropriate ERCOT subcommittee(s), and the Board.  ERCOT will use its best efforts to implement short- and long-term solutions as quickly as practical.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| CNP | Revised language. |
| ERCOT | Recommends remand to an appropriate stakeholder group. |
| Oncor | Revised language. |
| PRS Task Force | Revised language. |
| ERCOT | Revised language. |

| Sponsor's Revision Description | The PRR requires ERCOT and the associated TDSP to identify and implement feasible alternatives to local transmission once certain dollar thresholds are met. |
| --- | --- |
| Sponsor's Reason for Revision | This PRR would rapidly identify areas of chronic transmission Congestion and require the necessary transmission planning and implementation of a plan to alleviate the transmission Congestion. The Protocols do not currently include such a requirement. |