# Major Market Component

DC Ties

# Purpose

To define how flows into and out of the ERCOT market through the DC ties will be treated.

# Time Frame

Scheduling, real time and settlement

# Definitions

DC Tie – asynchronous electrical connection between the ERCOT Control Area and interconnected non-ERCOT Control Area(s).

Description

Scheduling, operations, and inadvertent treatment of the DC ties will remain as defined in Section 4.4.18.

Use of the DC Ties during EECP will remain as defined in Section 5.6.6.1 and 5.6.7.

Responsive reserve service provided through the DC Tie will be the same as that in Section 6.1.4 and 6.5.4.

Uninstructed deviation treatment goes away (6.8.1.15.3).

Outage coordination will be reported as is noted in 8.3.

Resource offer curves may be submitted by those scheduling imports across the tie in the day ahead markets.

# Settlement of the DC Ties

For imports, treat the DC tie as a resource, settling at the nodal price.

For exports, treat each DC tie as its own load zone and settle it at the nodal price.

Maintain the loss, A/S, UFE and Admin Fee allocations as defined in current ERCOT Protocols Section 4.4.18.4.

#### 4.4.18.4 Scheduling DC Tie Transactions

DC Tie schedule requirements are set forth in the Scheduling Document.

#### 4.4.18.5  Settlement

A QSE exporting from ERCOT through a DC Tie export schedule will include that DC Tie export schedule by using the identifier field indicating the appropriate DC Tie.  Exports from ERCOT via DC Ties will be treated as a Load connected at transmission voltage in the settlement system and are responsible for allocated Transmission Losses, UFE, ERCOT administrative fees, as described in Section 9, Settlement and Billing, and any other applicable ERCOT fees.

The export schedules from the Public Service Company of Oklahoma, the Oklahoma Municipal Power Authority or the West Texas Utilities Company share of the Oklaunion Resource over the North DC Tie will not be treated as Load connected at transmission voltage, will not be subject to any of the fees described above, and will be limited to the actual net output of the Oklaunion Resource.  ERCOT will record these schedules to support the billing of applicable TDSP tariffs.

Any QSE requesting the aforementioned “Oklaunion Exemption” is required to:

- Apply to ERCOT for the exemption;

- Establish a separate QSE (or sub-QSE) for the sole purpose of scheduling DC Tie exports for which the exemption would be applied;

- Secure the resources for a balanced schedule via a "bilateral" QSE transfer from the QSE(s) who actually represent the PGC(s) for Oklaunion.

With respect to the “Oklaunion Exemption,” on a periodic basis ERCOT will verify that the sum of the “exempted” exports are not greater than the total output from the Oklaunion resource at the settlement interval level.

A QSE importing into ERCOT through a DC Tie import schedule will include that DC Tie import schedule as a Supply in its Balanced Schedule by using the identifier field indicating the appropriate DC Tie.  Imports into ERCOT via DC Ties will be treated as a Resource at the DC Tie node in the settlement system.

Any changes in the interconnected non-ERCOT Control Area schedules due to a de-rating of the tie or other change within the NERC scheduling protocols will be communicated to ERCOT by the DC Tie Operator or designated security coordinator for the interconnected non-ERCOT Control Area.  For any interconnected non-ERCOT Control Area schedules that are revised during the Operating Period, the DC Tie Operator shall communicate to the ERCOT the integrated schedule for the Settlement Intervals.  If the DC Tie schedule flows as planned, then ERCOT will use schedules as the deemed meter readings for purposes of settlement.  If the interconnected non-ERCOT Control Area schedule changes during the Operating Period, then ERCOT will use the changed interconnected non-ERCOT Control Area schedule as the deemed meter readings for purposes of settlement.  ERCOT will not change the Supply or Obligation schedule of the QSE during the Operating Period.

Other sections affected

Admin fee – 9.7.1

Information provided to TDSPs 9.8.2