Major Market Component:

Resource Bidding Structure

Purpose:

Define data required from Resources and Loads to bid in the various markets

Time Frame:

Day Ahead, RUC and Real Time

Applications/Process Description:

Day Ahead Market Bidding

The following business rules apply to Market Buyers:

- (1) Market Buyers may submit hourly demand quantities for which it commits to purchase energy at day-ahead prices for consumption in the next Operating Day. Demand bids shall consist of either:  Quantity bids must specify a MW quantity at an ERCOT defined Transaction Point.

  - (a) bids that specify MW quantity, Settlement Point (Load Zone, Trading Hub, or Resource Node), and a monotonically decreasing price curve limited to no more than 10 price/qty pairs; or

- (b) bids in single bid blocks that may link one or more consecutive hours. These bids shall specify hours, MW quantity, Settlement Point  and a “not to exceed” price.

- (2) Price-sensitive demand bids, increment offers, and decrement bids must be consistent with the $+-1000/MWh bid/offer cap.

Market Sellers

The following business rules apply to Market Sellers:

- (1)	 For E-HDAM, uncommitted Generation offers may consist of startup, minimum-energy, and an energy offer curve. All other Resources may offer an energy curve only.  An energy offer may not exceed $+-1000/MWh.   For three part offers the energy curve will be the same for all hours of the day.  For the Auction Model only the energy offer will be required.

(2)	Offers may be submitted in single offer blocks linking one or more consecutive hours. These offers shall specify hours, MW quantity, Settlement Point and a “minimum reservation” price.

(3) 	Energy offers shall consist of a monotonically increasing price curve with no more than 10 price/qty pairs.

- (4) 	A Resource offer curve that is a part of a three part offer accepted for the day-ahead market automatically carries over into the balancing market. This is not needed for the ADAM, but is for the E-HDAM.

- (5) 	A generator offer for a generating unit with combined cycle capability shall make available only one offer curve for each power block for a single combined cycle configuration as defined in the appendix of the Real-Time Operations Whitepaper.

- (6) 	Market Sellers may submit price curves at any Hub, Load Zone, or Resource Node for which an LMP is calculated. It is not required that physical generation or load exists at the location that is specified in the increment offer or decrement bid.

Other information that may be required to implement the bidding process:

| Multi – Part Unit Ramp Curves | Max Daily Starts |
| --- | --- |
| Hot Startup ($) | Max Weekly Energy (MWh) |
| Intermediate Startup ($) | Hot to Cold Time (hr) |
| Cold Startup ($) | Hot to Inter Time (hr) |
| Minimum-Energy ($/MWh) | Hot Notification Time (hr) |
| Emergency Max MW | Inter Notification Time (hr) |
| Economic Max MW | Cold Notification Time (hr) |
| Economic Min MW | Hot Start Time (hr) |
| Emergency Min MW | Inter Start Time (hr) |
| Min. Downtime (hr) | Cold Start Time (hr) |
| Min. Runtime (hr) | Condense Startup Cost ($) |
| Max Weekly Starts | Condense Hourly Cost ($/hr) |
| Max Runtime (hr) | Condense Power (MW) |

Ancillary Services Bidding

- Resources shall provide offer curves for ancillary services on a unit specific basis.

- Offers shall indicate capacity offered, offer price and the ancillary service for which the offer applies.

- Any self-scheduled ancillary services must be scheduled in the Day Ahead Scheduling Process.

Reliability Unit Commitment Bidding

- The RUC analysis shall use the default startup and minimum-energy costs or offers submitted in the Day Ahead RUC Process.  The offers submitted shall not exceed the default values.

- Units considered in the RUC process must also have energy curves submitted.

Intra-Day Offer Revisions

- For units not eligible for “make-whole” payments from the EHDAM or RUC, energy offer curves may be modified one hour prior to the start of the operating hour.

(2)	For units that are eligible for “make-whole” payments from the EHDAM or RUC that are required to change fuel due to external fuel curtailments during the operating day energy offer curves may be modified one hour prior to the start of the operating hour.

SCED Bidding

- (1) 	Self-scheduled generation may submit a price curve at which it would operate in real-time.

- (2) 	Energy offers shall consist of a monotonically increasing price curve with no more than 10 price/qty pairs.  A generation offer may not exceed $+-1000/MWh.

- (3) 	If a resource does not submit offer data, the units will be price takers at their node.

(4) 	Real Time offers must be submitted for the node at which the resource is connected to the grid.

(5) 	One megawatt is the minimum offer quantity.

# Inputs – see above

# Outputs – see above

# Definitions –

Multi – Part Unit Ramp Curves - The default ramp rate, in MW/minute, for increasing or decreasing a unit’s output at differing levels of plant output.

Hot Startup ($) - The hot temperature startup offer, specified in dollars, for a price-based unit

Intermediate Startup ($) - The intermediate temperature state startup offer, specified in dollars, for a price-based unit

Cold Startup ($) - The cold temperature startup offer, specified in dollars, for price-based units

No Load Cost ($/hr) - The no load offer, specified in dollars, for a price-based unit

High Sustained Limit MW - The highest unrestricted level of energy, in MW, that the operating company operates the unit.

Low Sustained Limit MW - The minimum energy available, in MW, from the unit for economic dispatch.

Emergency Max MW - the highest short-term MW level a generating unit can produce and may require extraordinary procedures to produce the desired output.

Emergency Min MW - Lowest level of energy, in MW, the unit can produce and maintain a stable level of operation

Min. Downtime (hr) – The minimum number of hours between starts as submitted by the QSE.

Min. Runtime (hr) - The minimum number of hours a unit must run, from the time the unit is put online to the time the unit is shut down

Max Runtime (hr) - The maximum number of hours a unit can run before it needs to be shut down, calculated as difference between the time the unit is put on-line to the time the unit is shut down

Max Weekly Starts - The maximum number of times a unit can be started in one week under normal operating conditions

Max Daily Starts - The maximum number of times that a unit can be started in a day under normal operating conditions.

Max Weekly Energy (MWh) - The maximum amount of energy, reported in MWh, that the unit can produce in one week

Hot to Cold Time (hr) - The amount of time, in hours, after shutdown that a hot temperature state unit takes to cool down to cold temperature state.

Hot to Inter Time (hr) - The amount of time, in hours, after shutdown that a hot temperature state unit takes to cool down to intermediate temperature state.

Hot Notification Time (hr) - The time interval between ERCOT notification and the start sequence of a generating unit that is currently in its hot temperature state.

Inter Notification Time (hr) - The time interval between ERCOT notification and the start sequence of a generating unit that is currently in its intermediate temperature state.

Cold Notification Time (hr) - The time interval between ERCOT notification and the start sequence of a generating unit that is currently in its cold temperature state.

Hot Start Time (hr) - The time interval, measured in hours, from the actual unit start sequence to the unit breaker closing for a generating unit in its hot temperature state.

Inter Start Time (hr) - The time interval, measured in hours, from the actual unit start sequence to the unit breaker closing for a generating unit in its intermediate

temperature state.

Cold Start Time (hr) - The time interval, measured in hours, from the actual unit start sequence to the unit breaker closing for a generating unit in its cold temperature state.

Condense Startup Cost ($) - The offer price, in dollars, for starting up the unit to run in synchronous condensing mode.

Condense Hourly Cost ($/hr) - The offer price, in dollars/hour, to run the unit in the synchronous condensing mode

Condense Power (MW) - The hourly power consumption requirement, measured in MW, when the unit is operated in synchronous condensing mode.