| OGRR Number | 142OGRR | OGRR Title | DOE and NERC Reporting |
| --- | --- | --- | --- |
| Operating Guide Section Requiring Revision |  | 3.1.3.4, QSE Responsibility for Department of Energy (DOE) and NERC Reportable Events [new] 3.1.5.1, Disturbance Reporting |  |
| Protocol Section Requiring Revision, if any. |  | ## N/A |  |
| Requested Resolution |  | ## Normal |  |
| Revision Description |  | Changes the reporting processes by having TDSPs and QSEs provide required disturbance data for DOE/NERC reportable events to the ERCOT Control Area Authority, who will distribute the report to the DOE and NERC. |  |
| ###### Reason for Revision |  | Clarification of the Operating Guide’s DOE / NERC reporting requirements. Adds QSE reporting requirement. ERCOT, as the Control Area Authority, should be the reporting Entity for DOE/NERC events. |  |
| ## Timeline |  |  |  |
| Date Posted |  | 12/8/03 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| ## Sponsor |  |
| --- | --- |
| Name | Rick Keetch, on behalf of the OWG |
| E-mail Address | rkeetch@reliant.com |
| Company | Reliant Energy |
| Company Address | P. O. Box 1700, Houston, TX 77251 |
| Phone Number | 713-497-2526 |
| Fax Number | 713-497-9720 |

Proposed Operating Guide Language Revision

[Add New 3.1.3.4 for QSEs]

      - QSE Responsibility for Department of Energy (DOE) and NERC Reportable Events

QSEs shall provide ERCOT with the necessary information for the DOE or NERC reportable events that happen in areas they represent.  ERCOT, as the Control Area Authority, will send these reports to the DOE and NERC as required.

#### 3.1.5.1	 Transmission Operator Responsibility for Department of Energy (DOE) and NERC Reportable Events

TOs shall provide ERCOT with the necessary information forthe DOE or NERC reportable  events that happen in areas they represent. ERCOT, as the Control Area Authority, will send these reports to the DOE and NERC as required.