| PRR Number | 513PRR | PRR Title | Verification of Operational Model after Recurring Local Congestion Event |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 7.4.1, Determination of Local Congestion |  |
| Requested Resolution (Normal or Urgent) |  | Urgent – See “Reason for Revision” |  |
| Revision Description |  | After an event has caused Local Congestion for two times within a three-day period or three times within a five-day period, this PRR would make it mandatory for ERCOT to contact the appropriate TO to (1) verify transmission line ratings, (2) verify modeling of the transmission system, and (3) determine with the TO if any transmission operational intervention could relieve congestion. |  |
| Reason for Revision |  | Reduce risks of Local Congestion costs to the market due to recurring events |  |
| Timeline |  |  |  |
| Date Posted |  | 4/16/04 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Robert Kelly |
| E-mail Address | rkelly@brazoselectric.com |
| Company | Brazos Electric |
| Company Address | Box 2585, Waco, TX 76702-2585 |
| Phone Number | 254-750-6353 |
| Fax Number | 254-750-6340 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Additional operator and engineering time | Potential data and configuration updates to Operational Model | Comprehensive Operational Model |
| MARKET SEGMENT | None | None | Reduce risks of local congestion costs |
| Consumer | None | None | Reduce risks of local congestion costs |
| LSE: General, Including NOIE | None | None | Reduce risks of local congestion costs |
| LSE: CR & REP | None | None | Reduce risks of local congestion costs |
| QSE | None | None | Reduce risks of local congestion costs |
| Resource | None | None | Potential of less OOM |
| TDSP | Additional operator and engineering time | None | Confirmation that ERCOT Operational Model coincides with physical transmission conditions. |

Proposed Protocol Language Revision

### 7.4.1	Determination of Local Congestion

ERCOT will use the Operational Model of the ERCOT System in combination with QSE energy schedules and ERCOT forecasted Load to determine the extent of Local Congestion.

After an event has caused Local Congestion for two times within a three-day period or three times within a five-day period, ERCOT shall contact the appropriate TDSP within one hour of the second or third occurrence of the event to:

(1)	Verify that transmission line ratings in the ERCOT Operational Model causing the event are current and correctly represented.

(2)	Verify that the configuration of the transmission system in the ERCOT Operational Model matches the current physical conditions of the transmission system.  When considering operational time constraints, verification will focus on transmission elements believed to have impacted the event.

(3)	Mutually identify any additional operational intervention to the transmission system that could be implemented to relieve Congestion due to the recurring event.

If it is determined that the ERCOT Operational Model is not correct, then the ERCOT and TDSP operators will provide written confirmation of the correction as soon as possible by email or fax.  Once written confirmation is completed, the ERCOT Operational Model will be updated by the close of the next Business Day.  Once additional operational intervention to the transmission system has been identified (if any) to relieve Congestion and mutually accepted by both ERCOT and TDSP operators, the necessary operational instructions shall be prepared and implemented immediately.