| PRR Number | 489PRR | PRR Title | Ancillary Service Deployment Performance Conditions |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Section 6.10.6, Ancillary Service Deployment Performance Conditions |  |
| Effective Date |  | May 1, 2004 |  |
| Priority & Rank Assigned |  | N/A |  |
| Summary of Impact Analysis |  | No ERCOT computer system, staffing or grid operations impacts; minor business processes impacts to the Regulatory Compliance group. |  |
| Revision Description |  | Revises the requirement that ERCOT remove from consideration of average performance of a QSE any interval or group of intervals in which any one of several specific events (e.g., OOME deployments to the QSE) has occurred. |  |
| Benefit |  | Current Protocol language requires that all intervals in which any one of several events has occurred be removed from consideration of average performance, even though a large majority of those intervals show acceptable or passing performance. |  |
| PRS Recommendation |  | PRS recommends approval of PRR489 as submitted. |  |
| TAC Recommendation |  | TAC recommends approval of PRR489 as recommended by PRS. |  |
| Board Action |  | Board approved PRR489 as recommended by TAC. |  |

| Sponsor |  |
| --- | --- |
| Name | Larry Gurley |
| E-mail Address | Lgurley1@txu.com |
| Company | TXU Energy |
| Company Address | 1717 Main Street, Dallas, TX 75201 |
| Phone Number | (214) 875-9020 |
| Fax Number | (214) 875-9074 |

ERCOT/Market Segment Impacts and Benefits

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | More accurate reporting of QSE Ancillary Service performance. | None | More accurate reporting of QSE Ancillary Service performance. |
| MARKET SEGMENT |  |  |  |
| Consumer | More accurate reporting of QSE Ancillary Service performance. | None | More accurate reporting of QSE Ancillary Service performance. |
| LSE: General, Including NOIE | More accurate reporting of QSE Ancillary Service performance. | None | More accurate reporting of QSE Ancillary Service performance. |
| LSE: CR & REP | More accurate reporting of QSE Ancillary Service performance. | None | More accurate reporting of QSE Ancillary Service performance. |
| QSE | More accurate reporting of QSE Ancillary Service performance. | None | More accurate reporting of QSE Ancillary Service performance. |
| Resource | More accurate reporting of QSE Ancillary Service performance. | None | More accurate reporting of QSE Ancillary Service performance. |
| TDSP | More accurate reporting of QSE Ancillary Service performance. | None | More accurate reporting of QSE Ancillary Service performance. |

Proposed Protocol Language Revision

### Ancillary Service Deployment Performance Conditions

ERCOT shall determine the performance of providers of Ancillary Services under normal operating conditions.  ERCOT shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score.

- The twenty (20) minute period where the QSE has experienced a Forced Outage causing an ERCOT frequency deviation of greater than 0.02 Hz;

- The entire Settlement Intervals for all QSEs in which ERCOT has deployed Balancing Energy in response to an Unusual Event;

- The entire Settlement Intervals in which ERCOT has deployed OOME to the QSE;

- The period where ERCOT issues instructions to any QSE to be deployed at ramp rates in excess of bid ramp rates;

- Certain other periods of abnormal operations as determined by ERCOT.

PIP112: Add item #5 below to the list when BUL is implemented:

(5)	If requested by a QSE, the two scheduling hours following an instruction issued by ERCOT to recall previously deployed Responsive Reserve, Non-Spin or Balancing Energy Up Services provided from Replacement Capacity that is using qualified Load as the QSE’s Resource;

(6)	Certain other periods of abnormal operations as determined by ERCOT.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | No changes but requires ERCOT staff to examine QSE performance levels. |

| Sponsor's Revision Description | Revises the requirement that ERCOT remove from consideration of average performance of a QSE any interval or group of intervals in which any one of several specific events (e.g., OOME deployments to the QSE) has occurred. |
| --- | --- |
| Sponsor's Reason for Revision | Current Protocol language requires that all intervals in which any one of several events has occurred be removed from consideration of average performance, even though a large majority of those intervals shows acceptable or passing performance. |