Highlighted sections to be completed by ERCOT

| CMGRR Number | 2004-2 | CMGRR Title | Line Loss Compensation Testing Enabled |
| --- | --- | --- | --- |
| ###### Status |  | Open |  |
| Competitive Metering Guides Section Requiring Revision |  | Section 12.4 |  |
| Protocol Section Requiring Revision, if any. |  | ## None |  |
| Requested Resolution |  | ## Approve request as submitted by COMET WG |  |
| Revision Description |  | Modify language in the Guides to include line loss compensation testing capabilities. |  |
| ###### Reason for Revision |  | Update Guides to ensure that a meter test can be performed with line loss compensation enabled and disabled. |  |
| ## Sponsor |  |  |  |
| Name |  | Competitive Metering Working Group |  |
| E-mail Address |  | terry.bates@oncorgroup.com |  |
| Company |  | Oncor – COMET Chair |  |
| Company Address |  | Dallas, Texas |  |
| Phone Number |  | (214) 875-2972 |  |
| Fax Number |  | (214) 875-2143 |  |

Redlined language shall be submitted to show recommended changes

Proposed Competitive Metering Guides Language Revision

## Transformer and Line Loss Compensation – Optional Functionality

When transformer or line loss compensation is required, the meter shall perform this calculation in accordance with the latest revision of the “Handbook for Electricity Metering.” The meter shall be capable of accuracy testing both with and without loss compensation factors applied.

The meter shall be programmable to display and record compensated values such as kW, kWh, kVAR and kVARh.

This page to be completed by ERCOT

| ## Timeline |  |
| --- | --- |
| Date Received | January 21, 2004 |
| Date Posted | Week of January 26, 2004 |
| COMET Review Date | January 21, 2004 |
| COMET Recommendation | Approve as recommended |
| COMET Protocols Impact Analysis | None |
| COMET Recommended Effective Date | Effective on TAC approval |
| RMS Consideration Date | February 12, 2004 |
| TAC Consideration Date | April 8, 2004 |

| ## RMS Subcommittee Review |  |
| --- | --- |
| RMS Review Date | February 12, 2004 |
| RMS Recommendation | Approved by acclamation |
| ## TAC Action |  |
| TAC Vote Date | April 8, 2004 |
| Effective Date | April 8, 2004 |
| TAC Vote Results | Approved by a unanimous voice vote |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |