| PRR Number | 320PRR | PRR Title | Loads Participating in A/S market |
| --- | --- | --- | --- |
| ###### Date |  | April 23, 2002 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Henry Wood |  |
| E-mail Address |  | hwood@stec.org |  |
| Company |  | Chair ROS |  |
| Company Address |  |  |  |
| Phone Number |  | 361-485-6304 |  |
| Fax Number |  | 361-575-6385 |  |

Comments

ROS Comments

ROS at the April 2002 meeting as requested by the PUCT staff, addressed PRR 320.  At this meeting, ROS passed a motion “that the ROS does not believe it is prudent to eliminate an upper limit on the deployment of loads acting as a resource.”  There was concern expressed with a possible over deployment which could cause an over shoot of system frequency.  While some variability may be allowable, it was felt that some restriction or cap should apply.  ROS will discuss this issue further with ERCOT staff, the Demand Side Task Force, and the PUCT.