| PRR Number | 492PRR | PRR Title | Plan to Alleviate Chronic Local Congestion Charges |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Adds new Section 7.4.5, Plan to Alleviate Chronic Local Congestion Charges |  |
| Effective Date |  | Upon system implementation and filling ERCOT staffing requirements |  |
| Priority & Rank Assigned |  | Pending PRS Review |  |
| Summary of Impact Analysis |  | Computer Systems: Requires the following system changes: 1. To archive Real Time Contingency Analysis (RTCA) data not currently archived by the systems for identification and analysis of root cause. RTCA data archiving is included in a current project scheduled for completion in Q42004. 2. Archived shift factors are also necessary to provide information related to the root cause of congestion. The shift factors will be available after the implementation of Release 3.0. And optional 3rd system change would automate the data collection to streamline analysis and reporting. The project estimate is 6-LL. Staffing: Staffing needs are dependent on the implementation methods described below (Options A and B). A minimum of 1 FTE for System Operations (not included in the 2004 budget) is required to implement the reviewing and reporting requirements of this PRR for either Option A or B. Staffing requirements of other ERCOT departments are included in 2004 budget. Although congestion management is a part of ERCOT current operations (in Real Time and with a one year planning horizon), the level of reporting and evaluations contemplated in this PRR is not presently included in the workload of either Market Operations or System Planning. ERCOT plans to implement Option A (with the 1 FTE staffing impact) unless otherwise directed by the Board. ERCOT staff believes that Option B is the least cost-effective of the alternatives, but is provided as an alternative should the Board determine that root cause reporting is mandatory prior to system implementation of the RTCA data archiving project. Manual workaround Option A: Interim evaluation can be added to the existing efforts related to PRR446 (OOM Deployments). This could be done after Release 3.0 and the hiring/training of Market Operations staff already budgeted to link OOM deployments to constraints. This option will allow identification of constraints, but will not automatically provide RTCA data. On an interim basis, ERCOT will implement a manual workaround using appropriate data in the ERCOT system for analysis of root causes. Manual workaround Option B: This option would provide the ability to capture the RTCA screen data required to perform root cause analysis. Option B is labor-intensive and would require an additional 2 FTEs not included above (or in the 2004 budget) to capture RTCA screen data continually and to perform some preliminary analysis. Once system implementation of RTCA data archiving is available, the on-going level of FTEs for this activity should be reduced. This option is not recommended due to its labor-intensive nature. This PRR has business function impacts in the processes for tracking Local Congestion costs, determining operating solutions, and identifying long-term planning needs. These functions are incremental adjustments to existing ERCOT initiatives; no identified impacts to grid operations. For further discussion, please refer to 492PRR Impact Analysis for BOD 041204.doc |  |
| Revision Description |  | The PRR requires ERCOT to identify and implement feasible solutions to address local transmission constraints once certain dollar thresholds are met. |  |
| Benefit |  | This PRR would identify areas of chronic transmission Congestion and require the necessary transmission planning and implementation of a plan to alleviate the transmission Congestion. The Protocols do not currently include such a requirement. |  |
| PRS Recommendation |  | PRS recommends approval as revised by PRS and the PRR492 Task Force comments. |  |
| TAC Recommendation |  | TAC recommends approval of PRR492 as recommended by PRS. |  |
| Board Action |  | Board approved PRR492 as recommended by TAC. |  |

| Sponsor |  |
| --- | --- |
| Name | Kevin E. Gresham |
| E-mail Address | kgresham@reliant.com |
| Company | Reliant Energy, Inc. |
| Company Address | 1000 Main St., Houston, Texas 77002 |
| Phone Number | (713) 497-7352 |
| Fax Number |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Requires Resources to be dedicated to work with the TDSP on an expedited basis to identify feasible alternatives once an area of local transmission Congestion meets the threshold. Requires additional reporting. | None | Assists in prioritizing its transmission planning focus. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Provides a plan to relieve chronic local transmission Congestion, thus increasing market efficiency and lowering the overall cost of Congestion to the market, which is paid on an ERCOT-wide basis. |
| LSE: General, Including NOIE | None | None | Provides a plan to relieve chronic local transmission Congestion, thus increasing market efficiency and lowering the overall cost of Congestion to the market, which is paid on an ERCOT-wide basis. |
| LSE: CR & REP | None | None | Provides a plan to relieve chronic local transmission Congestion, thus increasing market efficiency and lowering the overall cost of Congestion to the market, which is paid on an ERCOT-wide basis. |
| QSE | None | None | Provides a plan to relieve chronic local transmission Congestion, thus increasing market efficiency and lowering the overall cost of Congestion to the market, which is paid on an ERCOT-wide basis. |
| Resource |  |  | N/A |
| TDSP | Requires TDSPs to quickly identify and implement feasible alternatives to resolve local transmission Congestion. | N/A | Not Known |

Protocol Language Revision

{Language below reflects PRR492 Task Force comments dated 03/09/04}

    - Plan to Alleviate Chronic Local Congestion Charges

ERCOT shall monitor Local Congestion Area costs and post a report on the MIS ten (10) days following the end of the month.  The report will include the amount of Local Congestion Area costs by type of payment to Resources (e.g., OOME Up, OOME Down, and OOMC) including discussion of the limiting transmission element(s) or other significant events that may have contributed to Local Congestion as available.  This information will also be reported monthly to the ERCOT Board of Directors, PUCT Market Oversight Division, and appropriate ERCOT subcommittees.

For the purposes of this section, “Local Congestion Area” is defined as a sub-region of a Congestion Zone in which ERCOT dispatches OOME, OOMC or local Balancing Energy Service on a regular basis as described in the ERCOT monthly report of Local Congestion Cost.

If the amount of OOME, OOMC or local Balancing Energy Service in a Local Congestion Area exceeds a threshold amount of either $10 million during the most current twelve (12) consecutive months or $5 million in the most current three (3) consecutive months, ERCOT shall report such to the ERCOT Board, PUC Market Oversight Division and appropriate ERCOT subcommittees and shall initiate a study to identify feasible alternatives that may, at a future time, be more economically efficient than the continued use of OOME, OOMC, or local Balancing Energy Service.

ERCOT shall develop feasible alternatives and their associated costs to reduce or replace the use of OOME, OOMC, or local Balancing Energy Service.  At a minimum, the list of feasible alternatives that ERCOT shall include, but not be limited to, consideration of a new CSC for the following year under Section 7.2.1.1, Process for Determining CSCs, item (2), a change in ERCOT operations affecting the Local Congestion, construction of new or expansion of existing Transmission Facilities, installation of voltage control devices, more accurate modeling of transmission line or transformer MVA Real Time limits, solicitation or auctions for interruptible Load from Retail Electric Providers when such Protocols are available, or continued use of OOME, OOMC, or local Balancing Energy Service.

ERCOT shall report, no later than forty-five (45) days after the threshold is exceeded, on the feasible alternatives available to reduce Local Congestion below the threshold amount.  The report will include:

- The root cause of the Local Congestion;

- Current actions of the TDSP and/or ERCOT to relieve such Local Congestion;

- A review of ERCOT’s operations (e.g., Dispatch Instructions, transmission line limits, etc.);

- A determination of short term mitigation measures that could reduce the use of OOME, OOMC or local Balancing Energy Service; and

- The amount of market impact caused by the Local Congestion.

The report shall include an implementation plan, timeline, and recommendations regarding short-and long-term solutions to the Local Congestion as appropriate.  The implementation plan may identify studies to be conducted prior to recommendations for short- and long-term solutions to the Local Congestion.  This report shall be posted on the MIS and provided to the PUCT Market Oversight Division, the appropriate ERCOT subcommittee(s), and ERCOT Board of Directors.  Subsequent to the initial report, ERCOT staff shall provide monthly updates on the schedule and planning status to the PUCT Market Oversight Division, appropriate ERCOT subcommittee(s), and the Board.  ERCOT will use its best efforts to implement short- and long-term solutions as quickly as practical.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| CNP | Revised language. |
| ERCOT | Recommends remand to an appropriate stakeholder group. |
| Oncor | Revised language. |
| PRS Task Force | Revised language. |
| ERCOT | Revised language. |

| Sponsor's Revision Description | The PRR requires ERCOT and the associated TDSP to identify and implement feasible alternatives to local transmission once certain dollar thresholds are met. |
| --- | --- |
| Sponsor's Reason for Revision | This PRR would rapidly identify areas of chronic transmission Congestion and require the necessary transmission planning and implementation of a plan to alleviate the transmission Congestion. The Protocols do not currently include such a requirement. |