## Features
Features:
1. 5 minute RT LMP is from SCED.
2. The 15 minute RT LMP at a Resouce Node is the base point-weighted average of 5 minute data.
3. The 15 minute RT LMP for a Load Zone is the state estimated load-weighted average of 5 minute data.
3. The 15 minute RT LMP at a Hub is the average of the 15 minute LMP of the nodes that make up the HUB.
4. Metered Resource is settled with the LMP at the Resource Node where the resource is physically located.
5. Adjusted Metered Load is settled with the LMP at the Load Zone where the load is physically located.
6. Day-ahead / Inter-QSE transaction is settled with the LMP at the settlement point as specified in the transaction.
7. Inter-QSE trade transactions are in MW, for each hour in E-HDAM and for each 15 minute interval in real-time.
8. E-HDAM transactions are passed to Settlements in MW for each hour.
9. Equations for real time energy settlement:
1 | Metered Resource | (-1) ´ LMP _Settlement Point ´ Metered Resource _QSE _Settlement Point _Resource Name
2 | Metered Load | LMP _Settlement Point ´ Metered Load _QSE _Settlement Point
3 | DA Energy Resource | (-1) ´ LMP _Settlement Point ´ (DA Energy Resource _QSE _Settlement Point / 4)
4 | DA Energy Obligation | LMP _Settlement Point ´ (DA Energy Obligation _QSE _Settlement Point / 4)
5 | Inter-QSE Energy Resource | (-1) ´ LMP _Settlement Point ´ Inter-QSE Energy Resource _QSE _Settlement Point / 4
6 | Inter-QSE Energy Obligation | LMP _Settlement Point ´ Inter-QSE Energy Obligation _QSE _Settlement Point / 4
7 | Penalty to Resource | Define A = [SUM Three 5-min intervals (Base Point _QSE _Settlement Point _Resource Name / 12)] + Ancillary Service Deployment _QSE _SettlementPoint _Resource Name B = ABS (Metered Resource _QSE _Settlement Point _Resource Name – A) If Dynamic Scheduling Resources or Qualifying Facilities not bidding or Uncontrollable Resources ===> NONE Otherwise Max (0, LMP _Settlement Point) * Min (1, 2 * Max (0, (B / A – Max (0.10, 1.25 / A)))) * Metered Resource _QSE _Settlement Point _Resource Name
8 | Make-whole | If Committed in E-HDAM (Startup Price _QSE _Settlement Point _Resource Name / Number of Commitment Hours) * Flag of Non-performance Otherwise None

## E-HDAM Example 1 QSE A
E-HDAM Example 1:
#1 QSE A - Metered Generation 25 MWh @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#2 QSE A - As a Seller, Energy Traded with QSE B 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#3 QSE B - As a Buyer, Energy Traded with QSE A 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#4 QSE B - Adjusted Metered Load 25 MWh @ Load Zone | [6 empty] | 25 | MWh | for 15 minute interval
Hourly DA Energy Settlement
DA LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 35
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Energy Sold (MWh) | Payment ($) | Settlement Point | Energy Purchased (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in E-HDAM
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
#2 |  |  | 0 | Resource Node | 100 | 3500
|  |  | 0 |  |  | 0
eqn E-HDAM 4: DA LMP _Settlement Point * DA Inter-QSE Energy Obligation _QSE _Settlement Point
15-min RT Energy Settlement
LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 40
| Load Zone | 50
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in RT
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
METER READINGS
Metered Resource
| Settlement Point | Quantity (MWh) | Payment ($)
#1 | Resource Node | 25 | -1000 | eqn RT 1: (-1) * LMP _Settlement Point * Metered Resource _QSE _Settlement Point _Resource Name
0
Adjusted Metered Load
| Settlement Point | Quantity (MWh) | Charge ($)
0
0
Net Payment/Charge to QSE for 15-min Interval
-125

## E-HDAM Example 1 QSE B
E-HDAM Example 1:
#1 QSE A - Metered Generation 25 MWh @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#2 QSE A - As a Seller, Energy Traded with QSE B 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#3 QSE B - As a Buyer, Energy Traded with QSE A 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#4 QSE B - Adjusted Metered Load 25 MWh @ Load Zone | [6 empty] | 25 | MWh | for 15 minute interval
Hourly DA Energy Settlement
DA LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 35
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Energy Sold (MWh) | Payment ($) | Settlement Point | Energy Purchased (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in E-HDAM
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
#3 | Resource Node | 100 | -3500 |  |  | 0
|  |  | 0 |  |  | 0
eqn E-HDAM 3: DA LMP _Settlement Point * DA Inter-QSE Energy Resource _QSE _Settlement Point
15-min RT Energy Settlement
LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 40
| Load Zone | 50
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in RT
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
METER READINGS
Metered Resource
| Settlement Point | Quantity (MWh) | Payment ($)
0
0
Adjusted Metered Load
| Settlement Point | Quantity (MWh) | Charge ($)
#4 | Load Zone | 25 | 1250 | eqn RT 2: LMP _Settlement Point * Metered Load _QSE _Settlement Point
0
Net Payment/Charge to QSE for 15-min Interval
375

## E-HDAM Example 2 QSE A
E-HDAM Example 2:
#1 QSE A - Metered Resource 25 MWh (for 15-min interval) @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#2 QSE A - Energy Sold in E-HDAM 100 MW (for the hour) @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#3 QSE A - As a Seller, Energy Traded with QSE B 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#4 QSE B - As a Buyer, Energy Traded with QSE A 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#5 QSE B - Ajusted Metered Load 25 MWh (for 15-min interval) @ Load Zone | [6 empty] | 25 | MWh | for 15 minute interval
Hourly DA Energy Settlement
DA LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 35
| Load Zone | 35
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Energy Sold (MWh) | Payment ($) | Settlement Point | Energy Purchased (MWh) | Charge ($)
#2 | Resource Node | 100 | -3500 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in E-HDAM
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
#3 |  |  | 0 | Resource Node | 100 | 3500
|  |  | 0 |  |  | 0
eqn E-HDAM 4: DA LMP _Settlement Point * DA Inter-QSE Energy Obligation _QSE _Settlement Point
15-min RT Energy Settlement
LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 40
| Load Zone | 50
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
#2 |  |  | 0 | Resource Node | 25 | 1000
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in RT
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
METER READINGS
Metered Resource
| Settlement Point | Quantity (MWh) | Payment ($)
#1 | Resource Node | 25 | -1000 | eqn RT 1: (-1) * LMP _Settlement Point * Metered Resource _QSE _Settlement Point _Resource Name
0
Adjusted Metered Load
| Settlement Point | Quantity (MWh) | Charge ($)
0
0
Net Payment/Charge to QSE for 15-min Interval
0

## E-HDAM Example 2 QSE B
E-HDAM Example 2:
#1 QSE A - Metered Resource 25 MWh (for 15-min interval) @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#2 QSE A - Energy Sold in E-HDAM 100 MW (for the hour) @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#3 QSE A - As a Seller, Energy Traded with QSE B 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#4 QSE B - As a Buyer, Energy Traded with QSE A 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#5 QSE B - Ajusted Metered Load 25 MWh (for 15-min interval) @ Load Zone | [6 empty] | 25 | MWh | for 15 minute interval
Hourly DA Energy Settlement
DA LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 35
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Energy Sold (MWh) | Payment ($) | Settlement Point | Energy Purchased (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in E-HDAM
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
#4 | Resource Node | 100 | -3500 |  |  | 0
|  |  | 0 |  |  | 0
eqn E-HDAM 3: (-1) * DA LMP _Settlement Point * DA Inter-QSE Energy Resource _QSE _Settlement Point
15-min RT Energy Settlement
LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 40
| Load Zone | 50
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in RT
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
METER READINGS
Metered Resource
| Settlement Point | Quantity (MWh) | Payment ($)
0
0
Adjusted Metered Load
| Settlement Point | Quantity (MWh) | Charge ($)
#5 | Load Zone | 25 | 1250 | eqn RT 2: LMP _Settlement Point * Metered Load _QSE _Settlement Point
0
Net Payment/Charge to QSE for 15-min Interval
375

## E-HDAM Example 3 QSE A
E-HDAM Example 3:
#1 QSE A - Metered Resource 25 MWh (for 15-min interval) @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#2 QSE A - Energy Sold in E-HDAM 100 MW (for the hour) @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#3 QSE A - As a Seller, Energy Traded with QSE B 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#4 QSE B - As a Buyer, Energy Traded with QSE A 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#5 QSE B - Ajusted Metered Load 25 MWh (for 15-min interval) @ Load Zone | [6 empty] | 25 | MWh | for 15 minute interval
Hourly DA Energy Settlement
DA LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 35
| Load Zone | 35
TRANSACTIONS
| E-HDAM Energy Market |  | eqn E-HDAM 1: (-1) * DA LMP _Settlement Point * DA Energy Sold _QSE _Settlement Point
| Settlement Point | Energy Sold (MWh) | Payment ($) | Settlement Point | Energy Purchased (MWh) | Charge ($)
#2 | Resource Node | 100 | -3500 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in E-HDAM
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
15-min RT Energy Settlement
LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 40
| Load Zone | 50
TRANSACTIONS
| E-HDAM Energy Market |  |  | eqn RT 4: LMP _Settlement Point * (DA Energy Obligation _QSE _Settlement Point / 4)
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
#2 |  |  | 0 | Resource Node | 25 | 1000
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in RT
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
#3 |  |  | 0 | Resource Node | 25 | 1000
|  |  | 0 |  |  | 0
eqn RT 6: LMP _Settlement Point * (Inter-QSE Energy Obligation _QSE _Settlement Point / 4)
METER READINGS
Metered Resource
| Settlement Point | Quantity (MWh) | Payment ($)
#1 | Resource Node | 25 | -1000 | eqn RT 1: (-1) * LMP _Settlement Point * Metered Resource _QSE _Settlement Point _Resource Name
0
Adjusted Metered Load
| Settlement Point | Quantity (MWh) | Charge ($)
0
0
Net Payment/Charge to QSE for 15-min Interval
125

## E-HDAM Example 3 QSE B
E-HDAM Example 3:
#1 QSE A - Metered Resource 25 MWh (for 15-min interval) @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#2 QSE A - Energy Sold in E-HDAM 100 MW (for the hour) @ Resource Node | [6 empty] | 25 | MWh | for 15 minute interval
#3 QSE A - As a Seller, Energy Traded with QSE B 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#4 QSE B - As a Buyer, Energy Traded with QSE A 100 MW (for the hour) @ Resource Node (to be settled in E-HDAM) | [6 empty] | 25 | MWh | for 15 minute interval
#5 QSE B - Ajusted Metered Load 25 MWh (for 15-min interval) @ Load Zone | [6 empty] | 25 | MWh | for 15 minute interval
Hourly DA Energy Settlement
DA LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 35
| Load Zone | 35
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Energy Sold (MWh) | Payment ($) | Settlement Point | Energy Purchased (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in E-HDAM
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
15-min RT Energy Settlement
LMP
| Settlement Point | Price ($/MWh)
| Resource Node | 40
| Load Zone | 50
TRANSACTIONS
E-HDAM Energy Market
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
|  |  | 0 |  |  | 0
|  |  | 0 |  |  | 0
Bilateral Schedule (Inter-QSE Trade) to be settled in RT
| Settlement Point | Resource (MWh) | Payment ($) | Settlement Point | Obligation (MWh) | Charge ($)
#4 | Resource Node | 25 | -1000 |  |  | 0
|  |  | 0 |  |  | 0
eqn RT 5: (-1) * LMP _Settlement Point * (Inter-QSE Energy Resource _QSE _Settlement Point / 4)
METER READINGS
Metered Resource
| Settlement Point | Quantity (MWh) | Payment ($)
0
0
Adjusted Metered Load
| Settlement Point | Quantity (MWh) | Charge ($)
#5 | Load Zone | 25 | 1250 | eqn RT 2: LMP _Settlement Point * Metered Load _QSE _Settlement Point
0
Net Payment/Charge to QSE for 15-min Interval
250

## E-HDAM Make-whole
In E-HDAM
| Startup Price | 5000 | $/Startup
| Minimum Energy Price | 30 | $/MWh
| LSL | 40 | MW | Energy Curve Coefficient
| Energy Offer Curve | 30+0.1(q-40) for 40 MW < q <= 100 MW | $/MWh | 26 | 0.1
| DA LMP | 31 | $/MWh | Average Energy Price
| Cleared in E-HDAM | 50 | MW | 30.1 | $/MWh
| Commitment Flag | 1
| Number of committed hours | 5
| Payment for Energy Sold in E-HDAM (1) | -1550
| Make-whole Payment (2) | -955
| Hourly Payment in E-HDAM (3) = (1) + (2) | -2505
| Equivalent 15-min Payment in E-HDAM (3) / 4 | -626.25
In RT
Case 1: The unit generates, and RT LMP is higher than Average Energy Price.
| RT LMP | 40 | $/MWh
| Metered Resource | 8 | MWh
| Non-performance Flag | 0
| Payment for Generation in RT (1) | -320
| Charge for DA Obligation (2) | 500
| Make-whole (3) | 0
| 15-min Net in RT (1) + (2) + (3) | 180
Case 2: The unit generates, and RT LMP is lower than Average Energy Price.
| RT LMP | 20 | $/MWh
| Metered Resource | 8 | MWh
| Non-performance Flag | 0
| Payment for Generation in RT (1) | -160
| Charge for DA Obligation (2) | 250
| Make-whole (3) | 0
| 15-min Net in RT (1) + (2) + (3) | 90
Case 3: The unit does not start, and RT LMP is higher than Average Energy Price.
| RT LMP | 40 | $/MWh
| Metered Resource | 0 | MWh
| Non-performance Flag | 1
| Payment for Generation in RT (1) | 0
| Charge for DA Obligation (2) | 500
| Make-whole (3) | 250
| 15-min Net in RT (1) + (2) + (3) | 750
Case 4: The unit does not start, and RT LMP is lower than Average Energy Price.
| RT LMP | 20 | $/MWh
| Metered Resource | 0 | MWh
| Non-performance Flag | 1
| Payment for Generation in RT (1) | 0
| Charge for DA Obligation (2) | 250
| Make-whole (3) | 250
| 15-min Net in RT (1) + (2) + (3) | 500